## SUMMARY
SUMMARY OF PRICES FOR FIRE SUPPRESSION WORKS
ITEM # | DESCRIPTION | TOTAL COST PAK RUPEES
210010 | General Requirements for Fire Suppression System | 35000
210100 | Operation and maintenance of Fire Suppression System | 35000
210500 | Common Work Results for Fire Suppression | 1682600
210800 | Testing, balancing and commissioning of fire suppression system | 40000
210900 | Instruments and Controls for fire suppression system | 221000
211100 | Fire Suppression Water-Service Piping | 2776720
211200 | Fire Suppression Stand pipes | 30000
211300 | Fire Suppression Sprinkler System | 704800
212000 | Fire Extinguishing System | 108000
| DISMENTLING WORKS | 30000
| TOTAL COST OF FIRE SUPPRESSION WORKS | 5663120

## FIRE BOQ
Item # | Description | Qty. | Unit | Rate |  | Amount |  | Total Cost
|  |  |  | Material | Installation | Material | Installation
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9
210010 | General Requirements for Fire Suppression System
a. | Making of Shop Drawings with sectional details complete in all respect for complete Fire suppression Systems as per Specifications | 1 | Job | 0 | 25000 | 0 | 25000 | 25000
b. | Making of As Built Drawings with sectional details complete in all respect for complete Fire suppression Systems as per Specifications | 1 | Job | 0 | 10000 | 0 | 10000 | 10000
e. | Contractor to list and price below with quantities any additional item(s) and/or quantities which are not included but required to complete the lumpsum tender price for this section of works. Should the tenderer fail to insert any item(s) and/or quantities here, it will be deemed that this lumpsum price for the tender includes all items and no subsequent cliams for any additional item will be entertained.
| SUB TOTAL | [6 empty] | 35000
210100 | Operation and maintenance of Fire Suppression System
a. | One month test run | 1 | Job | 0 | 35000 | 0 | 35000 | 35000
210113 | Operation and maintenance of fire suppression system for one year. | 1 | Job | 0 | 0 | 0 | 0 | 0
| SUB TOTAL | [6 empty] | 35000
210500 | Common Work Results for Fire Suppression
210513.16 | Wire, cables, conduites and cable tray
| Supply and installation of of wire, cables, conduites and cable tray for power supply, earthing and controls of fire suppression system complete in all respect as per drawings and specifications. | 1 | Job | 175000 | 25000 | 175000 | 25000 | 200000
210519 | Pressure gauges
| Supply and installation of pressure gauges for fire suppression system complete in all respect as per specifications and drawings. | 4 | Nos | 5000 | 2000 | 20000 | 8000 | 28000
210523 | Valves
Supply and installation of valves for water based fire suppression system complete in all respect as per drawings and specifications.
MISCELLANEOUS
a. | Gate Valves
| 1 inch (25 mm) dia | 2 | Nos | 8900 | 1000 | 17800 | 2000 | 19800
| 2-1/2 inch (65 mm) dia | 6 | Nos | 48500 | 4000 | 291000 | 24000 | 315000
e. | Pressure regulating valves
| 1-1/4 inch (32 mm ) dia, Class 150, Inlet Pressure 250 PSI | 6 | Nos | 6800 | 1000 | 40800 | 6000 | 46800
| 4 inch (110 mm ) dia, Class 150, Inlet Pressure 250 PSI | 2 | Nos | 248000 | 10000 | 496000 | 20000 | 516000
210529 | Hangers and supports
| Supply and installation of hangers and supports for fire suppression piping and equipment complete in all respect as per drawings and specifications. | 1 | Job | 377000 | 50000 | 377000 | 50000 | 427000
210553 | Painting and identification works
| Painting and identification works of all components, supports, hangers & brackets etc. complete in all respect as per drawings and specifications. | 1 | Job | 95000 | 15000 | 95000 | 15000 | 110000
210563 | Fire stopping
| Supply and installation of fire stopping system complete in all respect as per drawings and specifications. | 1 | Job | 15000 | 5000 | 15000 | 5000 | 20000
| SUB TOTAL | [6 empty] | 1682600
210800 | Testing, balancing and commissioning of fire suppression system
210813 | Testing, balancing and commissioning
| Testing, balancing and commissioning of fire suppression system complete in all respect including one month test run, measurement and recording of pressure and electrical data and submission of technical/operation manual, LOG book for each related equipment as per specifications and drawings. | 1 | Job | 25000 | 15000 | 25000 | 15000 | 40000
| SUB TOTAL | [6 empty] | 40000
210900 | Instruments and Controls for fire suppression system
210913.13 | Zone control valves assembly complete with butterfly valve, water flow switch with supervisory switch (temper switch), pressure gauge, 40 mm sectional drain valve with union and corrosion resistant orifice, butterfuly control valve with supervisory switch as per specifications and drawings.
| 4 inch (100 mm) dia | 2 | Nos | 95500 | 15000 | 191000 | 30000 | 221000
| SUB TOTAL | [6 empty] | 221000
211100 | Fire Suppression Water-Service Piping
211113.13 | MS piping
Supply and installation of ASTM A53 and A120 Schedule 40 MS piping with fittings and specials for fire protection system, including all cutting, fixing, laying through walls and roofs and making good complete in all respect as per drawings and specifications.
| 25 mm (1 inch) Diameter | 1480 | Rft | 320 | 100 | 473600 | 148000 | 621600
| 32 mm (1-1/4 inch) Diameter | 220 | Rft | 405 | 125 | 89100 | 27500 | 116600
| 38 mm (1-1/2 inch) Diameter | 260 | Rft | 477 | 150 | 124020 | 39000 | 163020
| 50 mm (2 inch) Diameter | 265 | Rft | 580 | 200 | 153700 | 53000 | 206700
| 62 mm (2-1/2 inch) Diameter | 220 | Rft | 890 | 250 | 195800 | 55000 | 250800
| 75 mm (3 inch) Diameter | 130 | Rft | 1260 | 300 | 163800 | 39000 | 202800
| 100 mm (4 inch) Diameter | 560 | Rft | 1770 | 400 | 991200 | 224000 | 1215200
| SUB TOTAL | [6 empty] | 2776720
211200 | Fire Suppression Stand pipes
211213.13 | Fire hose cabinet (Singel door, surface mounted type, complete mild steel)
| Relocating of existing single door fire hose cabinet , with fire hose reel (1"x30 meter, cabinet mounted, swing, manual type) complete in all respect as per drawings. | 6 | Nos | 0 | 5000 | 0 | 30000 | 30000
| SUB TOTAL | [6 empty] | 30000
211300 | Fire Suppression Sprinkler System
211313 | Wet-pipe sprinkler system
Supply and installation of wet-pipe sprinkler system complete in all respect as per drawings and specifications
| Concealed Sprinkler Head 1/2" 68 Deg, Standard Response, Brass Finish, complete with Escuteon plate 1/2" Crome Finish (k=5.6, orifice 1/2") | 250 | Nos | 2000 | 300 | 500000 | 75000 | 575000
| Horizontal Pendent type Sprinkler Head 1/2" 68 Deg, Standard Response, Brass Finish | 60 | Nos | 1350 | 300 | 81000 | 18000 | 99000
| Dismantling and shifting of existing Sprinklers to new location as per drawing and specifications | 44 | Nos | 500 | 200 | 22000 | 8800 | 30800
| SUB TOTAL | [6 empty] | 704800
212000 | Fire Extinguishing System
212116 | Carbondi Oxide Fire Extinguishers
Supply and installation of Carbondi Oxide Fire Extinguishers complete in all respect as per drawings and specifications.
b. | 5 kg | 6 | Nos | 4500 | 500 | 27000 | 3000 | 30000
212416 | Dry Powder Fire Exitinguishers
Supply and installation of Dry Powder Fire Exitinguishers complete in all respect as per drawings and specifications.
a. | 4.5 kg | 6 | Nos | 12500 | 500 | 75000 | 3000 | 78000
DISMENTLING WORKS
| Dismentling of piping ducting & Fire Fighting,piping , hanger support ,F.H.C system, complete in all respect as per actual site conditions | 1 | Job | 25000 | 5000 | 25000 | 5000 | 30000
| SUB TOTAL | [6 empty] | 138000
TOTAL COST OF FIRE FIGHTING WORKS | [7 empty] | 5663120

## working
Item # | Description | Qty. | Unit | Rate |  | Amount |  | Total Cost | Working
|  |  |  | Material | Installation | Material | Installation
210010 | General Requirements for Fire Suppression System
a. | Making of Shop Drawings with sectional details complete in all respect for complete Fire suppression Systems as per Specifications | 1 | Job | 0 | 25000 | 0 | 25000 | 25000 | 15000 | 10000
b. | Making of As Built Drawings with sectional details complete in all respect for complete Fire suppression Systems as per Specifications | 1 | Job | 0 | 10000 | 0 | 10000 | 10000 | 7000 | 4000
e. | Contractor to list and price below with quantities any additional item(s) and/or quantities which are not included but required to complete the lumpsum tender price for this section of works. Should the tenderer fail to insert any item(s) and/or quantities here, it will be deemed that this lumpsum price for the tender includes all items and no subsequent cliams for any additional item will be entertained.
| SUB TOTAL | [6 empty] | 35000 | 22000
210100 | Operation and maintenance of Fire Suppression System
a. | One month test run | 1 | Job | 0 |  | 0 | 0 | 0 | 28000
210113 | Operation and maintenance of fire suppression system for one year. | 1 | Job | 0 | 0 | 0 | 0 | 0
| SUB TOTAL | [6 empty] | 0 | 28000
210500 | Common Work Results for Fire Suppression
210513.16 | Wire, cables, conduites and cable tray
| Supply and installation of of wire, cables, conduites and cable tray for power supply, earthing and controls of fire suppression system complete in all respect as per drawings and specifications. | 1 | Job | 175000 | 25000 | 175000 | 25000 | 200000 | 150000
210519 | Pressure gauges
| Supply and installation of pressure gauges for fire suppression system complete in all respect as per specifications and drawings. | 4 | Nos | 5000 | 2000 | 20000 | 8000 | 28000 | 19000
210523 | Valves
Supply and installation of valves for water based fire suppression system complete in all respect as per drawings and specifications.
MISCELLANEOUS
a. | Gate Valves
| 1 inch (25 mm) dia | 2 | Nos | 8900 | 1000 | 17800 | 2000 | 19800 | 13000
| 2-1/2 inch (65 mm) dia | 6 | Nos | 48500 | 4000 | 291000 | 24000 | 315000 | 220000
e. | Pressure regulating valves
| 1-1/4 inch (32 mm ) dia, Class 150, Inlet Pressure 250 PSI | 6 | Nos | 6800 | 1000 | 40800 | 6000 | 46800 | 40000
| 4 inch (110 mm ) dia, Class 150, Inlet Pressure 250 PSI | 2 | Nos | 248000 | 10000 | 496000 | 20000 | 516000 | 414000
210529 | Hangers and supports
| Supply and installation of hangers and supports for fire suppression piping and equipment complete in all respect as per drawings and specifications. | 1 | Job | 377000 | 50000 | 377000 | 50000 | 427000 | 250000
210553 | Painting and identification works
| Painting and identification works of all components, supports, hangers & brackets etc. complete in all respect as per drawings and specifications. | 1 | Job | 95000 | 15000 | 95000 | 15000 | 110000 | 70000
210563 | Fire stopping
| Supply and installation of fire stopping system complete in all respect as per drawings and specifications. | 1 | Job | 15000 | 5000 | 15000 | 5000 | 20000 | 15000
| SUB TOTAL | [6 empty] | 1682600 | 1191000
210800 | Testing, balancing and commissioning of fire suppression system
210813 | Testing, balancing and commissioning
| Testing, balancing and commissioning of fire suppression system complete in all respect including one month test run, measurement and recording of pressure and electrical data and submission of technical/operation manual, LOG book for each related equipment as per specifications and drawings. | 1 | Job | 25000 | 15000 | 25000 | 15000 | 40000 | 25000
| SUB TOTAL | [6 empty] | 40000 | 25000
210900 | Instruments and Controls for fire suppression system
210913.13 | Zone control valves assembly complete with butterfly valve, water flow switch with supervisory switch (temper switch), pressure gauge, 40 mm sectional drain valve with union and corrosion resistant orifice, butterfuly control valve with supervisory switch as per specifications and drawings.
| 4 inch (100 mm) dia | 2 | Nos | 95500 | 15000 | 191000 | 30000 | 221000 | 170000
| SUB TOTAL | [6 empty] | 221000 | 170000
211100 | Fire Suppression Water-Service Piping
211113.13 | MS piping
Supply and installation of ASTM A53 and A120 Schedule 40 MS piping with fittings and specials for fire protection system, including all cutting, fixing, laying through walls and roofs and making good complete in all respect as per drawings and specifications.
| 25 mm (1 inch) Diameter | 1480 | Rft | 320 | 100 | 473600 | 148000 | 621600 | 425000
| 32 mm (1-1/4 inch) Diameter | 220 | Rft | 405 | 125 | 89100 | 27500 | 116600 | 80000
| 38 mm (1-1/2 inch) Diameter | 260 | Rft | 477 | 150 | 124020 | 39000 | 163020 | 110000
| 50 mm (2 inch) Diameter | 265 | Rft | 580 | 200 | 153700 | 53000 | 206700 | 135000
| 62 mm (2-1/2 inch) Diameter | 220 | Rft | 890 | 250 | 195800 | 55000 | 250800 | 195000
| 75 mm (3 inch) Diameter | 130 | Rft | 1260 | 300 | 163800 | 39000 | 202800 | 160000
| 100 mm (4 inch) Diameter | 560 | Rft | 1770 | 400 | 991200 | 224000 | 1215200 | 970000
| SUB TOTAL | [6 empty] | 2776720 | 2075000
211200 | Fire Suppression Stand pipes
211213.13 | Fire hose cabinet (Singel door, surface mounted type, complete mild steel)
| Relocating of existing single door fire hose cabinet , with fire hose reel (1"x30 meter, cabinet mounted, swing, manual type) complete in all respect as per drawings. | 6 | Nos | 0 | 5000 | 0 | 30000 | 30000 | 10000
| SUB TOTAL | [6 empty] | 30000 | 10000
211300 | Fire Suppression Sprinkler System
211313 | Wet-pipe sprinkler system
Supply and installation of wet-pipe sprinkler system complete in all respect as per drawings and specifications
| Concealed Sprinkler Head 1/2" 68 Deg, Standard Response, Brass Finish, complete with Escuteon plate 1/2" Crome Finish (k=5.6, orifice 1/2") | 250 | Nos | 2000 | 300 | 500000 | 75000 | 575000 | 289000
| Horizontal Pendent type Sprinkler Head 1/2" 68 Deg, Standard Response, Brass Finish | 60 | Nos | 1350 | 300 | 81000 | 18000 | 99000 | 67000
| Dismantling and shifting of existing Sprinklers to new location as per drawing and specifications | 44 | Nos | 500 | 200 | 22000 | 8800 | 30800 | 12000
| SUB TOTAL | [6 empty] | 704800 | 368000
212000 | Fire Extinguishing System
212116 | Carbondi Oxide Fire Extinguishers
Supply and installation of Carbondi Oxide Fire Extinguishers complete in all respect as per drawings and specifications.
b. | 5 kg | 6 | Nos | 4500 | 500 | 27000 | 3000 | 30000 | 30000
212416 | Dry Powder Fire Exitinguishers
Supply and installation of Dry Powder Fire Exitinguishers complete in all respect as per drawings and specifications.
a. | 4.5 kg | 6 | Nos | 12500 | 500 | 75000 | 3000 | 78000 | 70000
DISMENTLING WORKS
| Dismentling of piping ducting & Fire Fighting,piping , hanger support ,F.H.C system, complete in all respect as per actual site conditions | 1 | Job | 25000 | 5000 | 25000 | 5000 | 30000 | 10000
| SUB TOTAL | [6 empty] | 138000 | 110000
TOTAL COST OF FIRE FIGHTING WORKS | [7 empty] | 5628120 | 3999000
422109
5206011

## revision
Item # | Description | Qty. | Unit | Rate |  | Amount |  | Total Cost
|  |  |  | Material | Installation | Material | Installation
210010 | General Requirements for Fire Suppression System
a. | Making of Shop Drawings with sectional details complete in all respect for complete Fire suppression Systems as per Specifications | 1 | Job | 0 | 25000 | 0 | 25000 | 25000 | 10000
b. | Making of As Built Drawings with sectional details complete in all respect for complete Fire suppression Systems as per Specifications | 1 | Job | 0 | 10000 | 0 | 10000 | 10000 | 4000
e. | Contractor to list and price below with quantities any additional item(s) and/or quantities which are not included but required to complete the lumpsum tender price for this section of works. Should the tenderer fail to insert any item(s) and/or quantities here, it will be deemed that this lumpsum price for the tender includes all items and no subsequent cliams for any additional item will be entertained.
| SUB TOTAL | [6 empty] | 35000 | 14000
210100 | Operation and maintenance of Fire Suppression System
a. | One month test run | 1 | Job | 0 |  | 0 | 0 | 0
210113 | Operation and maintenance of fire suppression system for one year. | 1 | Job | 0 | 0 | 0 | 0 | 0
| SUB TOTAL | [6 empty] | 0
210500 | Common Work Results for Fire Suppression
210513.16 | Wire, cables, conduites and cable tray
| Supply and installation of of wire, cables, conduites and cable tray for power supply, earthing and controls of fire suppression system complete in all respect as per drawings and specifications. | 1 | Job | 175000 | 25000 | 175000 | 25000 | 200000 | 125000
210519 | Pressure gauges
| Supply and installation of pressure gauges for fire suppression system complete in all respect as per specifications and drawings. | 4 | Nos | 5000 | 2000 | 20000 | 8000 | 28000 | 22000
210523 | Valves
Supply and installation of valves for water based fire suppression system complete in all respect as per drawings and specifications.
MISCELLANEOUS
a. | Gate Valves
| 1 inch (25 mm) dia | 2 | Nos | 8900 | 1000 | 17800 | 2000 | 19800 | 15000
| 2-1/2 inch (65 mm) dia | 6 | Nos | 48500 | 4000 | 291000 | 24000 | 315000 | 192000
e. | Pressure regulating valves
| 1-1/4 inch (32 mm ) dia, Class 150, Inlet Pressure 250 PSI | 1 | No | 6800 | 1000 | 6800 | 1000 | 7800 | 5000
| 4 inch (110 mm ) dia, Class 150, Inlet Pressure 250 PSI | 2 | Nos | 248000 | 10000 | 496000 | 20000 | 516000 | 360000
210529 | Hangers and supports
| Supply and installation of hangers and supports for fire suppression piping and equipment complete in all respect as per drawings and specifications. | 1 | Job | 377000 | 50000 | 377000 | 50000 | 427000 | 250000
210553 | Painting and identification works
| Painting and identification works of all components, supports, hangers & brackets etc. complete in all respect as per drawings and specifications. | 1 | Job | 95000 | 15000 | 95000 | 15000 | 110000 | 60000
210563 | Fire stopping
| Supply and installation of fire stopping system complete in all respect as per drawings and specifications. | 1 | Job | 15000 | 5000 | 15000 | 5000 | 20000 | 20000
| SUB TOTAL | [6 empty] | 1643600 | 1049000
210800 | Testing, balancing and commissioning of fire suppression system
210813 | Testing, balancing and commissioning
| Testing, balancing and commissioning of fire suppression system complete in all respect including one month test run, measurement and recording of pressure and electrical data and submission of technical/operation manual, LOG book for each related equipment as per specifications and drawings. | 1 | Job | 25000 | 15000 | 25000 | 15000 | 40000 | 20000
| SUB TOTAL | [6 empty] | 40000 | 20000
210900 | Instruments and Controls for fire suppression system
210913.13 | Zone control valves assembly complete with butterfly valve, water flow switch with supervisory switch (temper switch), pressure gauge, 40 mm sectional drain valve with union and corrosion resistant orifice, butterfuly control valve with supervisory switch as per specifications and drawings.
| 4 inch (100 mm) dia | 2 | Nos | 95500 | 15000 | 191000 | 30000 | 221000 | 140000
| SUB TOTAL | [6 empty] | 221000 | 140000
211100 | Fire Suppression Water-Service Piping
211113.13 | MS piping
Supply and installation of ASTM A53 and A120 Schedule 40 MS piping with fittings and specials for fire protection system, including all cutting, fixing, laying through walls and roofs and making good complete in all respect as per drawings and specifications.
| 25 mm (1 inch) Diameter | 1480 | Rft | 300 | 100 | 444000 | 148000 | 592000 | 425000
| 32 mm (1-1/4 inch) Diameter | 220 | Rft | 395 | 125 | 86900 | 27500 | 114400 | 80000
| 38 mm (1-1/2 inch) Diameter | 260 | Rft | 475 | 150 | 123500 | 39000 | 162500 | 110000
| 50 mm (2 inch) Diameter | 265 | Rft | 635 | 200 | 168275 | 53000 | 221275 | 135000
| 62 mm (2-1/2 inch) Diameter | 220 | Rft | 890 | 250 | 195800 | 55000 | 250800 | 195000
| 75 mm (3 inch) Diameter | 130 | Rft | 1220 | 300 | 158600 | 39000 | 197600 | 160000
| 100 mm (4 inch) Diameter | 560 | Rft | 1690 | 400 | 946400 | 224000 | 1170400 | 970000
| SUB TOTAL | [6 empty] | 2708975 | 2075000
211200 | Fire Suppression Stand pipes
211213.13 | Fire hose cabinet (Singel door, surface mounted type, complete mild steel)
| Relocating of existing single door fire hose cabinet , with fire hose reel (1"x30 meter, cabinet mounted, swing, manual type) complete in all respect as per drawings. | 1 | Nos | 0 | 5000 | 0 | 5000 | 5000 | 5000
| Supply and installation of Fire Hose Cabinet double compartment with: 1. Fire Hose Reel Size 2-1/2" Dia x 30 Mtr long 2. Jet Spray Nozzle Size 2-1/2" Dia 3. Lock Shield Valve Size 1"Dia 4. Pressure Reducing Valve Size 1" Dia 5. E-Type Landing Valve Size 2-1/2" Dia 6. DCP Fire Extinguisehr 06 KG 7. CO2 Fire Extinguisher 05 KG | 5 | Nos | 225000 | 8000 | 1125000 | 40000 | 1165000 | 950000
| SUB TOTAL | [6 empty] | 1170000 | 955000
211300 | Fire Suppression Sprinkler System
211313 | Wet-pipe sprinkler system
Supply and installation of wet-pipe sprinkler system complete in all respect as per drawings and specifications
| Concealed Sprinkler Head 1/2" 68 Deg, Standard Response, Brass Finish, complete with Escuteon plate 1/2" Crome Finish (k=5.6, orifice 1/2") | 250 | Nos | 2000 | 300 | 500000 | 75000 | 575000 | 289000
| Horizontal Pendent type Sprinkler Head 1/2" 68 Deg, Standard Response, Brass Finish | 60 | Nos | 1350 | 300 | 81000 | 18000 | 99000 | 67000
| Dismantling and shifting of existing Sprinklers to new location as per drawing and specifications | 44 | Nos | 500 | 200 | 22000 | 8800 | 30800 | 12000
| SUB TOTAL | [6 empty] | 704800 | 368000
212000 | Fire Extinguishing System
212116 | Carbondi Oxide Fire Extinguishers
Supply and installation of Carbondi Oxide Fire Extinguishers complete in all respect as per drawings and specifications.
b. | 5 kg | 6 | Nos | 4500 | 500 | 27000 | 3000 | 30000 | 30000
212416 | Dry Powder Fire Exitinguishers
Supply and installation of Dry Powder Fire Exitinguishers complete in all respect as per drawings and specifications.
a. | 4.5 kg | 6 | Nos | 12500 | 500 | 75000 | 3000 | 78000 | 70000
DISMENTLING WORKS
| Dismentling of piping ducting & Fire Fighting,piping , hanger support ,F.H.C system, complete in all respect as per actual site conditions | 1 | Job | 25000 | 5000 | 25000 | 5000 | 30000 | 10000
| SUB TOTAL | [6 empty] | 138000 | 110000
TOTAL COST OF FIRE FIGHTING WORKS | [7 empty] | 6661375 | 4731000
1332275
5329100