## revision 14 june after meeting
Item # | Description | Qty. | Unit | Rate |  | Amount |  | Total Cost
|  |  |  | Material | Installation | Material | Installation
230010 | General Requirements for HVAC System
a. | Making of Shop Drawings with sectional details complete in all respect for complete HVAC Systems as per Specifications | 1 | Job | 25000 | 7000 | 25000 | 7000 | 32000 | 15000 | 25000 | 5000 | 20000
b. | Making of As Built Drawings with sectional details complete in all respect for complete HVAC Systems as per Specifications | 1 | Job | 15000 | 5000 | 15000 | 5000 | 20000 | 7000 | 15000 | 3000 | 12000
d. | Contractor to list and price below with quantities any additional item(s) and/or quantities which are not included but required to complete the lumpsum tender price for this section of works. Should the tenderer fail to insert any item(s) and/or quantities here, it will be deemed that this lumpsum price for the tender includes all items and no subsequent claims for any additional item will be entertained.
| SUB TOTAL | [6 empty] | 52000 | 22000
230100 | Operation and maintenance of HVAC System
230113 | Operation and maintenance of HVAC System
a. | One month test run | 1 | Job | 0 | 0 | 0 | 0 | 0
b. | Operation and mainteance of HVAC System for one year (One Supervisor, one Mechanics, one Electrician, one helpers) | 1 | Job | 0 | 0 | 0 | 0 | 0
c. | Special tools and instruments for operation and maineance | 1 | Job | 0 | 0 | 0 | 0 | 0
| SUB TOTAL | [6 empty] | 0
230500 | Common Work Results for HVAC
230513.16 | Wires, Cables, Conduites and Cable Tray
a. | Supply and installation of wire, cables, conduites and cable tray for power supply, earthing and controls of HVAC system complete in all respect as per drawings and specifications. | 1 | Job | 400000 | 120000 | 400000 | 120000 | 520000 | 350000 | 400000 | 80000 | 320000
230519 | Meters and gages for HVAC Piping
a. | Supply, installation, testing and commissioning of meters and gagues and accessories for HVAC piping complete in all respect as per drawings and specifications
For Fresh Air Handling Unit (s)
i. | Insertion type pipe mounted thermometers | 6 | Nos | 5000 | 500 | 30000 | 3000 | 33000 | 25000 | 5000 | 1000 | 4000
ii. | Pressure gauge | 6 | Nos | 4800 | 500 | 28800 | 3000 | 31800 | 25000 | 4800 | 960 | 3840
iii. | gague cock | 6 | Nos | 800 | 300 | 4800 | 1800 | 6600 | 2000 | 800 | 160 | 640
iv. | thermometer well | 6 | Nos | 800 | 300 | 4800 | 1800 | 6600 | 2000 | 800 | 160 | 640
230523 | General-Duty Valves for HVAC Piping
Supply, installation, testing and commissioning of valves complete with flanges and all other accessories for HVAC piping complete in all respect as per drawings and specifications
Fresh Air Handling Units
a. | Gate Valve
| 50 mm (2 inch) Diameter | 6 | Nos | 8500 | 1500 | 51000 | 9000 | 60000 | 42000 | 8500
b. | CFRV
| 50 mm (2 inch) Diameter | 3 | Nos | 16500 | 1500 | 49500 | 4500 | 54000 | 54000 | 16500
c. | Motorized Valve
| 50 mm (2 inch) Diameter | 3 | Nos | 85000 | 1500 | 255000 | 4500 | 259500 | 195000 | 85000
| Stand alone controller for FAHU | 3 | Nos | 45000 | 5000 | 135000 | 15000 | 150000 | 100000 | 45000
Fan Coil Units
a. | Gate Valve
| 25 mm (1 inch) Diameter | 36 | Nos | 2550 | 800 | 91800 | 28800 | 120600 | 95000 | 2550
| 32 mm (1-1/4 inch) Diameter | 88 | Nos | 3800 | 800 | 334400 | 70400 | 404800 | 333000 | 3800
b. | CFRV
| 25 mm (1 inch) Diameter | 18 | No | 6850 | 800 | 123300 | 14400 | 137700 | 100000 | 6850
| 32 mm (1-1/4 inch) Diameter | 44 | Nos | 7500 | 800 | 330000 | 35200 | 365200 | 286000 | 7500
c. | Motorized Valve
| 20 mm (3/4 inch) Diameter | 4 | No | 9500 | 1000 | 38000 | 4000 | 42000 | 35000 | 9500
| 25 mm (1 inch) Diameter | 18 | Nos | 10500 | 1000 | 189000 | 18000 | 207000 | 207000 | 10500
| 32 mm (1-1/4 inch) Diameter | 40 | Nos | 16000 | 1000 | 640000 | 40000 | 680000 | 500000 | 16000
BTU METERS
| 100mm (4 inch) Diameter (200 Gpm) (OFM) | 1 | No | 0 | 8000 | 0 | 8000 | 8000 | 4000 | 0
| 150 mm (6 inch) Diameter (295 Gpm) (OFM) | 1 | No | 0 | 10000 | 0 | 10000 | 10000 | 5000 | 0
Miscellanous Valves
a. | Gate Valves
| 150 mm (6 inch) Diameter | 5 | Nos | 47500 | 2500 | 237500 | 12500 | 250000 | 194000 | 47500
| 100 mm (4 inch) Diameter | 3 | Nos | 29900 | 2200 | 89700 | 6600 | 96300 | 85000 | 29900
b. | Globe Valve
| 100 mm (4 inch) Diameter | 1 | No | 27000 | 2200 | 27000 | 2200 | 29200 | 25000 | 27000
| 150 mm (6 inch) Diameter | 1 | No | 57000 | 2500 | 57000 | 2500 | 59500 | 40000 | 57000
230526 | Hangers and Supports for HVAC Ducting
a. | Supply, Installation & Commissioning of hangers and supports for HVAC ducting complete in all respect as per drawings and specifications. | 1 | Job | 510000 | 25000 | 510000 | 25000 | 535000 | 300000 | 510000
230529.13 | Hangers and Supports for HVAC Piping
a. | Supply, Installation & Commissioning of hangers and supports for HVAC piping complete in all respect as per drawings and specifications. | 1 | Job | 475000 | 70000 | 475000 | 70000 | 545000 | 300000 | 475000
230529.16 | Hangers and Supports for HVAC Equipment
a. | Supply, Installation & Commissioning of hangers and supports for HVAC equipment complete in all respect as per drawings and specifications. | 1 | Job | 120000 | 20000 | 120000 | 20000 | 140000 | 80000 | 120000
230553 | Identification for HVAC Ducting, Piping and Equipment
a. | Supply, Installation & Commissioning of identification for HVAC ducting, piping and equipment complete in all respect as per drawings and specifications. | 1 | Job | 35000 | 15000 | 35000 | 15000 | 50000 | 35000 | 35000
230579 | Fire Stopping
a. | Supply, Installation & Commissioning of firestopping complete in all respect as per drawings and specifications. | 1 | Job | 50000 | 20000 | 50000 | 20000 | 70000 | 40000 | 50000
| SUB TOTAL | [6 empty] | 4871800 | 3459000
230700 | HVAC Insulation
230716 | HVAC Equipment Insulation
a. | Supply, installation of thermal insulation for HVAC Equipment complete in all respect as per drawings and specifications. | 1 | Lot |  | 0 | 0 | 0 | 0
230719.13 | Chilled Water Piping Insulation
a. | Supply and installation of premoulded Fiber Glass Insulation of density 64 kg/m3 with Aluminum Facing for chilled water pipes, Including missing insulation on existing pipes bends, tees, unions, sockets, valves and on speicals, wrapped with 8 oz. canvas cloth than painted with anti fungus paint, protected 26 SWG painted G.I. sheet metal cladding complete in all respect as per scheudle, specifications and drawings.
i | 38 mm (1-1/2 inch) thickness
| 25 mm (1 inch) Diameter | 260 | Rft | 450 | 130 | 117000 | 33800 | 150800 | 101400 | 450
| 32 mm (1-1/4 inch) Diameter | 1150 | Rft | 500 | 150 | 575000 | 172500 | 747500 | 527000 | 500
| 38 mm (1-1/2 inch) Diameter | 430 | Rft | 590 | 160 | 253700 | 68800 | 322500 | 220000 | 590
| 50 mm (2 inch) Diameter | 580 | Rft | 680 | 170 | 394400 | 98600 | 493000 | 421000 | 680
ii | 50 mm (2 inch) thickness
| 65 mm (2-1/2 inch) Diameter | 620 | Rft | 750 | 200 | 465000 | 124000 | 589000 | 486240 | 750
| 75 mm (3 inch) Diameter | 250 | Rft | 835 | 210 | 208750 | 52500 | 261250 | 198000 | 835
| 100 mm (4 inch) Diameter | 370 | Rft | 925 | 250 | 342250 | 92500 | 434750 | 337000 | 925
| 150 mm (6 inch) Diameter | 230 | Rft | 1150 | 390 | 264500 | 89700 | 354200 | 290000 | 1150
b. | Supply, installation & commissioning of Chilled Water Valves insulation complete in all respect as per drawings and specifications | 1 | Lot | 90000 | 55000 | 90000 | 55000 | 145000 | 50000 | 90000
230719.23 | Refrigerant pipe insulation
a. | Supply and installation of 12 mm thick Pre-moulded Foam Pipe and valve Insulation complete in all respect as per schedule, specifications and drawings. | 1 | Lot | 70000 | 30000 | 70000 | 30000 | 100000 | 85000 | 70000
230719.26 | Condensate Drain Insulation
a. | Supply and installation of 6 mm thick Pre-moulded Armaflex Pipe Insulation including missing insulation on existing pipe complete in all respect as per schedule, specifications and drawings.
| 25 mm (1 inch) Diameter | 740 | Rft | 90 | 20 | 66600 | 14800 | 81400 | 60000 | 90
| 32 mm (1-1/4 inch) Diameter | 320 | Rft | 100 | 25 | 32000 | 8000 | 40000 | 25000 | 100
| 38 mm (1-1/2 inch) Diameter | 380 | Rft | 107 | 30 | 40660 | 11400 | 52060 | 35000 | 107
| 50 mm (2 inch) Diameter | 310 | Rft | 127 | 35 | 39370 | 10850 | 50220 | 35000 | 127
| 65 mm (2-1/2 inch) Diameter | 200 | Rft | 135 | 40 | 27000 | 8000 | 35000 | 20000 | 135
| 75 mm (3 inch) Diameter | 150 | Rft | 190 | 45 | 28500 | 6750 | 35250 | 25000 | 190
| SUB TOTAL | [6 empty] | 3891930 | 2915640
230800 | Commissioning of HVAC
230813 | Testing, Adjusting and balancing for HVAC systems
a. | Air and Water Testing, balancing and commissioning of HVAC system complete in all respect including one month test run, measurement and recording of pressure and electrical data and submission of technical/operation manual, LOG book for each related equipment as per specifications and drawings. | 1 | Job | 175000 | 25000 | 175000 | 25000 | 200000 | 100000 | 175000
b. | Chilled water Quality test report from PCSIR laboratery to be submitted. | 1 | Job | 25000 | 2000 | 25000 | 2000 | 27000 | 10000 | 25000
| SUB TOTAL | [6 empty] | 227000 | 110000
230900 | Instrumentation and Control for HVAC
230923 | Direct-Digital Control System
a. | Supply, Installation & Commissioning of direct-digital thermostat with control wiring. | 62 | Nos | 12500 | 2000 | 775000 | 124000 | 899000 | 820000 | 12500
230926 | Building Management System
a. | Supply, Installation & Commissioning of Building Management system complete in all respect as per drawings and specifications. | 1 | Job | 0 | 0 | 0 | 0 | 0 |  | 0
| SUB TOTAL | [6 empty] | 899000 | 820000
232100 | HVAC Piping and Pumps
232113.23 | Hydronic Piping
a. | Supply, Installation, testing & Commissioning of M.S Schedule 40 (as per ASME & API standard, heavy quality with standard Schedule 40 thickness) pipes & fittings for chilled water circulation system with bends, tees, unions, sockets as required to complete in all respects ready to operate as per schedule, drawings and specifications.
| 25 mm (1 inch) Diameter | 260 | Rft | 300 | 120 | 78000 | 31200 | 109200 | 66040 | 300
| 32 mm (1-1/4 inch) Diameter | 1150 | Rft | 395 | 130 | 454250 | 149500 | 603750 | 377000 | 395
| 38 mm (1-1/2 inch) Diameter | 430 | Rft | 475 | 140 | 204250 | 60200 | 264450 | 175000 | 475
| 50 mm (2 inch) Diameter | 580 | Rft | 635 | 160 | 368300 | 92800 | 461100 | 305000 | 635
| 65 mm (2-1/2 inch) Diameter | 620 | Rft | 890 | 180 | 551800 | 111600 | 663400 | 530000 | 890
| 75 mm (3 inch) Diameter | 250 | Rft | 1220 | 280 | 305000 | 70000 | 375000 | 264000 | 1220
| 100 mm (4 inch) Diameter | 370 | Rft | 1690 | 350 | 625300 | 129500 | 754800 | 559000 | 1690
| 150 mm (6 inch) Diameter | 230 | Rft | 2825 | 590 | 649750 | 135700 | 785450 | 630000 | 2825
232113.26 | Condensate Drain Piping
a. | Supply, Installation, testing & Commissioning of UPVC Class C pipes & fittings for condensate drain trap system with bends, tees, unions, sockets as required to complete in all respects ready to operate as per schedule, drawings and specifications.
| 25 mm (1 inch) Diameter | 740 | Rft | 100 | 20 | 74000 | 14800 | 88800 | 60000 | 100
| 32 mm (1-1/4 inch) Diameter | 320 | Rft | 107 | 20 | 34240 | 6400 | 40640 | 30000 | 107
| 38 mm (1-1/2 inch) Diameter | 380 | Rft | 134 | 20 | 50920 | 7600 | 58520 | 45000 | 134
| 50 mm (2 inch) Diameter | 310 | Rft | 200 | 20 | 62000 | 6200 | 68200 | 35000 | 200
| 65 mm (2-1/2 inch) Diameter | 200 | Rft | 330 | 30 | 66000 | 6000 | 72000 | 50000 | 330
| 75 mm (3 inch) Diameter | 150 | Rft | 460 | 40 | 69000 | 6000 | 75000 | 55000 | 460
232116 | Hydronic piping specialties
a. | Supply, Installation, testing & Commissioning of hydronic piping specialties alongwith flanges, coupling, unions complete in all respect as per drawings and specifications.
i | For Fresh Air Handling Unit(s)
Strainers with blow off 20 mm dia ball valve
| 50 mm (2 inch) Diameter | 3 | Nos | 7500 | 1800 | 22500 | 5400 | 27900 | 20000 | 7500
ii | For Chilled Water Riser
| Automatic Air Vent | 2 | Nos | 4200 | 1700 | 8400 | 3400 | 11800 | 10000 | 4200
For Fan Coil Unit(s)
Strainers with blow off 20 mm dia ball valve
| 25 mm (1 inch) Diameter | 18 | No | 2200 | 700 | 39600 | 12600 | 52200 | 33000 | 2200
| 32 mm (1-1/4 inch) Diameter | 44 | Nos | 3500 | 900 | 154000 | 39600 | 193600 | 122000 | 3500
| SUB TOTAL | [6 empty] | 4705810 | 3366040
232300 | Refrigerant Piping
232313 | Refrigerant piping
a. | Supply, Installation, testing & Commissioning of refrigerant piping with valves, fittings and specialities complete in all respect as per drawings and specifications. | 1 | Lot | 90000 | 24000 | 90000 | 24000 | 114000 | 100000 | 90000
| SUB TOTAL | [6 empty] | 114000 | 100000
233100 | HVAC Ducts and Casings
233116.23 | Pre-insulated aluminum phenolic foam Ducting
Supply, Installation, testing & Commissioning of pre-insulated phenolic foam ducting complete in all respect as per drawings and specifications.
a. | Internal ducting | 14200 | Sq.ft | 230 | 50 | 3266000 | 710000 | 3976000 | 2910000 | 230
233119 | Access door for Fan coil unit
a. | Supply, Installation, testing & Commissioning of access door for fan coil units complete in all respect as per drawings and specifications, for the area where false ceiling has been shown in the drawing. | 1 | Lot | 175000 | 25000 | 175000 | 25000 | 200000 | 185000 | 175000
| SUB TOTAL | [6 empty] | 4176000 | 3095000
233300 | Air Duct Accessories
233313 | Dampers
a. | Supply, Installation, testing & Commissioning of dampers complete in all respect as per drawings and specifications.
| Volume Control Damper | 1 | Lot | 30000 | 7000 | 30000 | 7000 | 37000 | 27000 | 30000
| Fire Damper | 1 | Lot | 25000 | 7000 | 25000 | 7000 | 32000 | 27000 | 25000
233343 | Flexible Connectors
a. | Supply, Installation, testing & Commissioning of flexible connectors (AHUS ,FCU & FANS) between blower section and air duct complete in all respect as per drawings and specifications. | 1 | Job | 375000 | 38000 | 375000 | 38000 | 413000 | 300000 | 375000
233346 | Flexible Duct
a. | Supply, Installation, testing & Commissioning of flexible duct complete in all respect as per drawings and specifications.
| 150 mm (6 inch) Diameter | 450 | Rft | 240 | 70 | 108000 | 31500 | 139500 | 100000 | 240
| SUB TOTAL | [6 empty] | 621500 | 454000
233400 | HVAC Fans
233419.13 | Blowers and fans
Supply, Installation, testing & Commissioning of blowers and fans complete in all respect as per drawings and specifications.
| E.A.FAN 600 CFM Static 0.4" | 2 | Nos | 42000 | 10000 | 84000 | 20000 | 104000 | 75000 | 42000
| E.A.FAN 800 CFM Static 0.3" | 1 | No | 44000 | 10000 | 44000 | 10000 | 54000 | 35500 | 44000
233433 | Air Curtains
a. | Supply, Installation, testing & Commissioning of air curtains complete in all respect as per drawings and specifications.
| 6 Feet Long 2000 CFM | 2 | Nos | 46000 | 3500 | 92000 | 7000 | 99000 | 85000 | 46000
| 4 Feet Long 1300 CFM | 1 | No | 39500 | 3500 | 39500 | 3500 | 43000 | 30000 | 39500
| SUB TOTAL | [6 empty] | 300000 | 225500
233700 | Air Outlets and inlets
233713 | Diffusers, Registers, and Grilles
Supply, Installation, testing & Commissioning of Diffusers, Registers and Grilles complete in all respect as per drawings and specifications.
a. | Supply Air Diffusers (SAD)
| 375x375 (15"x15") | 192 | Nos | 4750 | 750 | 912000 | 144000 | 1056000 | 880000 | 4750
b. | Supply Air Round Diffusers (SAD)
| 375 mm (15" dia) | 38 | Nos | 5500 | 750 | 209000 | 28500 | 237500 | 210000 | 5500
d | Fresh Air Register (FAR)
| 850x300 (34"x12") | 1 | No | 8250 | 500 | 8250 | 500 | 8750 | 7000 | 8250
| 800x300 (32"x12") | 2 | Nos | 8000 | 500 | 16000 | 1000 | 17000 | 15000 | 8000
f. | Exhaust Air Register (EAR)
| 225x225 (9"x9") | 9 | Nos | 2300 | 500 | 20700 | 4500 | 25200 | 26000 | 2300
g | Imperialine linear air diffuser 3/4" slot with volume control dampers with link to adjust the damper blade from the face of linear air diffuser complete in all respect as per drawings and specifications
| S.A.L.D 3 slot 4 Feet Long | 15 | Nos | 4750 | 450 | 71250 | 6750 | 78000 | 90000 | 4750
h | Fresh air intake louver | 1 | Lot | 35000 | 4000 | 35000 | 4000 | 39000 | 25000 | 35000
i | Exhaust air intake louver | 1 | Lot | 25000 | 7000 | 25000 | 7000 | 32000 | 15000 | 25000
| SUB TOTAL | [6 empty] | 1493450 | 1268000
234100 | Particulate Air Filters
234119 | Air Filters
a. | Panel Air Filters
| Supply, Installation, testing & Commissioning of Viscous oil type 2 inch (50 mm) thick cleanable type Air Filters complete in all respect as per drawings and specifications. | 1 | Lot | 0 | 0 | 0 | 0 | 0
| SUB TOTAL | [6 empty] | 0
237400 | Fresh Air Handling Units
237413 | Fresh air handling units
a. | Installation, lifting, testing & Commissioning of fresh air handling units complete in all respect as per drawings and specifications. | 3 | Nos | 0 | 5000 | 0 | 15000 | 15000 | 12000
| SUB TOTAL | [6 empty] | 15000 | 12000
238100 | Decentralized Unitary HVAC Equipment
238126.13 | Mini Split Air-Conditioners
a. | Supply Installation, testing & Commissioning of Mini Split Air-Conditioners complete in all respect as per drawings and specifications. The copper coils of condensers shall be of heavy duty and with copper fins.
| 1 TR | 1 | No | 77500 | 3500 | 77500 | 3500 | 81000 | 75000 | 77500
| 2 TR | 2 | Nos | 90000 | 3500 | 180000 | 7000 | 187000 | 160000 | 90000
238219 | Fan Coil Units
a. | installation, testing & Commissioning of Fan Coil Units complete in all respect as per drawings and specifications. | 62 | Nos | 0 | 2000 | 0 | 124000 | 124000 | 70000 | 0
DISMENTLING WORKS
| Dismantling of existing HVAC piping ducting & hanger support system, complete in all respect as per actual site conditions | 1 | Job | 25000 | 5000 | 25000 | 5000 | 30000 | 18000 | 25000
| SUB TOTAL | [6 empty] | 422000 | 323000
TOTAL COST OF HVAC WORKS | [7 empty] | 21789490 | 16170180
3486318.4
18303171.6

## GRAND SUMMARY
21/11/ISM-DHA SECTION - 400 |  | GRAND SUMMARY
GRAND SUMMARY
S. no | DESCRIPTION | Total Cost Pak Rupees
1 | Cost of HVAC Systems (Part -A) | 21789490
2 | Cost of Fire Fighting Systems (Part -B) | 6661375
| TOTAL COST | 28450865
25000000
|  | 3450865 | 2276069.2
26174795.8
12.13%
Y.H ASSOCIATES
CONSULTING ENGINEERS
1 of 1
Note on A6: Mujahid:

## SUMMARY
SUMMARY OF PRICES FOR HVAC WORKS
ITEM # | DESCRIPTION | TOTAL COST PAK RUPEES
230010 | General Requirements for HVAC System | 52000
230100 | Operation and maintenance of HVAC System | 345000
230500 | Common Work Results for HVAC | 6335234
230700 | HVAC Insulation | 3987070
230800 | Commissioning of HVAC | 227000
230900 | Instrumentation and Control for HVAC | 5850000
232100 | HVAC Piping and Pumps | 4877270
232300 | Refrigerant Piping | 180000
233100 | HVAC Ducts and Casings | 4275400
233300 | Air Duct Accessories | 621500
233400 | HVAC Fans | 300000
233700 | Air Outlets and inlets | 1636050
234100 | Particulate Air Filters | 35000
237400 | Fresh Air Handling Units | 15000
238100 | Decentralized Unitary HVAC Equipment | 392000
| DISMENTLING WORKS | 30000
| TOTAL COST OF HVAC WORKS | 29158524
Note on A2: Mujahid:

## Actual BOQ
Item # | Description | Qty. | Unit | Rate |  | Amount |  | Total Cost
|  |  |  | Material | Installation | Material | Installation
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9
230010 | General Requirements for HVAC System
a. | Making of Shop Drawings with sectional details complete in all respect for complete HVAC Systems as per Specifications | 1 | Job | 25000 | 7000 | 25000 | 7000 | 32000
b. | Making of As Built Drawings with sectional details complete in all respect for complete HVAC Systems as per Specifications | 1 | Job | 15000 | 5000 | 15000 | 5000 | 20000
d. | Contractor to list and price below with quantities any additional item(s) and/or quantities which are not included but required to complete the lumpsum tender price for this section of works. Should the tenderer fail to insert any item(s) and/or quantities here, it will be deemed that this lumpsum price for the tender includes all items and no subsequent cliams for any additional item will be entertained.
| SUB TOTAL | [6 empty] | 52000
230100 | Operation and maintenance of HVAC System
230113 | Operation and maintenance of HVAC System
a. | One month test run | 1 | Job | 0 | 75000 | 0 | 75000 | 75000
b. | Operation and mainteance of HVAC System for one year (One Supervisor, one Mechanics, one Electrician, one helpers) | 1 | Job | 0 | 0 | 0 | 0 | 0
c. | Special tools and instruments for operation and maineance | 1 | Job | 270000 | 0 | 270000 | 0 | 270000
| SUB TOTAL | [6 empty] | 345000
230500 | Common Work Results for HVAC
230513.16 | Wires, Cables, Conduites and Cable Tray
a. | Supply and installation of wire, cables, conduites and cable tray for power supply, earthing and controls of HVAC system complete in all respect as per drawings and specifications. | 1 | Job | 400000 | 120000 | 400000 | 120000 | 520000
230519 | Meters and gages for HVAC Piping
a. | Supply, installation, testing and commissioning of meters and gagues and accessories for HVAC piping complete in all respect as per drawings and specifications
For Fresh Air Handling Unit (s)
i. | Insertion type pipe mounted thermometers | 6 | Nos | 5000 | 500 | 30000 | 3000 | 33000
ii. | Pressure gauge | 6 | Nos | 4800 | 500 | 28800 | 3000 | 31800
iii. | gague cock | 6 | Nos | 800 | 300 | 4800 | 1800 | 6600
iv. | thermometer well | 6 | Nos | 800 | 300 | 4800 | 1800 | 6600
230523 | General-Duty Valves for HVAC Piping
Supply, installation, testing and commissioning of valves complete with flanges and all other accessories for HVAC piping complete in all respect as per drawings and specifications
Fresh Air Handling Units
a. | Gate Valve
| 50 mm (2 inch) Diameter | 6 | Nos | 8500 | 1500 | 51000 | 9000 | 60000
b. | CFRV
| 50 mm (2 inch) Diameter | 3 | Nos | 52350 | 1500 | 157050 | 4500 | 161550
c. | Motorized Valve
| 50 mm (2 inch) Diameter | 3 | Nos | 89900 | 1500 | 269700 | 4500 | 274200
Fan Coil Units
a. | Gate Valve
| 25 mm (1 inch) Diameter | 36 | Nos | 2550 | 800 | 91800 | 28800 | 120600
| 32 mm (1-1/4 inch) Diameter | 88 | Nos | 3893 | 800 | 342584 | 70400 | 412984
b. | CFRV
| 25 mm (1 inch) Diameter | 18 | No | 6850 | 800 | 123300 | 14400 | 137700
| 32 mm (1-1/4 inch) Diameter | 44 | Nos | 7500 | 800 | 330000 | 35200 | 365200
c. | Motorized Valve
| 25 mm (1 inch) Diameter | 18 | Nos | 19500 | 1000 | 351000 | 18000 | 369000
| 32 mm (1-1/4 inch) Diameter | 44 | Nos | 28500 | 1000 | 1254000 | 44000 | 1298000
BTU METERS
| 100mm (4 inch) Diameter (200 Gpm) | 1 | No | 330000 | 8000 | 330000 | 8000 | 338000
| 150 mm (6 inch) Diameter (295 Gpm) | 1 | No | 415000 | 10000 | 415000 | 10000 | 425000
Miscellanous Valves
a. | Gate Valves
| 150 mm (6 inch) Diameter | 5 | Nos | 47500 | 2500 | 237500 | 12500 | 250000
| 100 mm (4 inch) Diameter | 3 | Nos | 29900 | 2200 | 89700 | 6600 | 96300
b. | Globe Valve
| 100 mm (4 inch) Diameter | 1 | No | 27000 | 2200 | 27000 | 2200 | 29200
| 150 mm (6 inch) Diameter | 1 | No | 57000 | 2500 | 57000 | 2500 | 59500
230526 | Hangers and Supports for HVAC Ducting
a. | Supply, Installation & Commissioning of hangers and supports for HVAC ducting complete in all respect as per drawings and specifications. | 1 | Job | 510000 | 25000 | 510000 | 25000 | 535000
230529.13 | Hangers and Supports for HVAC Piping
a. | Supply, Installation & Commissioning of hangers and supports for HVAC piping complete in all respect as per drawings and specifications. | 1 | Job | 475000 | 70000 | 475000 | 70000 | 545000
230529.16 | Hangers and Supports for HVAC Equipment
a. | Supply, Installation & Commissioning of hangers and supports for HVAC equipment complete in all respect as per drawings and specifications. | 1 | Job | 120000 | 20000 | 120000 | 20000 | 140000
230553 | Identification for HVAC Ducting, Piping and Equipment
a. | Supply, Installation & Commissioning of identification for HVAC ducting, piping and equipment complete in all respect as per drawings and specifications. | 1 | Job | 35000 | 15000 | 35000 | 15000 | 50000
230579 | Fire Stopping
a. | Supply, Installation & Commissioning of firestopping complete in all respect as per drawings and specifications. | 1 | Job | 50000 | 20000 | 50000 | 20000 | 70000
| SUB TOTAL | [6 empty] | 6335234
230700 | HVAC Insulation
230716 | HVAC Equipment Insulation
a. | Supply, installation of thermal insulation for HVAC Equipment complete in all respect as per drawings and specifications. | 1 | Lot | 35000 | 15000 | 35000 | 15000 | 50000
230719.13 | Chilled Water Piping Insulation
a. | Supply and installation of premoulded Fiber Glass Insulation of density 64 kg/m3 with Aluminum Facing for chilled water pipes, Including missing insulation on existing pipes bends, tees, unions, sockets, valves and on speicals, wrapped with 8 oz. canvas cloth than painted with anti fungus paint, protected 26 SWG painted G.I. sheet metal cladding complete in all respect as per scheudle, specifications and drawings.
i | 38 mm (1-1/2 inch) thickness
| 25 mm (1 inch) Diameter | 260 | Rft | 460 | 130 | 119600 | 33800 | 153400
| 32 mm (1-1/4 inch) Diameter | 1150 | Rft | 505 | 150 | 580750 | 172500 | 753250
| 38 mm (1-1/2 inch) Diameter | 430 | Rft | 605 | 160 | 260150 | 68800 | 328950
| 50 mm (2 inch) Diameter | 580 | Rft | 695 | 170 | 403100 | 98600 | 501700
ii | 50 mm (2 inch) thickness
| 65 mm (2-1/2 inch) Diameter | 620 | Rft | 755 | 200 | 468100 | 124000 | 592100
| 75 mm (3 inch) Diameter | 250 | Rft | 840 | 210 | 210000 | 52500 | 262500
| 100 mm (4 inch) Diameter | 370 | Rft | 945 | 250 | 349650 | 92500 | 442150
| 150 mm (6 inch) Diameter | 230 | Rft | 1193 | 390 | 274390 | 89700 | 364090
b. | Supply, installation & commissioning of Chilled Water Valves insulation complete in all respect as per drawings and specifications | 1 | Lot | 90000 | 55000 | 90000 | 55000 | 145000
230719.23 | Refrigerant pipe insulation
a. | Supply and installation of 12 mm thick Pre-moulded Foam Pipe and valve Insulation complete in all respect as per schedule, specifications and drawings. | 1 | Lot | 70000 | 30000 | 70000 | 30000 | 100000
230719.26 | Condensate Drain Insulation
a. | Supply and installation of 6 mm thick Pre-moulded Armaflex Pipe Insulation including missing insulation on existing pipe complete in all respect as per schedule, specifications and drawings.
| 25 mm (1 inch) Diameter | 740 | Rft | 90 | 20 | 66600 | 14800 | 81400
| 32 mm (1-1/4 inch) Diameter | 320 | Rft | 100 | 25 | 32000 | 8000 | 40000
| 38 mm (1-1/2 inch) Diameter | 380 | Rft | 107 | 30 | 40660 | 11400 | 52060
| 50 mm (2 inch) Diameter | 310 | Rft | 127 | 35 | 39370 | 10850 | 50220
| 65 mm (2-1/2 inch) Diameter | 200 | Rft | 135 | 40 | 27000 | 8000 | 35000
| 75 mm (3 inch) Diameter | 150 | Rft | 190 | 45 | 28500 | 6750 | 35250
| SUB TOTAL | [6 empty] | 3987070
230800 | Commissioning of HVAC
230813 | Testing, Adjusting and balancing for HVAC systems
a. | Air and Water Testing, balancing and commissioning of HVAC system complete in all respect including one month test run, measurement and recording of pressure and electrical data and submission of technical/operation manual, LOG book for each related equipment as per specifications and drawings. | 1 | Job | 175000 | 25000 | 175000 | 25000 | 200000
b. | Chilled water Quality test report from PCSIR laboratery to be submitted. | 1 | Job | 25000 | 2000 | 25000 | 2000 | 27000
| SUB TOTAL | [6 empty] | 227000
230900 | Instrumentation and Control for HVAC
230923 | Direct-Digital Control System
a. | Supply, Installation & Commissioning of direct-digital control system complete in all respect as per drawings and specifications. | 1 | Job | 2850000 | 175000 | 2850000 | 175000 | 3025000
230926 | Building Management System
a. | Supply, Installation & Commissioning of Building Management system complete in all respect as per drawings and specifications. | 1 | Job | 2650000 | 175000 | 2650000 | 175000 | 2825000
| SUB TOTAL | [6 empty] | 5850000
232100 | HVAC Piping and Pumps
232113.23 | Hydronic Piping
a. | Supply, Installation, testing & Commissioning of M.S Schedule 40 (as per ASME & API standard, heavy quality with standard Schedule 40 thickness) pipes & fittings for chilled water circulation system with bends, tees, unions, sockets as required to complete in all respects ready to operate as per schedule, drawings and specifications.
| 25 mm (1 inch) Diameter | 260 | Rft | 335 | 120 | 87100 | 31200 | 118300
| 32 mm (1-1/4 inch) Diameter | 1150 | Rft | 370 | 130 | 425500 | 149500 | 575000
| 38 mm (1-1/2 inch) Diameter | 430 | Rft | 510 | 140 | 219300 | 60200 | 279500
| 50 mm (2 inch) Diameter | 580 | Rft | 700 | 160 | 406000 | 92800 | 498800
| 65 mm (2-1/2 inch) Diameter | 620 | Rft | 1100 | 180 | 682000 | 111600 | 793600
| 75 mm (3 inch) Diameter | 250 | Rft | 1120 | 280 | 280000 | 70000 | 350000
| 100 mm (4 inch) Diameter | 370 | Rft | 1710 | 350 | 632700 | 129500 | 762200
| 150 mm (6 inch) Diameter | 230 | Rft | 2937 | 590 | 675510 | 135700 | 811210
232113.26 | Condensate Drain Piping
a. | Supply, Installation, testing & Commissioning of UPVC Class C pipes & fittings for condensate drain trap system with bends, tees, unions, sockets as required to complete in all respects ready to operate as per schedule, drawings and specifications.
| 25 mm (1 inch) Diameter | 740 | Rft | 100 | 20 | 74000 | 14800 | 88800
| 32 mm (1-1/4 inch) Diameter | 320 | Rft | 107 | 20 | 34240 | 6400 | 40640
| 38 mm (1-1/2 inch) Diameter | 380 | Rft | 134 | 20 | 50920 | 7600 | 58520
| 50 mm (2 inch) Diameter | 310 | Rft | 200 | 20 | 62000 | 6200 | 68200
| 65 mm (2-1/2 inch) Diameter | 200 | Rft | 330 | 30 | 66000 | 6000 | 72000
| 75 mm (3 inch) Diameter | 150 | Rft | 460 | 40 | 69000 | 6000 | 75000
232116 | Hydronic piping specialties
a. | Supply, Installation, testing & Commissioning of hydronic piping specialties alongwith flanges, coupling, unions complete in all respect as per drawings and specifications.
i | For Fresh Air Handling Unit(s)
Strainers with blow off 20 mm dia ball valve
| 50 mm (2 inch) Diameter | 3 | Nos | 7500 | 1800 | 22500 | 5400 | 27900
ii | For Chilled Water Riser
| Automatic Air Vent | 2 | Nos | 4200 | 1700 | 8400 | 3400 | 11800
For Fan Coil Unit(s)
Strainers with blow off 20 mm dia ball valve
| 25 mm (1 inch) Diameter | 18 | No | 2200 | 700 | 39600 | 12600 | 52200
| 32 mm (1-1/4 inch) Diameter | 44 | Nos | 3500 | 900 | 154000 | 39600 | 193600
| SUB TOTAL | [6 empty] | 4877270
232300 | Refrigerant Piping
232313 | Refrigerant piping
a. | Supply, Installation, testing & Commissioning of refrigerant piping with valves, fittings and specialities complete in all respect as per drawings and specifications. | 1 | Lot | 145000 | 35000 | 145000 | 35000 | 180000
| SUB TOTAL | [6 empty] | 180000
233100 | HVAC Ducts and Casings
233116.23 | Pre-insulated aluminum phenolic foam Ducting
Supply, Installation, testing & Commissioning of pre-insulated phenolic foam ducting complete in all respect as per drawings and specifications.
a. | Internal ducting | 14200 | Sq.ft | 235 | 52 | 3337000 | 738400 | 4075400
233119 | Access door for Fan coil unit
a. | Supply, Installation, testing & Commissioning of access door for fan coil units complete in all respect as per drawings and specifications, for the area where false ceiling has been shown in the drawing. | 1 | Lot | 175000 | 25000 | 175000 | 25000 | 200000
| SUB TOTAL | [6 empty] | 4275400
233300 | Air Duct Accessories
233313 | Dampers
a. | Supply, Installation, testing & Commissioning of dampers complete in all respect as per drawings and specifications.
| Volume Control Damper | 1 | Lot | 30000 | 7000 | 30000 | 7000 | 37000
| Fire Damper | 1 | Lot | 25000 | 7000 | 25000 | 7000 | 32000
233343 | Flexible Connectors
a. | Supply, Installation, testing & Commissioning of flexible connectors (AHUS ,FCU & FANS) between blower section and air duct complete in all respect as per drawings and specifications. | 1 | Job | 375000 | 38000 | 375000 | 38000 | 413000
233346 | Flexible Duct
a. | Supply, Installation, testing & Commissioning of flexible duct complete in all respect as per drawings and specifications.
| 150 mm (6 inch) Diameter | 450 | Rft | 240 | 70 | 108000 | 31500 | 139500
| SUB TOTAL | [6 empty] | 621500
233400 | HVAC Fans
233419.13 | Blowers and fans
Supply, Installation, testing & Commissioning of blowers and fans complete in all respect as per drawings and specifications.
| E.A.FAN 600 CFM Static 0.4" | 2 | Nos | 42000 | 10000 | 84000 | 20000 | 104000
| E.A.FAN 800 CFM Static 0.3" | 1 | No | 44000 | 10000 | 44000 | 10000 | 54000
233433 | Air Curtains
a. | Supply, Installation, testing & Commissioning of air curtains complete in all respect as per drawings and specifications.
| 6 Feet Long 2000 CFM | 2 | Nos | 46000 | 3500 | 92000 | 7000 | 99000
| 4 Feet Long 1300 CFM | 1 | No | 39500 | 3500 | 39500 | 3500 | 43000
| SUB TOTAL | [6 empty] | 300000
233700 | Air Outlets and inlets
233713 | Diffusers, Registers, and Grilles
Supply, Installation, testing & Commissioning of Diffusers, Registers and Grilles complete in all respect as per drawings and specifications.
a. | Supply Air Diffusers (SAD)
| 375x375 (15"x15") | 192 | Nos | 5300 | 750 | 1017600 | 144000 | 1161600
b. | Supply Air Round Diffusers (SAD)
| 375 mm (15" dia) | 38 | Nos | 5950 | 750 | 226100 | 28500 | 254600
d | Fresh Air Register (FAR)
| 850x300 (34"x12") | 1 | No | 8500 | 500 | 8500 | 500 | 9000
| 800x300 (32"x12") | 2 | Nos | 8000 | 500 | 16000 | 1000 | 17000
f. | Exhaust Air Register (EAR)
| 225x225 (9"x9") | 9 | Nos | 2900 | 500 | 26100 | 4500 | 30600
g | Imperialine linear air diffuser 3/4" slot with volume control dampers with link to adjust the damper blade from the face of linear air diffuser complete in all respect as per drawings and specifications
| S.A.L.D 3 slot 4 Feet Long | 15 | Nos | 5700 | 450 | 85500 | 6750 | 92250
h | Fresh air intake louver | 1 | Lot | 35000 | 4000 | 35000 | 4000 | 39000
i | Exhaust air intake louver | 1 | Lot | 25000 | 7000 | 25000 | 7000 | 32000
| SUB TOTAL | [6 empty] | 1636050
234100 | Particulate Air Filters
234119 | Air Filters
a. | Panel Air Filters
| Supply, Installation, testing & Commissioning of Viscous oil type 2 inch (50 mm) thick cleanable type Air Filters complete in all respect as per drawings and specifications. | 1 | Lot | 28000 | 7000 | 28000 | 7000 | 35000
| SUB TOTAL | [6 empty] | 35000
237400 | Fresh Air Handling Units
237413 | Fresh air handling units
a. | Installation, lifting, testing & Commissioning of fresh air handling units complete in all respect as per drawings and specifications. | 3 | Nos | 0 | 5000 | 0 | 15000 | 15000
| SUB TOTAL | [6 empty] | 15000
238100 | Decentralized Unitary HVAC Equipment
238126.13 | Mini Split Air-Conditioners
a. | Supply Installation, testing & Commissioning of Mini Split Air-Conditioners complete in all respect as per drawings and specifications. The copper coils of condensers shall be of heavy duty and with copper fins.
| 1 TR | 1 | No | 77500 | 3500 | 77500 | 3500 | 81000
| 2 TR | 2 | Nos | 90000 | 3500 | 180000 | 7000 | 187000
238219 | Fan Coil Units
a. | installation, testing & Commissioning of Fan Coil Units complete in all respect as per drawings and specifications. | 62 | Nos | 0 | 2000 | 0 | 124000 | 124000
DISMENTLING WORKS
| Dismentling of existing HVAC piping ducting & hanger support system, complete in all respect as per actual site conditions | 1 | Job | 25000 | 5000 | 25000 | 5000 | 30000
| SUB TOTAL | [6 empty] | 422000
TOTAL COST OF HVAC WORKS | [7 empty] | 29158524

## working
Item # | Description | Qty. | Unit | Rate |  | Amount |  | Total Cost | Working
|  |  |  | Material | Installation | Material | Installation
230010 | General Requirements for HVAC System
a. | Making of Shop Drawings with sectional details complete in all respect for complete HVAC Systems as per Specifications | 1 | Job | 25000 | 7000 | 25000 | 7000 | 32000 | 15000
b. | Making of As Built Drawings with sectional details complete in all respect for complete HVAC Systems as per Specifications | 1 | Job | 15000 | 5000 | 15000 | 5000 | 20000 | 12000
d. | Contractor to list and price below with quantities any additional item(s) and/or quantities which are not included but required to complete the lumpsum tender price for this section of works. Should the tenderer fail to insert any item(s) and/or quantities here, it will be deemed that this lumpsum price for the tender includes all items and no subsequent cliams for any additional item will be entertained.
| SUB TOTAL | [6 empty] | 52000 | 27000
230100 | Operation and maintenance of HVAC System
230113 | Operation and maintenance of HVAC System
a. | One month test run | 1 | Job | 0 | 75000 | 0 | 75000 | 75000 | 35000
b. | Operation and mainteance of HVAC System for one year (One Supervisor, one Mechanics, one Electrician, one helpers) | 1 | Job | 0 | 0 | 0 | 0 | 0
c. | Special tools and instruments for operation and maineance | 1 | Job | 270000 | 0 | 270000 | 0 | 270000 | 150000
| SUB TOTAL | [6 empty] | 345000 | 185000
230500 | Common Work Results for HVAC
230513.16 | Wires, Cables, Conduites and Cable Tray
a. | Supply and installation of wire, cables, conduites and cable tray for power supply, earthing and controls of HVAC system complete in all respect as per drawings and specifications. | 1 | Job | 400000 | 120000 | 400000 | 120000 | 520000 | 375000
230519 | Meters and gages for HVAC Piping
a. | Supply, installation, testing and commissioning of meters and gagues and accessories for HVAC piping complete in all respect as per drawings and specifications
For Fresh Air Handling Unit (s)
i. | Insertion type pipe mounted thermometers | 6 | Nos | 5000 | 500 | 30000 | 3000 | 33000 | 25000
ii. | Pressure gauge | 6 | Nos | 4800 | 500 | 28800 | 3000 | 31800 | 25000
iii. | gague cock | 6 | Nos | 800 | 300 | 4800 | 1800 | 6600 | 2000
iv. | thermometer well | 6 | Nos | 800 | 300 | 4800 | 1800 | 6600 | 2000
230523 | General-Duty Valves for HVAC Piping
Supply, installation, testing and commissioning of valves complete with flanges and all other accessories for HVAC piping complete in all respect as per drawings and specifications
Fresh Air Handling Units
a. | Gate Valve
| 50 mm (2 inch) Diameter | 6 | Nos | 8500 | 1500 | 51000 | 9000 | 60000 | 42000
b. | CFRV
| 50 mm (2 inch) Diameter | 3 | Nos | 52350 | 1500 | 157050 | 4500 | 161550 | 100000
c. | Motorized Valve
| 50 mm (2 inch) Diameter | 3 | Nos | 89900 | 1500 | 269700 | 4500 | 274200 | 200000
Fan Coil Units
a. | Gate Valve
| 25 mm (1 inch) Diameter | 36 | Nos | 2550 | 800 | 91800 | 28800 | 120600 | 95688
| 32 mm (1-1/4 inch) Diameter | 88 | Nos | 3893 | 800 | 342584 | 70400 | 412984 | 333784
b. | CFRV
| 25 mm (1 inch) Diameter | 18 | No | 6850 | 800 | 123300 | 14400 | 137700 | 100000
| 32 mm (1-1/4 inch) Diameter | 44 | Nos | 7500 | 800 | 330000 | 35200 | 365200 | 286000
c. | Motorized Valve
| 25 mm (1 inch) Diameter | 18 | Nos | 19500 | 1000 | 351000 | 18000 | 369000 | 250000
| 32 mm (1-1/4 inch) Diameter | 44 | Nos | 28500 | 1000 | 1254000 | 44000 | 1298000 | 1200650
BTU METERS
| 100mm (4 inch) Diameter (200 Gpm) | 1 | No | 330000 | 8000 | 330000 | 8000 | 338000 | 275000
| 150 mm (6 inch) Diameter (295 Gpm) | 1 | No | 415000 | 10000 | 415000 | 10000 | 425000 | 300000
Miscellanous Valves
a. | Gate Valves
| 150 mm (6 inch) Diameter | 5 | Nos | 47500 | 2500 | 237500 | 12500 | 250000 | 194750
| 100 mm (4 inch) Diameter | 3 | Nos | 29900 | 2200 | 89700 | 6600 | 96300 | 80000
b. | Globe Valve
| 100 mm (4 inch) Diameter | 1 | No | 27000 | 2200 | 27000 | 2200 | 29200 | 24650
| 150 mm (6 inch) Diameter | 1 | No | 57000 | 2500 | 57000 | 2500 | 59500 | 40000
230526 | Hangers and Supports for HVAC Ducting
a. | Supply, Installation & Commissioning of hangers and supports for HVAC ducting complete in all respect as per drawings and specifications. | 1 | Job | 510000 | 25000 | 510000 | 25000 | 535000 | 300000
230529.13 | Hangers and Supports for HVAC Piping
a. | Supply, Installation & Commissioning of hangers and supports for HVAC piping complete in all respect as per drawings and specifications. | 1 | Job | 475000 | 70000 | 475000 | 70000 | 545000 | 300000
230529.16 | Hangers and Supports for HVAC Equipment
a. | Supply, Installation & Commissioning of hangers and supports for HVAC equipment complete in all respect as per drawings and specifications. | 1 | Job | 120000 | 20000 | 120000 | 20000 | 140000 | 80000
230553 | Identification for HVAC Ducting, Piping and Equipment
a. | Supply, Installation & Commissioning of identification for HVAC ducting, piping and equipment complete in all respect as per drawings and specifications. | 1 | Job | 35000 | 15000 | 35000 | 15000 | 50000 | 35000
230579 | Fire Stopping
a. | Supply, Installation & Commissioning of firestopping complete in all respect as per drawings and specifications. | 1 | Job | 50000 | 20000 | 50000 | 20000 | 70000 | 400000
| SUB TOTAL | [6 empty] | 6335234 | 5066522
230700 | HVAC Insulation
230716 | HVAC Equipment Insulation
a. | Supply, installation of thermal insulation for HVAC Equipment complete in all respect as per drawings and specifications. | 1 | Lot | 35000 | 15000 | 35000 | 15000 | 50000 | 35000
230719.13 | Chilled Water Piping Insulation
a. | Supply and installation of premoulded Fiber Glass Insulation of density 64 kg/m3 with Aluminum Facing for chilled water pipes, Including missing insulation on existing pipes bends, tees, unions, sockets, valves and on speicals, wrapped with 8 oz. canvas cloth than painted with anti fungus paint, protected 26 SWG painted G.I. sheet metal cladding complete in all respect as per scheudle, specifications and drawings.
i | 38 mm (1-1/2 inch) thickness
| 25 mm (1 inch) Diameter | 260 | Rft | 460 | 130 | 119600 | 33800 | 153400 | 101400
| 32 mm (1-1/4 inch) Diameter | 1150 | Rft | 505 | 150 | 580750 | 172500 | 753250 | 527000
| 38 mm (1-1/2 inch) Diameter | 430 | Rft | 605 | 160 | 260150 | 68800 | 328950 | 220000
| 50 mm (2 inch) Diameter | 580 | Rft | 695 | 170 | 403100 | 98600 | 501700 | 421000
ii | 50 mm (2 inch) thickness
| 65 mm (2-1/2 inch) Diameter | 620 | Rft | 755 | 200 | 468100 | 124000 | 592100 | 466240
| 75 mm (3 inch) Diameter | 250 | Rft | 840 | 210 | 210000 | 52500 | 262500 | 198000
| 100 mm (4 inch) Diameter | 370 | Rft | 945 | 250 | 349650 | 92500 | 442150 | 337000
| 150 mm (6 inch) Diameter | 230 | Rft | 1193 | 390 | 274390 | 89700 | 364090 | 290000
b. | Supply, installation & commissioning of Chilled Water Valves insulation complete in all respect as per drawings and specifications | 1 | Lot | 90000 | 55000 | 90000 | 55000 | 145000 | 50000
230719.23 | Refrigerant pipe insulation
a. | Supply and installation of 12 mm thick Pre-moulded Foam Pipe and valve Insulation complete in all respect as per schedule, specifications and drawings. | 1 | Lot | 70000 | 30000 | 70000 | 30000 | 100000 | 85000
230719.26 | Condensate Drain Insulation
a. | Supply and installation of 6 mm thick Pre-moulded Armaflex Pipe Insulation including missing insulation on existing pipe complete in all respect as per schedule, specifications and drawings.
| 25 mm (1 inch) Diameter | 740 | Rft | 90 | 20 | 66600 | 14800 | 81400 | 60000
| 32 mm (1-1/4 inch) Diameter | 320 | Rft | 100 | 25 | 32000 | 8000 | 40000 | 25000
| 38 mm (1-1/2 inch) Diameter | 380 | Rft | 107 | 30 | 40660 | 11400 | 52060 | 35000
| 50 mm (2 inch) Diameter | 310 | Rft | 127 | 35 | 39370 | 10850 | 50220 | 35000
| 65 mm (2-1/2 inch) Diameter | 200 | Rft | 135 | 40 | 27000 | 8000 | 35000 | 20000
| 75 mm (3 inch) Diameter | 150 | Rft | 190 | 45 | 28500 | 6750 | 35250 | 25000
| SUB TOTAL | [6 empty] | 3987070 | 2930640
230800 | Commissioning of HVAC
230813 | Testing, Adjusting and balancing for HVAC systems
a. | Air and Water Testing, balancing and commissioning of HVAC system complete in all respect including one month test run, measurement and recording of pressure and electrical data and submission of technical/operation manual, LOG book for each related equipment as per specifications and drawings. | 1 | Job | 175000 | 25000 | 175000 | 25000 | 200000 | 100000
b. | Chilled water Quality test report from PCSIR laboratery to be submitted. | 1 | Job | 25000 | 2000 | 25000 | 2000 | 27000 | 10000
| SUB TOTAL | [6 empty] | 227000 | 110000
230900 | Instrumentation and Control for HVAC
230923 | Direct-Digital Control System
a. | Supply, Installation & Commissioning of direct-digital control system complete in all respect as per drawings and specifications. | 1 | Job | 2850000 | 175000 | 2850000 | 175000 | 3025000 | 3025000
230926 | Building Management System
a. | Supply, Installation & Commissioning of Building Management system complete in all respect as per drawings and specifications. | 1 | Job | 2650000 | 175000 | 2650000 | 175000 | 2825000 | 2825000
| SUB TOTAL | [6 empty] | 5850000 | 5850000
232100 | HVAC Piping and Pumps
232113.23 | Hydronic Piping
a. | Supply, Installation, testing & Commissioning of M.S Schedule 40 (as per ASME & API standard, heavy quality with standard Schedule 40 thickness) pipes & fittings for chilled water circulation system with bends, tees, unions, sockets as required to complete in all respects ready to operate as per schedule, drawings and specifications.
| 25 mm (1 inch) Diameter | 260 | Rft | 335 | 120 | 87100 | 31200 | 118300 | 66040
| 32 mm (1-1/4 inch) Diameter | 1150 | Rft | 370 | 130 | 425500 | 149500 | 575000 | 377000
| 38 mm (1-1/2 inch) Diameter | 430 | Rft | 510 | 140 | 219300 | 60200 | 279500 | 175000
| 50 mm (2 inch) Diameter | 580 | Rft | 700 | 160 | 406000 | 92800 | 498800 | 305660
| 65 mm (2-1/2 inch) Diameter | 620 | Rft | 1100 | 180 | 682000 | 111600 | 793600 | 530720
| 75 mm (3 inch) Diameter | 250 | Rft | 1120 | 280 | 280000 | 70000 | 350000 | 264000
| 100 mm (4 inch) Diameter | 370 | Rft | 1710 | 350 | 632700 | 129500 | 762200 | 569800
| 150 mm (6 inch) Diameter | 230 | Rft | 2937 | 590 | 675510 | 135700 | 811210 | 621000
232113.26 | Condensate Drain Piping
a. | Supply, Installation, testing & Commissioning of UPVC Class C pipes & fittings for condensate drain trap system with bends, tees, unions, sockets as required to complete in all respects ready to operate as per schedule, drawings and specifications.
| 25 mm (1 inch) Diameter | 740 | Rft | 100 | 20 | 74000 | 14800 | 88800 | 60000
| 32 mm (1-1/4 inch) Diameter | 320 | Rft | 107 | 20 | 34240 | 6400 | 40640 | 30000
| 38 mm (1-1/2 inch) Diameter | 380 | Rft | 134 | 20 | 50920 | 7600 | 58520 | 45000
| 50 mm (2 inch) Diameter | 310 | Rft | 200 | 20 | 62000 | 6200 | 68200 | 35000
| 65 mm (2-1/2 inch) Diameter | 200 | Rft | 330 | 30 | 66000 | 6000 | 72000 | 50000
| 75 mm (3 inch) Diameter | 150 | Rft | 460 | 40 | 69000 | 6000 | 75000 | 55000
232116 | Hydronic piping specialties
a. | Supply, Installation, testing & Commissioning of hydronic piping specialties alongwith flanges, coupling, unions complete in all respect as per drawings and specifications.
i | For Fresh Air Handling Unit(s)
Strainers with blow off 20 mm dia ball valve
| 50 mm (2 inch) Diameter | 3 | Nos | 7500 | 1800 | 22500 | 5400 | 27900 | 20000
ii | For Chilled Water Riser
| Automatic Air Vent | 2 | Nos | 4200 | 1700 | 8400 | 3400 | 11800 | 11800
For Fan Coil Unit(s)
Strainers with blow off 20 mm dia ball valve
| 25 mm (1 inch) Diameter | 18 | No | 2200 | 700 | 39600 | 12600 | 52200 | 33000
| 32 mm (1-1/4 inch) Diameter | 44 | Nos | 3500 | 900 | 154000 | 39600 | 193600 | 122000
| SUB TOTAL | [6 empty] | 4877270 | 3371020
232300 | Refrigerant Piping
232313 | Refrigerant piping
a. | Supply, Installation, testing & Commissioning of refrigerant piping with valves, fittings and specialities complete in all respect as per drawings and specifications. | 1 | Lot | 145000 | 35000 | 145000 | 35000 | 180000 | 135000
| SUB TOTAL | [6 empty] | 180000 | 135000
233100 | HVAC Ducts and Casings
233116.23 | Pre-insulated aluminum phenolic foam Ducting
Supply, Installation, testing & Commissioning of pre-insulated phenolic foam ducting complete in all respect as per drawings and specifications.
a. | Internal ducting | 14200 | Sq.ft | 235 | 52 | 3337000 | 738400 | 4075400 | 2910000
233119 | Access door for Fan coil unit
a. | Supply, Installation, testing & Commissioning of access door for fan coil units complete in all respect as per drawings and specifications, for the area where false ceiling has been shown in the drawing. | 1 | Lot | 175000 | 25000 | 175000 | 25000 | 200000 | 185000
| SUB TOTAL | [6 empty] | 4275400 | 3095000
233300 | Air Duct Accessories
233313 | Dampers
a. | Supply, Installation, testing & Commissioning of dampers complete in all respect as per drawings and specifications.
| Volume Control Damper | 1 | Lot | 30000 | 7000 | 30000 | 7000 | 37000 | 27000
| Fire Damper | 1 | Lot | 25000 | 7000 | 25000 | 7000 | 32000 | 27000
233343 | Flexible Connectors
a. | Supply, Installation, testing & Commissioning of flexible connectors (AHUS ,FCU & FANS) between blower section and air duct complete in all respect as per drawings and specifications. | 1 | Job | 375000 | 38000 | 375000 | 38000 | 413000 | 320000
233346 | Flexible Duct
a. | Supply, Installation, testing & Commissioning of flexible duct complete in all respect as per drawings and specifications.
| 150 mm (6 inch) Diameter | 450 | Rft | 240 | 70 | 108000 | 31500 | 139500 | 100000
| SUB TOTAL | [6 empty] | 621500 | 474000
233400 | HVAC Fans
233419.13 | Blowers and fans
Supply, Installation, testing & Commissioning of blowers and fans complete in all respect as per drawings and specifications.
| E.A.FAN 600 CFM Static 0.4" | 2 | Nos | 42000 | 10000 | 84000 | 20000 | 104000 | 75000
| E.A.FAN 800 CFM Static 0.3" | 1 | No | 44000 | 10000 | 44000 | 10000 | 54000 | 35500
233433 | Air Curtains
a. | Supply, Installation, testing & Commissioning of air curtains complete in all respect as per drawings and specifications.
| 6 Feet Long 2000 CFM | 2 | Nos | 46000 | 3500 | 92000 | 7000 | 99000 | 85000
| 4 Feet Long 1300 CFM | 1 | No | 39500 | 3500 | 39500 | 3500 | 43000 | 35000
| SUB TOTAL | [6 empty] | 300000 | 230500
233700 | Air Outlets and inlets
233713 | Diffusers, Registers, and Grilles
Supply, Installation, testing & Commissioning of Diffusers, Registers and Grilles complete in all respect as per drawings and specifications.
a. | Supply Air Diffusers (SAD)
| 375x375 (15"x15") | 192 | Nos | 5300 | 750 | 1017600 | 144000 | 1161600 | 879000
b. | Supply Air Round Diffusers (SAD)
| 375 mm (15" dia) | 38 | Nos | 5950 | 750 | 226100 | 28500 | 254600 | 210000
d | Fresh Air Register (FAR)
| 850x300 (34"x12") | 1 | No | 8500 | 500 | 8500 | 500 | 9000 | 7000
| 800x300 (32"x12") | 2 | Nos | 8000 | 500 | 16000 | 1000 | 17000 | 13000
f. | Exhaust Air Register (EAR)
| 225x225 (9"x9") | 9 | Nos | 2900 | 500 | 26100 | 4500 | 30600 | 26000
g | Imperialine linear air diffuser 3/4" slot with volume control dampers with link to adjust the damper blade from the face of linear air diffuser complete in all respect as per drawings and specifications
| S.A.L.D 3 slot 4 Feet Long | 15 | Nos | 5700 | 450 | 85500 | 6750 | 92250 | 91250
h | Fresh air intake louver | 1 | Lot | 35000 | 4000 | 35000 | 4000 | 39000 | 25000
i | Exhaust air intake louver | 1 | Lot | 25000 | 7000 | 25000 | 7000 | 32000 | 15000
| SUB TOTAL | [6 empty] | 1636050 | 1266250
234100 | Particulate Air Filters
234119 | Air Filters
a. | Panel Air Filters
| Supply, Installation, testing & Commissioning of Viscous oil type 2 inch (50 mm) thick cleanable type Air Filters complete in all respect as per drawings and specifications. | 1 | Lot | 28000 | 7000 | 28000 | 7000 | 35000 | 25000
| SUB TOTAL | [6 empty] | 35000 | 25000
237400 | Fresh Air Handling Units
237413 | Fresh air handling units
a. | Installation, lifting, testing & Commissioning of fresh air handling units complete in all respect as per drawings and specifications. | 3 | Nos | 0 | 5000 | 0 | 15000 | 15000 | 12000
| SUB TOTAL | [6 empty] | 15000 | 12000
238100 | Decentralized Unitary HVAC Equipment
238126.13 | Mini Split Air-Conditioners
a. | Supply Installation, testing & Commissioning of Mini Split Air-Conditioners complete in all respect as per drawings and specifications. The copper coils of condensers shall be of heavy duty and with copper fins.
| 1 TR | 1 | No | 77500 | 3500 | 77500 | 3500 | 81000 | 75000
| 2 TR | 2 | Nos | 90000 | 3500 | 180000 | 7000 | 187000 | 160000
238219 | Fan Coil Units
a. | installation, testing & Commissioning of Fan Coil Units complete in all respect as per drawings and specifications. | 62 | Nos | 0 | 2000 | 0 | 124000 | 124000 | 70000
DISMENTLING WORKS
| Dismentling of existing HVAC piping ducting & hanger support system, complete in all respect as per actual site conditions | 1 | Job | 25000 | 5000 | 25000 | 5000 | 30000 | 18000
| SUB TOTAL | [6 empty] | 422000 | 323000
TOTAL COST OF HVAC WORKS | [7 empty] | 29158524 | 23100932
23100932
[8 empty] | 2186889.3 |  | 3999000
27099932
26971634.7