## HVAC
Ref # PES/indus/037/02/21 | [8 empty] | 2021-02-25
Quotation for HVAC Work 1st Floor Indus Hospital.
S. # | Description | Unit | Qty | Material Rate | Labour Rate | Total Amount | Over Head Profit 25% | Income Tax 7.5% | Total Amount
A | B |  |  | C | D |  |  |  | I
[7 empty] | #REF! | #REF! | (C + D + E + F) x H
1 | Supply and installation of ducted type split AC 1.5 TR upto 10 Rft copper pipes liquid + Gas (Mueller USA) | Nos | 6 | 190000 | 5000 | 1170000 | 292500 | 87750 | 1550250 | 190000 | 28500 | 218500 | 21850 | 240350
2 | Supply and installation of ducted type split AC 02 TR upto 10 Rft copper pipes liquid + Gas (Mueller USA) | Nos | 6 | 210000 | 5000 | 1290000 | 322500 | 96750 | 1709250 | 210000 | 31500 | 241500 | 24150 | 265650
3 | Providing and installation of G.I sheet metal duct. 22/24 SWG for supply and return air ducts. | Sqft | 2160 | 160 | 40 | 432000 | 108000 | 32400 | 572400
4 | Providing and installation of NBR insulation with aluminium face 3/4" thick over supply and return air ducts. | Sqft | 2160 | 280 | 30 | 669600 | 167400 | 50220 | 887220 | [5 empty] | 51450
5 | Supplly and installation of air devices for supply and return air. | Sqin | 7000 | 16 | 3 | 133000 | 33250 | 9975 | 176225 | [5 empty] | 2726.85
6 | Supply and installation of hangers and supports. | Job | 1 | 40000 | 10000 | 50000 | 12500 | 3750 | 66250
7 | Testing and commissioning of split units. | Job | 12 | 0 | 2500 | 30000 | 7500 | 2250 | 39750 | [5 empty] | 54176.85
Total Amount Rs. | [8 empty] | 5001345 | [5 empty] | 10835.37
For PIONEER ENGINEERING SERVICES.
M. Bilal Habib ur Rehman

## Faucets
Ref # PES/indus/038/02/21 | [10 empty] | 2021-02-25
Quotation for Plumbing Fixtures for 1st Floor Indus Hospital
S. # | Description | Unit | Qty | Material Rate | Labour Rate | Total Amount | Transport. & Misc 02% | GST 17% | Over Head Profit 25% | Income Tax 7.5% | Total Amount | [9 empty] | Model # | Color
A | B |  |  | C | D | [5 empty] | I
(C + D + E + F) x H
1 | Supply and installation of Kohler - Poise Single Bowl Undercounter Sink 820 mm x 430 mm | Pcs | 3 | 46305 | 3000 | 147915 | 2958.3 | 25145.55 | 36978.75 | 11093.625 | 224091.225 | 51450 | 5145 | 46305 | 9261 | 55566 | 4167.45 | 59733.45 | 16927.05 | 68377.05 | K-3880T-F-NA | S. Steel
2 | Supply and installation of Kohler - Strayt Single Line Sensor Faucet | Pcs | 9 | 37264.45 | 1000 | 344380.05 | 6887.601 | 58544.6085 | 86095.0125 | 25828.5037 | 521735.7758 | 39350 | 2085.55 | 37264.45 | 7452.89 | 44717.34 | 3353.8005 | 48071.1405 |  |  | K-72867T-CP | Pol. Chrome
3 | Supply and installation of Bobrick - Surface-Mounted Soap Dispenser (1/2Ltr.) | Pcs | 0 | 9233.25 | 500 | 0 | 0 | 0 | 0 | 0 | 0 | 9750 | 516.75 | 9233.25 | 1846.65 | 11079.9 | 830.9925 | 11910.8925 |  |  | B-2111 | S. Steel
4 | Supply and installation of Inda - Liquid Soap Dispenser (1/2Ltr.) | Pcs | 11 | 6155.5 | 500 | 73210.5 | 1464.21 | 12445.785 | 18302.625 | 5490.7875 | 110913.9075 | 6500 | 344.5 | 6155.5 | 1231.1 | 7386.6 | 553.995 | 7940.595 |  |  | A05670CR | Pol. Chrome
5 | Supply and installation of Bobrick - Counter Mounted Facial Tissue Dispenser | Pcs | 5 | 10890.5 | 300 | 55952.5 | 1119.05 | 9511.925 | 13988.125 | 4196.4375 | 84768.0375 | 11500 | 609.5 | 10890.5 | 2178.1 | 13068.6 | 980.145 | 14048.745 |  |  | B-8397 | S. Steel
6 | Supply and installation of Kohler - Panache Wall Mounted Wash Basin 600mm with Tap Hole | Pcs | 1 | 24622 | 2000 | 26622 | 532.44 | 4525.74 | 6655.5 | 1996.65 | 40332.33 | 26000 | 1378 | 24622 | 4924.4 | 29546.4 | 2215.98 | 31762.38 |  |  | K-17156X-0 | White
7 | Supply and installation of Kohler - Panache Semi Pedestal | Pcs | 1 | 7433.95 | 500 | 7933.95 | 158.679 | 1348.7715 | 1983.4875 | 595.0462 | 12019.9342 | 7850 | 416.05 | 7433.95 | 1486.79 | 8920.74 | 669.0555 | 9589.7955 |  |  | K-17154K-00 | White
8 | Supply and installation of Bobrick - Straight Grab Bar (18 inch Long) | Pcs | 1 | 7102.5 | 500 | 7602.5 | 152.05 | 1292.425 | 1900.625 | 570.1875 | 11517.7875 | 7500 | 397.5 | 7102.5 | 1420.5 | 8523 | 639.225 | 9162.225 |  |  | B-5806 X 18 | S.Steel
9 | Supply and installation of Kohler - Presquile Wall Hung WC with Seat Cover | Pcs | 3 | 41857.4 | 4000 | 137572.2 | 2751.444 | 23387.274 | 34393.05 | 10317.915 | 208421.883 | 44200 | 2342.6 | 41857.4 | 8371.48 | 50228.88 | 3767.166 | 53996.046 |  |  | K-19080-0 + K-8798T-0 | White
10 | Supply and installation of Kohler - Instaflush Inwall Tank (Pneumatic) | Pcs | 3 | 14489.1 | 2000 | 49467.3 | 989.346 | 8409.441 | 12366.825 | 3710.0475 | 74942.9595 | 15300 | 810.9 | 14489.1 | 2897.82 | 17386.92 | 1304.019 | 18690.939 |  |  | K-77027IN-P-NA | -
11 | Supply and installation of Kohler - Lynk Plate for In Wall Tank | Pcs | 3 | 4924.4 | 500 | 16273.2 | 325.464 | 2766.444 | 4068.3 | 1220.49 | 24653.898 | 5200 | 275.6 | 4924.4 | 984.88 | 5909.28 | 443.196 | 6352.476 |  |  | K-75890T-CP | Pol. Chrome
12 | Supply and installation of Kohler - Luxe Health Faucet with Flexible Pipe and Wall Braket (Muslim Shower) | Pcs | 0 | 6392.25 | 500 | 0 | 0 | 0 | 0 | 0 | 0 | 6750 | 357.75 | 6392.25 | 1278.45 | 7670.7 | 575.3025 | 8246.0025 |  |  | K-77364IN-CP | Pol. Chrome
13 | Supply and installation of Kohler - Cuff Health Faucet with Flexible Pipe and Wall Braket (Muslim Shower) | Pcs | 5 | 6392.25 | 500 | 34461.25 | 689.225 | 5858.4125 | 8615.3125 | 2584.5938 | 52208.7937 | 6750 | 357.75 | 6392.25 | 1278.45 | 7670.7 | 575.3025 | 8246.0025 |  |  | K-98100X-CP | Pol. Chrome
14 | Supply and installation of Bobrick - Surface-Mounted Toilet Tissue Dispenser without Hood | Pcs | 0 | 10322.3 | 500 | 0 | 0 | 0 | 0 | 0 | 0 | 10900 | 577.7 | 10322.3 | 2064.46 | 12386.76 | 929.007 | 13315.767 |  |  | B-667 | Pol. Chrome
15 | Supply and installation of Bobrick - Surface-Mounted Toilet Tissue Dispenser with Hood | Pcs | 6 | 17993 | 500 | 110958 | 2219.16 | 18862.86 | 27739.5 | 8321.85 | 168101.37 | 19000 | 1007 | 17993 | 3598.6 | 21591.6 | 1619.37 | 23210.97 |  |  | B-6699 | Pol. Chrome
16 | Supply and installation of Kohler - Taut Bath Shower Mixer with Hand Shower & Wall Bracket | Pcs | 0 | 26989.5 | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 28500 | 1510.5 | 26989.5 | 5397.9 | 32387.4 | 2429.055 | 34816.455 |  |  | K-74036T-4-CP | Pol. Chrome
17 | Supply and installation of Kohler - Taut Dial Plate Plain - Recessed Bath & Shower Faucet Trim | Pcs | 1 | 6771.05 | 500 | 7271.05 | 145.421 | 1236.0785 | 1817.7625 | 545.3288 | 11015.6408 | 7150 | 378.95 | 6771.05 | 1354.21 | 8125.26 | 609.3945 | 8734.6545 |  |  | K-74039T-4FP-CP | Pol. Chrome
18 | Supply and installation of Kohler - Single Control Recessed Shower Conconealed Valve | Pcs | 1 | 10937.85 | 1500 | 12437.85 | 248.757 | 2114.4345 | 3109.4625 | 932.8388 | 18843.3427 | 11550 | 612.15 | 10937.85 | 2187.57 | 13125.42 | 984.4065 | 14109.8265 |  |  | K-880IN-CP | Pol. Chrome
19 | Supply and installation of Kohler - Awaken Multi- Functioned Hand shower | Pcs | 1 | 8617.7 | 500 | 9117.7 | 182.354 | 1550.009 | 2279.425 | 683.8275 | 13813.3155 | 9100 | 482.3 | 8617.7 | 1723.54 | 10341.24 | 775.593 | 11116.833 |  |  | K-R72415T-CP | Pol. Chrome
20 | Supply and installation of Kohler - Flexible Hose (Pipe) for Hand Shower 1.5m | Pcs | 1 | 3219.8 | 500 | 3719.8 | 74.396 | 632.366 | 929.95 | 278.985 | 5635.497 | 3400 | 180.2 | 3219.8 | 643.96 | 3863.76 | 289.782 | 4153.542 |  |  | K-12067T-CP | Pol. Chrome
21 | Supply and installation of Kohler - Adjustable Slide Bar | Pcs | 1 | 7433.95 | 500 | 7933.95 | 158.679 | 1348.7715 | 1983.4875 | 595.0462 | 12019.9342 | 7850 | 416.05 | 7433.95 | 1486.79 | 8920.74 | 669.0555 | 9589.7955 |  |  | K-72740T-CP | Pol. Chrome
22 | Supply and installation of Kohler - Wall Mounted Water Supply Elbow | Pcs | 1 | 5161.15 | 500 | 5661.15 | 113.223 | 962.3955 | 1415.2875 | 424.5862 | 8576.6422 | 5450 | 288.85 | 5161.15 | 1032.23 | 6193.38 | 464.5035 | 6657.8835 |  |  | K-16381T-CP | Pol. Chrome
23 | Supply and installation of Kohler - Verticyl Undercounter Washbasin | Pcs | 0 | 21591.6 | 2000 | 0 | 0 | 0 | 0 | 0 | 0 | 22800 | 1208.4 | 21591.6 | 4318.32 | 25909.92 | 1943.244 | 27853.164 |  |  | K-2882-0 | White
24 | Supply and installation of Kohler - Ladena Undercounter Washbasin | Pcs | 3 | 19555.55 | 2000 | 64666.65 | 1293.333 | 10993.3305 | 16166.6625 | 4849.9987 | 97969.9747 | 20650 | 1094.45 | 19555.55 | 3911.11 | 23466.66 | 1759.9995 | 25226.6595 |  |  | K-2215T-M-0 | White
25 | Supply and installation of Kohler - Caxton Undercounter Washbasin | Pcs | 0 | 15483.45 | 2000 | 0 | 0 | 0 | 0 | 0 | 0 | 16350 | 866.55 | 15483.45 | 3096.69 | 18580.14 | 1393.5105 | 19973.6505 |  |  | K-2211T-0 | White
26 | Supply and installation of Kohler - Complememtary Single Robe Hook | Pcs | 7 | 2083.4 | 500 | 18083.8 | 361.676 | 3074.246 | 4520.95 | 1356.285 | 27396.957 | 2200 | 116.6 | 2083.4 | 416.68 | 2500.08 | 187.506 | 2687.586 |  |  | K-5635T-CP | Pol. Chrome
27 | Supply and installation of Kohler - Panache Wall Mounted Wash Basin 600mm with Tap Hole | Pcs | 1 | 24622 | 2000 | 26622 | 532.44 | 4525.74 | 6655.5 | 1996.65 | 40332.33 | 26000 | 1378 | 24622 | 4924.4 | 29546.4 | 2215.98 | 31762.38 |  |  | K-17156X-0 | White
28 | Supply and installation of Kohler - Panache Semi Pedestal | Pcs | 1 | 7433.95 | 2000 | 9433.95 | 188.679 | 1603.7715 | 2358.4875 | 707.5462 | 14292.4343 | 7850 | 416.05 | 7433.95 | 1486.79 | 8920.74 | 669.0555 | 9589.7955 |  |  | K-17154K-00 | White
29 | Supply and installation of Kohler - Kumin Kitchen Sink Mixer with moving Spout | Pcs | 0 | 14678.5 | 500 | 0 | 0 | 0 | 0 | 0 | 0 | 15500 | 821.5 | 14678.5 | 2935.7 | 17614.2 | 1321.065 | 18935.265 |  |  | K-99480T-4-CP | Pol. Chrome
30 | Supply and installation of Kohler - Candide Kitchen Sink Mixer with moving Spout | Pcs | 2 | 15483.45 | 500 | 31966.9 | 639.338 | 5434.373 | 7991.725 | 2397.5175 | 48429.8535 | 16350 | 866.55 | 15483.45 | 3096.69 | 18580.14 | 1393.5105 | 19973.6505 |  |  | K-668T-B-CP | Pol. Chrome
31 | Supply and installation of Flux - Squatting Pan- Orrissa | Pcs | 2 | 5729.35 | 3000 | 17458.7 | 349.174 | 2967.979 | 4364.675 | 1309.4025 | 26449.9305 | 6050 | 320.65 | 5729.35 | 1145.87 | 6875.22 | 515.6415 | 7390.8615 |  |  | LT-103S | White
32 | Supply and installation of Kohler - Instaflush Inwall Tank (Pneumatic) | Pcs | 2 | 14489.1 | 2000 | 32978.2 | 659.564 | 5606.294 | 8244.55 | 2473.365 | 49961.973 | 15300 | 810.9 | 14489.1 | 2897.82 | 17386.92 | 1304.019 | 18690.939 |  |  | K-77027IN-P-NA | -
33 | Supply and installation of Kohler - Lynk Plate for In Wall Tank | Pcs | 2 | 4924.4 | 1000 | 11848.8 | 236.976 | 2014.296 | 2962.2 | 888.66 | 17950.932 | 5200 | 275.6 | 4924.4 | 984.88 | 5909.28 | 443.196 | 6352.476 |  |  | K-75890T-CP | Pol. Chrome
34 | Supply and installation of Kohler - Verticyl Undercounter Washbasin | Pcs | 0 | 21591.6 | 2000 | 0 | 0 | 0 | 0 | 0 | 0 | 22800 | 1208.4 | 21591.6 | 4318.32 | 25909.92 | 1943.244 | 27853.164 |  |  | K-2882-0 | White
35 | Supply and installation of Kohler - Ladena Undercounter Washbasin | Pcs | 4 | 19555.55 | 2000 | 86222.2 | 1724.444 | 14657.774 | 21555.55 | 6466.665 | 130626.633 | 20650 | 1094.45 | 19555.55 | 3911.11 | 23466.66 | 1759.9995 | 25226.6595 |  |  | K-2215T-M-0 | White
36 | Supply and installation of Kohler - Caxton Undercounter Washbasin | Pcs | 0 | 15483.45 | 2000 | 0 | 0 | 0 | 0 | 0 | 0 | 16350 | 866.55 | 15483.45 | 3096.69 | 18580.14 | 1393.5105 | 19973.6505 |  |  | K-2211T-0 | White
37 | Supply and installation of Bobrick - Floding Shower Seat | Pcs | 1 | 57482.9 | 1000 | 58482.9 | 1169.658 | 9942.093 | 14620.725 | 4386.2175 | 88601.5935 | 60700 | 3217.1 | 57482.9 | 11496.58 | 68979.48 | 5173.461 | 74152.941 |  |  | B-5191 | S.Steel
38 | Supply and installation of Bobrick - Recessed Paper Towel Dispenser / Automatic Hand Dryer / Waste Bin (3-in- 1 Unit) | Pcs | 1 | 325294.5 | 10000 | 335294.5 | 6705.89 | 57000.065 | 83823.625 | 25147.0875 | 507971.1675 | 343500 | 18205.5 | 325294.5 | 65058.9 | 390353.4 | 29276.505 | 419629.905 |  |  | B-38030 230V | S.Steel
39 | Supply and installation of Bobrick - Swing-Up Grab Bar | Pcs | 1 | 68846.9 | 1000 | 69846.9 | 1396.938 | 11873.973 | 17461.725 | 5238.5175 | 105818.0535 | 72700 | 3853.1 | 68846.9 | 13769.38 | 82616.28 | 6196.221 | 88812.501 |  |  | B-4998 | S.Steel
40 | Supply and installation of Bobrick - Counter Mounted Gloves Dispenser | Pcs | 1 | 10890.5 | 500 | 11390.5 | 227.81 | 1936.385 | 2847.625 | 854.2875 | 17256.6075 | 11500 | 609.5 | 10890.5 | 2178.1 | 13068.6 | 980.145 | 14048.745 |  |  | B-8397 | S. Steel
41 | Supply and installation of Angle Valve | Pcs | 1 | 3645.95 | 1000 | 4645.95 | 92.919 | 789.8115 | 1161.4875 | 348.4462 | 7038.6142 | 3850 | 204.05 | 3645.95 | 729.19 | 4375.14 | 328.1355 | 4703.2755 |  |  | 80158T-9-CP | Pol. Chrome
42 | Supply and installation of Kohler - Complementary Towel Rod / Bar 24" | Pcs | 1 | 4072.1 | 500 | 4572.1 | 91.442 | 777.257 | 1143.025 | 342.9075 | 6926.7315 | 4300 | 227.9 | 4072.1 | 814.42 | 4886.52 | 366.489 | 5253.009 |  |  | K-5630IN-CP | Pol. Chrome
Total Amount Rs. | [10 empty] | 2790636.06
Terms & Conditions:
a) 50% advance
b) 25% after delivery of material at site.
c) 25% at the time of completion of work.
For PIONEER ENGINEERING SERVICES.
M. Bilal Habib ur Rehman

## Plumbing
Ref # PES/indus/039/02/21 | [13 empty] | 2021-02-25
Quotation for Plumbing Work 1st Floor Indus Hospital.
S. # | Description | Unit | Qty | Material Rate | Labour Rate | Total Amount | Rebate 10% | Net Total Amount | Transport. & Misc 02% | GST 17% | Total Margin 10% | Pioneer Margin 10% | Income Tax 7.5% | Total Amount
A | B |  |  | C | D | [8 empty] | I
(C + D + E + F) x H
1 | Supply and installation of UPVC pipe (NIKASI) including all fittings such as socket, tee, bend, elbow etc. for soil, waste & vent system.
| a) 50 mm | Rft | 520 | 242 | 50 | 151840 | 15184 | 136656 | 2733.12 | 23231.52 | 13665.6 | 13665.6 | 10249.2 | 151840
| b) 75 mm | Rft | 940 | 375 | 70 | 418300 | 41830 | 376470 | 7529.4 | 63999.9 | 37647 | 37647 | 28235.25 | 418300
| c) 100 mm | Rft | 3200 | 586 | 100 | 2195200 | 219520 | 1975680 | 39513.6 | 335865.6 | 197568 | 197568 | 148176 | 2195200
| d) 150 mm | Rft | 90 | 960 | 150 | 99900 | 9990 | 89910 | 1798.2 | 15284.7 | 8991 | 8991 | 6743.25 | 99900
2 | Supply and installation of 75 mm multi floor drain with 6" x 6" SS Greating. | Nos | 120 | 3500 | 1000 | 540000 | 54000 | 486000 | 9720 | 82620 | 48600 | 48600 | 36450 | 540000
3 | Supply and installation of clean out.
| a) 75 mm | Nos | 22 | 3000 | 500 | 77000 | 7700 | 69300 | 1386 | 11781 | 6930 | 6930 | 5197.5 | 77000
| b) 100 mm | Nos | 181 | 3500 | 500 | 724000 | 72400 | 651600 | 13032 | 110772 | 65160 | 65160 | 48870 | 724000
| c) 150 mm | Nos | 8 | 4000 | 500 | 36000 | 3600 | 32400 | 648 | 5508 | 3240 | 3240 | 2430 | 36000
4 | Supply and installation of PPRC pipe (IIL) including fittings such as socket, tee, elbow etc. complete in all respect.
| a) 12 mm | Rft | 460 | 80 | 40 | 55200 | 5520 | 49680 | 993.6 | 8445.6 | 4968 | 4968 | 3726 | 55200
| b) 20 mm | Rft | 970 | 110 | 50 | 155200 | 15520 | 139680 | 2793.6 | 23745.6 | 13968 | 13968 | 10476 | 155200
| c) 25 mm | Rft | 780 | 140 | 60 | 156000 | 15600 | 140400 | 2808 | 23868 | 14040 | 14040 | 10530 | 156000
| d) 32 mm | Rft | 610 | 210 | 70 | 170800 | 17080 | 153720 | 3074.4 | 26132.4 | 15372 | 15372 | 11529 | 170800
| e) 40 mm | Rft | 80 | 275 | 80 | 28400 | 2840 | 25560 | 511.2 | 4345.2 | 2556 | 2556 | 1917 | 28400
| f) 50 mm | Rft | 60 | 415 | 90 | 30300 | 3030 | 27270 | 545.4 | 4635.9 | 2727 | 2727 | 2045.25 | 30300
| g) 63 mm | Rft | 1160 | 55 | 100 | 179800 | 17980 | 161820 | 3236.4 | 27509.4 | 16182 | 16182 | 12136.5 | 179800
5 | Supply and installation of gate valves
| a) 13 mm | Nos | 88 | 1920 | 500 | 212960 | 21296 | 191664 | 3833.28 | 32582.88 | 19166.4 | 19166.4 | 14374.8 | 212960
| b) 25 mm | Nos | 22 | 3456 | 500 | 87032 | 8703.2 | 78328.8 | 1566.576 | 13315.896 | 7832.88 | 7832.88 | 5874.66 | 87032
| c) 32 mm | Nos | 9 | 4176 | 500 | 42084 | 4208.4 | 37875.6 | 757.512 | 6438.852 | 3787.56 | 3787.56 | 2840.67 | 42084
| d) 38 mm | Nos | 7 | 5856 | 500 | 44492 | 4449.2 | 40042.8 | 800.856 | 6807.276 | 4004.28 | 4004.28 | 3003.21 | 44492
| e) 50 mm | Nos | 12 | 10080 | 500 | [8 empty] | 126960
| f) 63 mm | Nos | 1 | 15360 | 500 | [8 empty] | 15860
6 | Supply and installation of 12mm thick foam insulation over hot water pipes and fittings. | Job | 1 | 150000 | 30000 | 180000 | 18000 | 162000 | 3240 | 27540 | 16200 | 16200 | 12150 | 180000
7 | Supply and installation of Hangers & supports for water supply and drainage system. | Job | 1 | 550000 | 90000 | 90000 | 9000 | 81000 | 1620 | 13770 | 8100 | 8100 | 6075 | 640000
8 | Shop and As-built drawings. | Job | 1 | 0 | 30000 | 30000 | 3000 | 27000 | 540 | 0 | 2700 | 2700 | 2025 | 30000
9 | Testing and commissioing. | Job | 1 | 0 | 200000 | 200000 | 20000 | 180000 | 3600 | 0 | 18000 | 18000 | 13500 | 200000
Total Amount Rs. | [13 empty] | 6597328
Terms & Conditions:
a) 50% advance
b) 25% after delivery of material at site.
c) 25% at the time of completion of work.
For PIONEER ENGINEERING SERVICES.
M. Bilal Habib ur Rehman