## Sheet1
PATIENT'S AID FOUNDATION - JPMC, KARACHI
CONSTRUCTION OF DEPARTMENT OF PSYCHIATRY & NEUROLOGY AT JPMC KARACHI
BILL OF QUANTITIES 0F PLUMBING AND FIRE FIGHTING WORKS
Item No. | Description | Unit | Old Qty | Revised Qty | Pioneer Rates | Total rates (after deduction of Rebate tax and margin) | Total rates | Total rates | Total Amount (Rupees) | Rebate 12% |  | Tax |  | Receivable | Total Amount | TC Margin
(1) | (2) | (3) |  | (4) |  |  |  | (5) | (6) | Rebate 12% | Amount after rebate | Tax 7.5% | Amount after Tax |  |  | TC Margin 10% | Amount After TC Margin
P. PIPING / PLUMBING WORKS
A. | Water Supply Ref: Spec. No5100 & 5180
1P | PPR cold and hot water pipes SDR - 6 (PN 20) conforming to DIN 8077 & DIN 8078 & fittings, SDR 6 (PN 25) conforming to DIN 16962 of following inner diameters (for unexposed piping)
| a) 1/2 inch Inner Dia. | R-Ft | 20 | 25 | 175 | 127.36 | 175 | 175 | 4375 | 525 | 3850 | 312 | 3538 | 120.992 | 3024.8 | 354 | 3184 | 127.36
| b) 3/4 inch Inner Dia. | R-Ft | 1300 | 1625 | 230 | 167.3865 | 230 | 230 | 373750 | 44850 | 328900 | 26674 | 302226 | 159.0171 | 258402.85 | 30223 | 272003 | 167.3865
| c) 1 inch Inner Dia. | R-Ft | 500 | 625 | 357 | 259.8128 | 357 | 357 | 223125 | 26775 | 196350 | 15924 | 180426 | 246.8222 | 154263.85 | 18043 | 162383 | 259.8128
| d) 1-1/4 inch Inner Dia. | R-Ft | 200 | 250 | 467 | 339.868 | 467 | 467 | 116750 | 14010 | 102740 | 8332 | 94408 | 322.8746 | 80718.65 | 9441 | 84967 | 339.868
| e) 1-1/2 inch Inner Dia. | R-Ft | 250 | 313 | 661 | 481.0543 | 661 | 661 | 206893 | 24827 | 182066 | 14766 | 167300 | 457.0016 | 143041.5 | 16730 | 150570 | 481.0543
| f) 2 inch Inner Dia. | R-Ft | 100 | 125 | 790 | 574.936 | 790 | 790 | 98750 | 11850 | 86900 | 7048 | 79852 | 546.1892 | 68273.65 | 7985 | 71867 | 574.936
| g) 2-1/2 inch Inner Dia. | R-Ft | 10 | 13 | 1320 | 960.6154 | 1320 | 1320 | 17160 | 2059 | 15101 | 1225 | 13876 | 912.5846 | 11863.6 | 1388 | 12488 | 960.6154
| h) 3 inch Inner Dia. | R-Ft | 10 | 13 | 3370 | 2452.5385 | 3370 | 3370 | 43810 | 5257 | 38553 | 3127 | 35426 | 2329.9115 | 30288.85 | 3543 | 31883 | 2452.5385
2P | Electric Water Cooler | [13 empty] | 0
| h) 90 Ltr / hr | Nos. | 2 | 3 | 85000 | 61860.3333 | 85000 | 85000 | 255000 | 30600 | 224400 | 18199 | 206201 | 58767.3167 | 176301.95 | 20620 | 185581 | 61860.3333
3P | Bronze gate valve of the following diameters. | [13 empty] | 0
| a) 3/4 inch | Nos. | 1 | 1 | 2600 | 1892 | 2600 | 2600 | 2600 | 312 | 2288 | 186 | 2102 | 1797.4 | 1797.4 | 210 | 1892 | 1892
| b) 1 inch Inner | Nos. | 5 | 6 | 3800 | 2765.5 | 3800 | 3800 | 22800 | 2736 | 20064 | 1627 | 18437 | 2627.225 | 15763.35 | 1844 | 16593 | 2765.5
| c) 1-1/4 inch | Nos. | 1 | 1 | 4670 | 3399 | 4670 | 4670 | 4670 | 560 | 4110 | 333 | 3777 | 3229.05 | 3229.05 | 378 | 3399 | 3399
| d) 1-1/2 inch | Nos. | 10 | 13 | 5950 | 4330.2308 | 5950 | 5950 | 77350 | 9282 | 68068 | 5520 | 62548 | 4113.7192 | 53478.35 | 6255 | 56293 | 4330.2308
| e) 2 inch | Nos. | 7 | 9 | 8340 | 6069.5556 | 8340 | 8340 | 75060 | 9007 | 66053 | 5357 | 60696 | 5766.0778 | 51894.7 | 6070 | 54626 | 6069.5556
| f) 2-1/2 inch | Nos. | 9 | 11 | 33220 | 24176.5455 | 33220 | 33220 | 365420 | 43850 | 321570 | 26079 | 295491 | 22967.7182 | 252644.9 | 29549 | 265942 | 24176.5455
| g) 3 inch | Nos. | 4 | 5 | 38800 | 28237.4 | 38800 | 38800 | 194000 | 23280 | 170720 | 13845 | 156875 | 26825.53 | 134127.65 | 15688 | 141187 | 28237.4
| h) 4 inch | Nos. | 2 | 3 | 48900 | 35587.6667 | 48900 | 48900 | 146700 | 17604 | 129096 | 10470 | 118626 | 33808.2833 | 101424.85 | 11863 | 106763 | 35587.6667
4P | C.P. brass double bib tap with muslim shower of following diameter | [13 empty] | 0
| a) 3/4 inch | Nos. | 94 | 118 | 4350 | 3165.7966 | 4350 | 4350 | 513300 | 61596 | 451704 | 36633 | 415071 | 3007.5068 | 354885.8 | 41507 | 373564 | 3165.7966
5P | Electric Water Heater Including gate valve and all other accesspries of the following capacity. | [13 empty] | 0
| a) 12 US Gallons | No | 4 | 5 | 36000 | 26199.8 | 36000 | 36000 | 180000 | 21600 | 158400 | 12846 | 145554 | 24889.81 | 124449.05 | 14555 | 130999 | 26199.8
| b) 25 US Gallons | No | 3 | 4 | 44000 | 32021.75 | 44000 | 44000 | 176000 | 21120 | 154880 | 12561 | 142319 | 30420.6625 | 121682.65 | 14232 | 128087 | 32021.75
| c) 35 Gallons | No | 3 | 4 | 53500 | 38935.5 | 53500 | 53500 | 214000 | 25680 | 188320 | 15273 | 173047 | 36988.725 | 147954.9 | 17305 | 155742 | 38935.5
B. | PLUMBING FIXTURES Ref: Spec. No 5100 & 5180 | [13 empty] | 0
6P | Europen water closet (Coupled) including all other necessary accessories as specified & required for installation. | Nos. | 92 | 115 | 24000 | 17466.4522 | 24000 | 24000 | 2760000 | 331200 | 2428800 | 196976 | 2231824 | 16593.1296 | 1908209.9 | 223182 | 2008642 | 17466.4522
7P | Europen water closet (Coupled) for disable including all other necessary accessories as specified & required for installation. | Nos. | 2 | 3 | 31500 | 22924.6667 | 31500 | 31500 | 94500 | 11340 | 83160 | 6744 | 76416 | 21778.4333 | 65335.3 | 7642 | 68774 | 22924.6667
8P | Pedestal type wash basin with all other accessories as specified & required for installation. | Nos. | 34 | 43 | 18045 | 13132.5814 | 18045 | 18045 | 775935 | 93112 | 682823 | 55377 | 627446 | 12475.9523 | 536465.95 | 62745 | 564701 | 13132.5814
9P | Counter type wash basin for all other accessories as specified & required for installation. | Nos. | 51 | 64 | 18505 | 13467.3594 | 18505 | 18505 | 1184320 | 142118 | 1042202 | 84523 | 957679 | 12793.9914 | 818815.45 | 95768 | 861911 | 13467.3594
10P | Pedestal type wash basin for disable with all other accessories as specified & required for installation. | Nos. | 2 | 3 | 15000 | 10916.3333 | 15000 | 15000 | 45000 | 5400 | 39600 | 3212 | 36388 | 10370.5167 | 31111.55 | 3639 | 32749 | 10916.3333
11P | Imported galss mirror of Belgium origin as specified. | SM | 780 | 975 | 5600 | 4075.5056 | 5600 | 5600 | 5460000 | 655200 | 4804800 | 389669 | 4415131 | 3871.7304 | 3774937.1 | 441513 | 3973618 | 4075.5056
12P | C.P towel rail as specified. | Nos. | 36 | 45 | 2200 | 1601.0889 | 2200 | 2200 | 99000 | 11880 | 87120 | 7065 | 80055 | 1521.0344 | 68446.55 | 8006 | 72049 | 1601.0889
13P | C.P toilet paper holder as specified. | Nos. | 94 | 118 | 1400 | 1018.8729 | 1400 | 1400 | 165200 | 19824 | 145376 | 11790 | 133586 | 967.9292 | 114215.65 | 13359 | 120227 | 1018.8729
14P | C.P Soap dispensor as Specified. | Nos. | 62 | 78 | 1350 | 982.4872 | 1350 | 1350 | 105300 | 12636 | 92664 | 7515 | 85149 | 933.3628 | 72802.3 | 8515 | 76634 | 982.4872
15P | Shower rose including all accessories as specified. | Nos. | 16 | 20 | 11075 | 8060.05 | 11075 | 11075 | 221500 | 26580 | 194920 | 15808 | 179112 | 7657.0475 | 153140.95 | 17911 | 161201 | 8060.05
16P | Stainless stell single bowl kitchen sink with all accessories as specified & required for installation. | Nos. | 4 | 5 | 18400 | 13391 | 18400 | 18400 | 92000 | 11040 | 80960 | 6566 | 74394 | 12721.45 | 63607.25 | 7439 | 66955 | 13391
16P(a) | Stainless steel Sluice including all other accessories complete as specified and as per manufacture's recommendations. | Nos. | 6 | 8 | 82000 | 59677.125 | 82000 | 82000 | 656000 | 78720 | 577280 | 46817 | 530463 | 56693.2688 | 453546.15 | 53046 | 477417 | 59677.125
C. | SANITARY DRAINAGE Ref: Spec. No 5100 & 5180 |  | 410 | [11 empty] | 0
17P | uPVC soil,waste and vent pipes conforming to ASTM D-1785 of Schedule 40 & fittings D-2465 of Schedule 40 including fittings Compatible with pipe of following diameter: | [13 empty] | 0
| a) 1-1/2 inch | R-Ft | 410 | 513 | 270 | 196.499 | 270 | 270 | 138510 | 16621 | 121889 | 9885 | 112004 | 186.6741 | 95763.8 | 11200 | 100804 | 196.499
| b) 2 inch | R-Ft | 860 | 1075 | 351 | 255.4465 | 351 | 351 | 377325 | 45279 | 332046 | 26929 | 305117 | 242.6742 | 260874.75 | 30512 | 274605 | 255.4465
| c) 3 inch | R-Ft | 2600 | 3250 | 584 | 425.0172 | 584 | 584 | 1898000 | 227760 | 1670240 | 135456 | 1534784 | 403.7664 | 1312240.7 | 153478 | 1381306 | 425.0172
| d) 4 inch | R-Ft | 1800 | 2250 | 630 | 458.4942 | 630 | 630 | 1417500 | 170100 | 1247400 | 101164 | 1146236 | 435.5695 | 980031.4 | 114624 | 1031612 | 458.4942
18P | Floor drains with stainless steel gratings and UPVC P- trap of the folllowing diameter as specified. | [13 empty] | 0
| a) 3 inch | Nos. | 100 | 125 | 4200 | 3056.632 | 4200 | 4200 | 525000 | 63000 | 462000 | 37468 | 424532 | 2903.8004 | 362975.05 | 42453 | 382079 | 3056.632
19P | Floor trap with stainless steel gratings and UPVC P - trap of the following diameter as specified. | [13 empty] | 0
| a) 3 inch | Nos. | 110 | 138 | 2800 | 2037.7464 | 2800 | 2800 | 386400 | 46368 | 340032 | 27577 | 312455 | 1935.8591 | 267148.55 | 31246 | 281209 | 2037.7464
20P | Floor cleanout with brass cover of the following diameter as specified | [13 empty] | 0
| a) 3 inch | Nos. | 12 | 15 | 5000 | 3638.8 | 5000 | 5000 | 75000 | 9000 | 66000 | 5353 | 60647 | 3456.86 | 51852.9 | 6065 | 54582 | 3638.8
| b) 4 inch | Nos. | 12 | 15 | 6000 | 4366.6 | 6000 | 6000 | 90000 | 10800 | 79200 | 6423 | 72777 | 4148.27 | 62224.05 | 7278 | 65499 | 4366.6
21P | Plug cleanout of the following diameter as specified | [13 empty] | 0
| a) 3 inch | Nos. | 46 | 58 | 1800 | 1309.9828 | 1800 | 1800 | 104400 | 12528 | 91872 | 7451 | 84421 | 1244.4836 | 72180.05 | 8442 | 75979 | 1309.9828
| b) 4 inch | Nos. | 40 | 50 | 2100 | 1528.3 | 2100 | 2100 | 105000 | 12600 | 92400 | 7494 | 84906 | 1451.885 | 72594.25 | 8491 | 76415 | 1528.3
22P | C.I vent cowel for soil / waste pipe of the following diameter as specified. | [13 empty] | 0
| a) 3 inch | Nos. | 10 | 13 | 1800 | 1310 | 1800 | 1800 | 23400 | 2808 | 20592 | 1670 | 18922 | 1244.5 | 16178.5 | 1892 | 17030 | 1310
D. | RAIN WATER PIPING. Ref: Spec. No 5100 & 5180 | [13 empty] | 0
23P | uPVC rain water pipes conforming to ASTM D-1785 of Schedule 40 & fittings D-2465 of Schedule 40 including jointing with solvent cement confirming to ASTM D-2564 compatible with pipe of following diameter: | [13 empty] | 0
| a) 4 inch | R-Ft | 300 | 375 | 630 | 458.4933 | 630 | 630 | 236250 | 28350 | 207900 | 16861 | 191039 | 435.5687 | 163338.25 | 19104 | 171935 | 458.4933
| b) 6 inch | R-Ft | 50 | 63 | 950 | 691.381 | 950 | 950 | 59850 | 7182 | 52668 | 4271 | 48397 | 656.8119 | 41379.15 | 4840 | 43557 | 691.381
24P | Cast Iron pipe conforming to BS 416 of following diameter as specified. | [13 empty] | 0
| 3 inch | R-Ft | 25 | 31 | 1450 | 1055.2581 | 1450 | 1450 | 44950 | 5394 | 39556 | 3208 | 36348 | 1002.4952 | 31077.35 | 3635 | 32713 | 1055.2581
| 4 inch | R-Ft | 480 | 600 | 1750 | 1273.5967 | 1750 | 1750 | 1050000 | 126000 | 924000 | 74936 | 849064 | 1209.9168 | 725950.1 | 84906 | 764158 | 1273.5967
25P | Cast Iron roof drains side inlet type of the following diameter as specified and as shown in the drawing. | [13 empty] | 0
| 3 inch | Nos. | 1 | 1 | 15000 | 10916 | 15000 | 15000 | 15000 | 1800 | 13200 | 1071 | 12129 | 10370.2 | 10370.2 | 1213 | 10916 | 10916
| 4 inch | Nos. | 1 | 1 | 18000 | 13099 | 18000 | 18000 | 18000 | 2160 | 15840 | 1285 | 14555 | 12444.05 | 12444.05 | 1456 | 13099 | 13099
26P | Cast Iron roof drains dome type of the following diameter as specified and as shown in the drawing. | [13 empty] | 0
| 3 inch | Nos. | 6 | 8 | 20000 | 14555.375 | 20000 | 20000 | 160000 | 19200 | 140800 | 11419 | 129381 | 13827.6063 | 110620.85 | 12938 | 116443 | 14555.375
| 4 inch | Nos. | 1 | 1 | 25000 | 18194 | 25000 | 25000 | 25000 | 3000 | 22000 | 1784 | 20216 | 17284.3 | 17284.3 | 2022 | 18194 | 18194
27P | uPVC rain water shoes of following diameters | [13 empty] | 0
| a) 6 inch | Nos. | 1 | 1 | 12000 | 8734 | 12000 | 12000 | 12000 | 1440 | 10560 | 856 | 9704 | 8297.3 | 8297.3 | 970 | 8734 | 8734
| b) 4 inch | Nos. | 6 | 8 | 8700 | 6331.625 | 8700 | 8700 | 69600 | 8352 | 61248 | 4967 | 56281 | 6015.0437 | 48120.35 | 5628 | 50653 | 6331.625
E. | EXTERNAL WATER SUPPLY SYSTEM Ref: Spec. No. 5100,5225,5213 & 5180 | [13 empty] | 0
28P | Supply and installation of HDPE Pipes PE-100, (PN-16 & SDR-11) conforming to ISO-4427 : 1996 with fittings conforming to ISO-3458 including puddle flangesof following diametersas shown in drawings and as specified for filling OHWT. (O.D - Outer Diameter) | [13 empty] | 0
| a) Dia 3.54 inch (90 mm OD) | R-Ft | 400 | 500 | 1050 | 764.158 | 1050 | 1050 | 525000 | 63000 | 462000 | 37468 | 424532 | 725.9501 | 362975.05 | 42453 | 382079 | 764.158
29P | GI Pipes and fittings (Medium duty) of following diameters as specified (exposed piping on roof) | [13 empty] | 0
| a) Dia. 4 inch | R-Ft | 20 | 25 | 1720 | 1251.76 | 1720 | 1720 | 43000 | 5160 | 37840 | 3069 | 34771 | 1189.172 | 29729.3 | 3477 | 31294 | 1251.76
| b) Dia. 3 inch | R-Ft | 200 | 250 | 1440 | 1047.988 | 1440 | 1440 | 360000 | 43200 | 316800 | 25692 | 291108 | 995.5886 | 248897.15 | 29111 | 261997 | 1047.988
| c) Dia. 2-1/2 inch | R-Ft | 600 | 750 | 900 | 654.992 | 900 | 900 | 675000 | 81000 | 594000 | 48173 | 545827 | 622.2424 | 466681.8 | 54583 | 491244 | 654.992
| d) Dia. 2 inch | R-Ft | 450 | 563 | 687 | 499.9769 | 687 | 687 | 386781 | 46414 | 340367 | 27604 | 312763 | 474.9781 | 267412.65 | 31276 | 281487 | 499.9769
| e) Dia. 1-1/2 inch | R-Ft | 200 | 250 | 490 | 356.604 | 490 | 490 | 122500 | 14700 | 107800 | 8743 | 99057 | 338.7738 | 84693.45 | 9906 | 89151 | 356.604
| f) Dia. 3/4 inch | R-Ft | 80 | 100 | 330 | 240.16 | 330 | 330 | 33000 | 3960 | 29040 | 2355 | 26685 | 228.152 | 22815.2 | 2669 | 24016 | 240.16
30P | Gate Valve in chamber of following diameter as shown on the drawing and as specified. | [13 empty] | 0
| a) Dia. 3 inch | Nos. | 1 | 1 | 43000 | 31294 | 43000 | 43000 | 43000 | 5160 | 37840 | 3069 | 34771 | 29729.3 | 29729.3 | 3477 | 31294 | 31294
31P | Dia 2" G.I overflow pipe for over head tank | R-Ft | 10 | 13 | 687 | 500 | 687 | 687 | 8931 | 1072 | 7859 | 637 | 7222 | 475 | 6175 | 722 | 6500 | 500
32P | Cast iron cover with frame of following size (Light Duty) | [13 empty] | 0
| a) 2'-0" x 2'x0" | Nos. | 4 | 5 | 22000 | 16011 | 22000 | 22000 | 110000 | 13200 | 96800 | 7850 | 88950 | 15210.45 | 76052.25 | 8895 | 80055 | 16011
33P | G.I U-turn vent pipe of following diameter: | [13 empty] | 0
| a) Dia. 2 inch | Nos. | 4 | 5 | 6600 | 4803.2 | 6600 | 6600 | 33000 | 3960 | 29040 | 2355 | 26685 | 4563.04 | 22815.2 | 2669 | 24016 | 4803.2
34P | Galavanised M.S ladder rungs for roof tank as specified. | Nos. | 16 | 20 | 8000 | 5822.15 | 8000 | 8000 | 160000 | 19200 | 140800 | 11419 | 129381 | 5531.0425 | 110620.85 | 12938 | 116443 | 5822.15
F. | EXTERNAL SEWERAGE SYSTEM | [13 empty] | 0
| uPVC PIPE AND FITTINGS (SEWERAGE) Ref: Spec No. 5218 & 5180 | [13 empty] | 0
35P | uPVC drainage pipe & fittings conforming to BS 3505 & BS 4346 of Calss 'B' as specified (below ground) | [13 empty] | 0
| a) Dia 6 inch | R-Ft | 10 | 13 | 1450 | 1055.3077 | 1450 | 1450 | 18850 | 2262 | 16588 | 1345 | 15243 | 1002.5423 | 13033.05 | 1524 | 13719 | 1055.3077
| b) Dia 8 inch | R-Ft | 750 | 938 | 2188 | 1592.3582 | 2188 | 2188 | 2052344 | 246281 | 1806063 | 146472 | 1659591 | 1512.7403 | 1418950.4 | 165959 | 1493632 | 1592.3582
| c) Dia 10 inch | R-Ft | 75 | 94 | 4017 | 2923.4468 | 4017 | 4017 | 377598 | 45312 | 332286 | 26948 | 305338 | 2777.2745 | 261063.8 | 30534 | 274804 | 2923.4468
| d) Dia 12 inch | R-Ft | 100 | 125 | 5577 | 4058.768 | 5577 | 5577 | 697125 | 83655 | 613470 | 49752 | 563718 | 3855.8296 | 481978.7 | 56372 | 507346 | 4058.768
| Gully Trap Ref. Spec. No 5100 | [13 empty] | 0
36P | Chamber with Gully Trap of following size as shown on the drawing. | [13 empty] | 0
| a) 1'-6" x 1'-6" | Nos. | 11 | 14 | 30000 | 21833 | 30000 | 30000 | 420000 | 50400 | 369600 | 29975 | 339625 | 20741.35 | 290378.9 | 33963 | 305662 | 21833
| b) 2' x 2' | Nos. | 1 | 1 | 55000 | 40027 | 55000 | 55000 | 55000 | 6600 | 48400 | 3925 | 44475 | 38025.65 | 38025.65 | 4448 | 40027 | 40027
| MANHOLES Ref. Spec. No. 5225 & 5233 | [13 empty] | 0
37P | Manholes of following sizes comprising earthworks, plain cement concrete reinforced cement concrete, ladder rungs and C.I (Medium Duty) Cover with frame etc. Complete in all respect as shown on drawings. | [13 empty] | 0
| a) 3' x 3' | No | 18 | 23 | 80000 | 58221.5217 | 80000 | 80000 | 1840000 | 220800 | 1619200 | 131317 | 1487883 | 55310.4457 | 1272140.25 | 148788 | 1339095 | 58221.5217
| b) 2' x 2' | No | 1 | 1 | 65000 | 47305 | 65000 | 65000 | 65000 | 7800 | 57200 | 4639 | 52561 | 44939.75 | 44939.75 | 5256 | 47305 | 47305
| SERVICE CONNECTION Ref: Spec. No 5270 | [13 empty] | 0
38P | Service Connection with existing manhole complete in all respects and as approved by the Engineer. | No | 1 | 1 | 120000 | 87332 | 120000 | 120000 | 120000 | 14400 | 105600 | 8564 | 97036 | 82965.4 | 82965.4 | 9704 | 87332 | 87332
G. | FIRE FIGHTING Ref: Spec. No. 5150 & 5180 | [13 empty] | 0
39P | Foam 9 litre | Nos | 4 | 5 | 11900 | 8660.6 | 11900 | 11900 | 59500 | 7140 | 52360 | 4246 | 48114 | 8227.57 | 41137.85 | 4811 | 43303 | 8660.6
40P | Dry Chemical powder 6 Kg | Nos | 26 | 33 | 6900 | 5021.6061 | 6900 | 6900 | 227700 | 27324 | 200376 | 16250 | 184126 | 4770.5258 | 157427.35 | 18413 | 165713 | 5021.6061
41P | Carbon dioxide 5 kg | Nos | 2 | 3 | 14400 | 10480 | 14400 | 14400 | 43200 | 5184 | 38016 | 3083 | 34933 | 9956 | 29868 | 3493 | 31440 | 10480
42P | Seamless black steel pipe conforming to ASTM A-53 Schedule 40 and fittings conforming to BS - 534 of Following diameters as specified. | [13 empty] | 0
| a) Dia 4 inch | R-Ft | 112 | 140 | 2100 | 1528.3143 | 2100 | 2100 | 294000 | 35280 | 258720 | 20982 | 237738 | 1451.8986 | 203265.8 | 23774 | 213964 | 1528.3143
| b) Dia 3 inch | R-Ft | 310 | 388 | 1600 | 1208.0954 | 1660 | 1660 | 644080 | 77290 | 566790 | 45967 | 520823 | 1147.6906 | 445303.95 | 52082 | 468741 | 1208.0954
| c) Dia 2-1/2 inch | R-Ft | 700 | 875 | 1310 | 953.3771 | 1310 | 1310 | 1146250 | 137550 | 1008700 | 81806 | 926894 | 905.7083 | 792494.75 | 92689 | 834205 | 953.3771
43P | Fire Hose Cabinet including all accessories as shown on drawings and as specified. | Nos | 16 | 20 | 42500 | 30930.15 | 42500 | 42500 | 850000 | 102000 | 748000 | 60663 | 687337 | 29383.6425 | 587672.85 | 68734 | 618603 | 30930.15
H. | EXTERNAL FIRE FIGHTING SYSTEM Ref: Spec. No. 5150 & 5180 | [13 empty] | 0
44P | Seamless black steel pipe conforming to ASTM A-53 Schedule 40 and fittings conforming to BS - 534 of Following diameters as specified.(burried pipe wrapped with approved with anti corrosive tape) | [13 empty] | 0
| a) Dia 6 inch | R-Ft | 800 | 1000 | 3500 | 2547.191 | 3500 | 3500 | 3500000 | 420000 | 3080000 | 249788 | 2830212 | 2419.8314 | 2419831.45 | 283021 | 2547191 | 2547.191
45P | Cast Iron Gate Valve (PN-16) in chamber of following diameter as shown on the drawing and as specified | [13 empty] | 0
| a) Dia 6 inch | Nos. | 3 | 4 | 92202 | 67101.75 | 92202 | 92202 | 368808 | 44257 | 324551 | 26321 | 298230 | 63746.6625 | 254986.65 | 29823 | 268407 | 67101.75
46P | Siamese Connection as shown on the drawing and as specified | Nos. | 1 | 1 | 70000 | 50944 | 70000 | 70000 | 70000 | 8400 | 61600 | 4996 | 56604 | 48396.8 | 48396.8 | 5660 | 50944 | 50944
0
| Total Cost Of Plumbing Works Carried Over to Summary | [13 empty] | 0
| P.PLUMBING WORKS | [13 empty] | 0
| UNDERGROUND WATER TANK & PUMP ROOM | [13 empty] | 0
| MS PIPES & PIPE FITTINGS Ref. Spec. No. 5214 & 5280 | [13 empty] | 0
02b-1P | Supply and Installation of Seamless Black Steel pipe of Schedule 40 Grade B Conforming to ASTM - A53 with fittings conforming to ASTM A-234 including pipe supports as shown in the drawings and as specified (I.D - Internal Diameter) | [13 empty] | 0
| a) 6 in (I.D) | R.ft | 25 | 31 | 2270 | 2452.5806 | 3370 | 3370 | 104470 | 12536 | 91934 | 7456 | 84478 | 2329.9516 | 72228.5 | 8448 | 76030 | 2452.5806
| b) 4 in (I.D) | R.ft | 95 | 119 | 2100 | 1528.3109 | 2100 | 2100 | 249900 | 29988 | 219912 | 17835 | 202077 | 1451.8954 | 172775.55 | 20208 | 181869 | 1528.3109
| c) 2.5 in (I.D) | R.ft | 5 | 6 | 1310 | 953.3333 | 1310 | 1310 | 7860 | 943 | 6917 | 561 | 6356 | 905.6667 | 5434 | 636 | 5720 | 953.3333
| POLY ETHYLENE PIPES & PIPE FITTINGS Ref. Spec 5213 & 5280. | [13 empty] | 0
02b-2P | Supply and installation of HDPE Pipes PE-100 (PN-10 & SDR-17) Conforming to ISO - 4427:1996 with fittings conforming to ISO -3458 including puddle flanges of following diameters as shown in drawings and as specified. (O.D - Ouer Diameter) | [13 empty] | 0
| a) 6.29 in or 160mm (O.D) | R.ft | 100 | 125 | 1870 | 1360.928 | 1870 | 1870 | 233750 | 28050 | 205700 | 16682 | 189018 | 1292.8816 | 161610.2 | 18902 | 170116 | 1360.928
| VALVES AND APPURTENANCES Ref. Spec. No 5220 | [13 empty] | 0
02b-3P | Supply and installation of flanges ands Cast Iron Gate Valve of the following diameter as per BS 5154 or equivalent (PN-16) | [13 empty] | 0
| a) 6 in (I.D) | No. | 2 | 3 | 93202 | 67829.3333 | 93202 | 93202 | 279606 | 33553 | 246053 | 19955 | 226098 | 64437.8667 | 193313.6 | 22610 | 203488 | 67829.3333
| b) 4 in (I.D) | No. | 7 | 9 | 52900 | 38499 | 52900 | 52900 | 476100 | 57132 | 418968 | 33978 | 384990 | 36574.05 | 329166.45 | 38499 | 346491 | 38499
| c) 2.5 in (I.D) | No. | 1 | 1 | 31460 | 22896 | 31460 | 31460 | 31460 | 3775 | 27685 | 2245 | 25440 | 21751.2 | 21751.2 | 2544 | 22896 | 22896
02b-4P | Supply and installation of flanges ends Cast Iron Check Valve of the following diameter conforming to BS 5153 or equivalent (PN-16) | [13 empty] | 0
| a) 4 in (I.D) | No. | 5 | 6 | 58880 | 42851 | 58880 | 58880 | 353280 | 42394 | 310886 | 25213 | 285673 | 40708.45 | 244250.7 | 28567 | 257106 | 42851
| b) 2.5 in (I.D) | No. | 1 | 1 | 30240 | 22008 | 30240 | 30240 | 30240 | 3629 | 26611 | 2158 | 24453 | 20907.6 | 20907.6 | 2445 | 22008 | 22008
02b-5P | Supply and installation of surage relief valve of following diameter including all accessoris as shown in the drawings and as specified. | [13 empty] | 0
| a) 2 in (I.D) | No. | 1 | 1 | 22567 | 16423 | 22567 | 22567 | 22567 | 2708 | 19859 | 1611 | 18248 | 15601.85 | 15601.85 | 1825 | 16423 | 16423
02b-6P | Supply and installation of brass foot valve with strainer of following size as shown in the drawqings and as specified. | [13 empty] | 0
| a) 4 in (I.D) | No. | 3 | 4 | 4500 | 3274.75 | 4500 | 4500 | 18000 | 2160 | 15840 | 1285 | 14555 | 3111.0125 | 12444.05 | 1456 | 13099 | 3274.75
02b-7P | Supply and installation of float valve of copper alloy piston type conforming to BS 1212 including float shall be of copper conforming to BS 1968 including all accessories as shown in the drawingsand as specified. | [13 empty] | 0
| a) 6 in (I.D) | No. | 1 | 1 | 18000 | 1310 | 1800 | 1800 | 1800 | 216 | 1584 | 128 | 1456 | 1244.5 | 1244.5 | 146 | 1310 | 1310
02b-8P | Supply and installation of galvanized mild steel U-turned vent pipes with puddle flanges as shown in the drawings and as specified. | [13 empty] | 0
| a) 4 in (I.D) | No. | 8 | 10 | 8200 | 5967.7 | 8200 | 8200 | 82000 | 9840 | 72160 | 5852 | 66308 | 5669.315 | 56693.15 | 6631 | 59677 | 5967.7
| PUMPING MACHINERY AND ACCESSORIES Ref. Spec. No. 5240 | [13 empty] | 0
02b-9P | Supply & Insatalltion of Horizontal Centrifugal Pump and Motor of the following capacity and head including pressure gauges level switches and all accessories required to complete the job as shown in the drawings and as specified. | [13 empty] | 0
| Q = 125 US Gpm, H = 130 ft | No | 3 | 3 | 375000 | 272913.3333 | 375000 | 375000 | 1125000 | 135000 | 990000 | 80289 | 909711 | 259267.6667 | 777803 | 90971 | 818740 | 272913.3333
02b-10P | Supply & Installation Deep Well Turbine Pump and Motor of the Following capacity and head including pressure gauges, pressure switches and all accessories required to complete the job as shown in the drawings and as specified. | [13 empty] | 0
| Q = 200 US Gpm, H = 260 ft | No | 2 | 2 | 3400000 | 836934.5 | 1150000 | 1150000 | 2300000 | 276000 | 2024000 | 164146 | 1859854 | 795087.775 | 1590175.55 | 185985 | 1673869 | 836934.5
| Q = 50 US Gpm, H = 290 ft | No | 1 | 1 |  | 2561746 | 3520000 | 3520000 | 3520000 | 422400 | 3097600 | 251215 | 2846385 | 2433658.7 | 2433658.7 | 284639 | 2561746 | 2561746
02b-11P | Supply & Installation of Overhead Ganty with chain pulley of 2 Tonne capacity including all necessary fittings required to complete the job, as shown in the drawings and as specified. | No | 1 | 1 | 25000 | 18194 | 25000 | 25000 | 25000 | 3000 | 22000 | 1784 | 20216 | 17284.3 | 17284.3 | 2022 | 18194 | 18194
02b-12P | Supply and installaion of Flexible coupling of following sizes as shown on the drawings and as specified. | [13 empty] | 0
| a) 4 in (I.D) | No. | 3 | 4 | 32000 | 23288.5 | 32000 | 32000 | 128000 | 15360 | 112640 | 9135 | 103505 | 22124.075 | 88496.3 | 10351 | 93154 | 23288.5
02b-13P | Supply and installation of Water level indicator as shown in the Drawings and as specified. | No. | 1 | 1 | 72000 | 52400 | 72000 | 72000 | 72000 | 8640 | 63360 | 5138 | 58222 | 49780 | 49780 | 5822 | 52400 | 52400
02b-14P | Supply and installation of cast iron cover with frame of following sizes (Heavy Duty) | [13 empty] | 0
| a) 2ft x 2ft | No. | 4 | 5 | 19000 | 13827.6 | 19000 | 19000 | 95000 | 11400 | 83600 | 6780 | 76820 | 13136.22 | 65681.1 | 7682 | 69138 | 13827.6
Total Amount Rs | [14 empty] | 32015851.2