## Sheet1
Procurement Complience Sheet
Project: JS Bank The Forum, Karachi
S. No | Description | Brand
H V A C
1 | VRF System | Gree
2 | Refrigerant pipes | Approved Equal
3 | Refrigerant Pipe Insulation | Approved Equal
4 | UPVC Pipe | DADEX
5 | Electric Cables & Wires | Newage Cable
6 | Ventilation Fan | SASA
7 | G.I Sheet | Imported
8 | Air Devices | Steel Craft
9 | Concrete Fasteners & anchors | Approved Equal
10 | Paints | ICI (Pakistan)
11 | M.C.C & Perforated CABLE TRAY | Approved Equal
12 | Refrigerant Isolation Valve | -
13 | Duct EPDM insulation | Aeroflex (Thailand)
14 | Fire Extinguishers | NAFFCO
P L U M B I N G
1 | Water Closets | Europe type Porta-HD 427WH
2 | Geyser (If Applicable) | Nasgas
3 | Wall Canceled flush tank | Porta Model-G3004A
4 | Wash basin or Vanity | Wall Mounted Pedestal Porta-HDLP203AH
5 | Basin mixer | Zilver HD-100
6 | Toilet Shower | Zilver ts-102/TS-102-S
7 | CP Angle Valve | Zilver -GX7016
8 | Bib Cock | Zilver E-S09X
9 | Paper Holder | Zilver EQ-204C
10 | Liquid Soap Dispenser | Zilver –BQ5940B
11 | PPR Pipe & UPVC Pipe | DADEX
12 | Valve fitting | Ecocosto
13 | Floor drain & C.O.P | Kabal