## Table 2
THE KIDNEY CENTER
HVAC WORK 7th Floor, The Kidney Centre |  | 2022-10-19
SUMMARY OF BILL OF QUANTITIES
ITEM NO. | DESCRIPTION | TOTAL AMOUNT
1 | SCOPE OF HVAC WORK | 15305772.325
2 | ADDITIONAL COST (CIVIL WORK) | 2048000
| Sub Total Amount RS | 17353772.325
| Discount 2% | 347075.4465
| Discounted Amount RS | 17006696.8785
Note:
1) Mobilization Advance 25%
2) Other terms and conditions will be decided on mutual understanding.

## hvac
S.NO. | DESCRIPTION | Unit | QTY | MATERIAL |  | LABOUR |  | TOTAL
|  | UNIT |  | RATE | AMOUNT | RATE | AMOUNT | AMOUNT Rs.
All works shall be completed, tested and commissioned as per drawings, specifications and as per instruction of & approval of consultant.
1 | Unloading, rigging, lifting, installation, testing and commissioning of Air Handling Units of different capacities complete in all respects, ready to operate with supply and fixing of all accessories, including hanger steel base, vibration isolators, including interconnecting power & control wiring (terminations) with inlet & outlet chilled water connections, drain connection, flexible rubber duct connection etc. complete in all respects ready to operate as per schedule, specification, drawings and as per instruction of Consultant.
1.1 | AHU-01 | Nos. | 6 | 35000 | 210000 | 25000 | 150000 | 360000
2 | Supply & installation of valves & accessories for air handling units including supports, hangers, flanges, gas kits, nut & bolts etc. complete in all respects as per specifications, drawings and as per instructions of consultant.
2.1 | Butterfly Valve (Lever Type)
i. | 65mm dia | Nos. | 24 | 12000 | 288000 | 3000 | 72000 | 360000
2.2 | Strainers
i. | 65mm dia | Nos. | 6 | 16000 | 96000 | 3000 | 18000 | 114000
2.3 | Balancing Valve (with self sealing measuring nipples)
i. | 65mm dia | Nos. | 6 | 37000 | 222000 | 3000 | 18000 | 240000
2.4 | Thermometer 150mm Height Scale Type (with Thermo well) 0 ºC to 60 ºC | Nos. | 12 | 7000 | 84000 | 1000 | 12000 | 96000
2.5 | Pressure Gauge with with Ball Valve & Siphon, Liquid filled Dial type range -ve 5 psi to 100 psi. (100mm dial Size) | Nos. | 12 | 7000 | 84000 | 1000 | 12000 | 96000
2.6 | 2-Way Motorized Valve with Actuator (0-100% modulating)
i. | 50mm dia | Nos. | 6 | 90000 | 540000 | 10000 | 60000 | 600000
2.7 | Digital Decorative Thermostat Controller with Duct Sensor (BMS Interfacable) | Nos. | 6 | 15000 | 90000 | 2000 | 12000 | 102000
2.8 | Fan Control Panel with incoming Ckt. Breaker, auto S/D starter with protections and safeties | Nos. | 6 | 90000 | 540000 | 8000 | 48000 | 588000
2.9 | Control wiring from controller to sensors, motorized valve and Power wiring from FCP to fan, up to 5 meter radius | Lot | 6 | 12000 | 72000 | 2000 | 12000 | 84000
3 | Supply & installation of SCH-40 M.S.(As per ASME & API standard, Heavy Quality with standard SCH 40 wall thickness) pipes & fitting for chilled water circulation system complete with bends, tees, unions, sockets, specials, MS Pipe support, hangers & anchors, M.S. angle, U channel, Roller Support, bolts, rods, clamps, Concrete fasteners, civil work, etc as required to complete in all respects ready to operate as per specification, drawings and instruction of Consultant.
3.1 | 65mm dia | Rm | 60 | 5650 | 339000 | 1200 | 72000 | 411000
3.2 | 75mm dia | Rm | 5 | 7500 | 37500 | 1400 | 7000 | 44500
3.3 | 100mm dia | Rm | 5 | 11250 | 56250 | 1500 | 7500 | 63750
3.4 | 125mm dia | Rm | 5 | 13750 | 68750 | 1700 | 8500 | 77250
4 | Supply, Installation of Pre Formed Polyurethane (Bituminous Kraft Paper Facing) (50 kg/m3 density,) for External, Plant Room & Riser Chilled Water pipes, bends, tees, unions, sockets, valves and on specials, wrapped with 8 oz. Canvas Cloth than painted with Anti Fungus paint, complete in all respects as per schedule, specification, drawings and as per instruction of Consultant.
4.1 | 65mm dia | Rm | 60 | 2700 | 162000 | 400 | 24000 | 186000
4.2 | 75mm dia | Rm | 5 | 2900 | 14500 | 500 | 2500 | 17000
4.3 | 100mm dia | Rm | 5 | 3000 | 15000 | 550 | 2750 | 17750
4.4 | 125mm dia | Rm | 5 | 3200 | 16000 | 600 | 1950 | 17950
5 | Supply, fabrication and installation of 26 (SWG) gauge G.I cladding over pipe insulation in plant room & exposed to weather complete in all respects ready to operate as per specification, drawings and as per instruction of Consultant.
5.1 | 65mm dia | Rm | 60 | 1950 | 117000 | 600 | 36000 | 153000
5.2 | 75mm dia | Rm | 5 | 2200 | 11000 | 700 | 3500 | 14500
5.3 | 100mm dia | Rm | 5 | 2500 | 12500 | 800 | 4000 | 16500
5.4 | 125mm dia | Rm | 5 | 3000 | 15000 | 1000 | 5000 | 20000
6 | Supply, fabrication and installation of antimicrobial pre-insulated ductwork (internal area) of polyurethane foam panel with 52 Kg/m3 density, 20mm thickness, coated on both sides with 80 micron thick aluminum foil complete with a 2 g/m2 layer for internal duct work including manufacturer's aluminum hardware glue, Hot Dipped galvanized hangers and supports, flexible duct connection, wooden frame, civil work, etc. Complete in all respects ready to operate as per drawings, specification, instruction and approval of Consultant | Sqm | 505 | 7067.965 | 3569322.325 | 750 | 378750 | 3948072.325
| Supply, fabrication and installation of machine made G.I sheet metal duct (for exposed / external duct) different sections supply, return, fresh & exhaust air including plenums, splitter dampers, guide vanes, flexible duct connector, access door, transformation, plenums chambers, wooden frame, anchors supports & hangers, civil work complete in all respects ready to operate as per drawings, specification, instruction and approval of Consultant. | Sqm | 275 | 4000 | 1100000 | 700 | 192500 | 1292500
| Supply & installation of 50mm thick Pre Formed Polyurethane insulation (Bituminous Kraft Paper Facing, 50 kg/m3 density for external duct, exposed Supply & Return Air duct complete in all respects ready to operate as per drawings, specification, instruction and approval of Consultant | Sqm | 300 | 7350 | 2205000 | 900 | 270000 | 2475000
| Supply, Fabrication and installation of 26 SWG gauge painted G.I. cladding for external ducting etc. complete in all respects ready to operate as per drawings, specification, instruction and approval of Consultant. | Sqm | 300 | 3500 | 1050000 | 750 | 225000 | 1275000
10 | Supply and Installation of acoustical duct sound liner (aeroflex adhesive with aluminum facing 19mm thick) in supply air duct complete in all respects ready to operate as per specification, drawings and as per instruction of Consultant. | Sqm | 40 | 4900 | 196000 | 600 | 24000 | 220000
11 | Supply, Installation of Aluminum fabricated, powder coated Grills, Diffusers and Registers for supply air, return air, exhaust air & fresh air of different sizes (Grade A ) wooden frame, supports and other accessories etc. complete in all respects ready to operate as per specification, drawings and as per instruction of Consultant.
11.1 | Return Air Grills
i. | 400mm x 200mm | Nos. | 18 | 3500 | 63000 | 500 | 9000 | 72000
12 | Supply, fabrication & installation of pre-insulated Volume Control Damper (antimicrobial polyurethane sheet), blades to be constructed with extruded aluminum in airfoil shape with thermal isolation gape & shall have seals, pvc / aluminum profiles duct connection at both end etc. complete in all respects ready to operate as per drawings, specification, instruction and approval of Consultant.
12.1 | 350mm x 250mm | Nos. | 24 | 9000 | 216000 | 1000 | 24000 | 240000
13 | Supply & installation of allied electrical works for ACMV Systems including Motor Control Centre, MCCs complete in all respects including weather proof sheet metal cabinet, bus bars, internal wiring, earth strip, connector strip, MCB, MCCB, Control fuses, magnetic connector, Overload relay, indication lights, voltmeter, ammeter, under voltage, phase reversible, phase failure device, selector switch, related civil works etc. complete in all respects as per schedule, specifications, drawings & as per instructions of Consultant. | Job. | 1 | 750000 | 750000 | 35000 | 35000 | 785000
14 | Supply & installation of interconnecting wiring, control wiring, power wiring from MCC, DB, panel to HVAC equipment with isolation switches near the equipment, including civil works related to complete wiring works etc. complete in all respects as per schedule, specifications, drawings & as per instructions of Consultant | Lot | 1 | 550000 | 550000 | 100000 | 100000 | 650000
| Supply & installation of perforated cable trays made with 1.63mm SWG (16 Guage) painted G.I Sheet, including hanger, bracket, proper bends, cover of trays shall be made with 1.22mm SWG (18 guage) painted G.I sheet, complete in all respects, ready to operate as per schedule, specification, drawings and as per instruction of Consultant | Lot | 1 | 260000 | 260000 | 40000 | 40000 | 300000
Supply, Installation, testing and commissioning of G.I medium quality (Sch 40.) drain pipe insulated with 1/2" thick rubber foam insulation including clamps, bends, tees, drain plugs, sockets, protection treatment, PVC tape wrapping, hanger & supports, civil work etc, complete in all respects as per specifications, drawings & as per instructions of Consultant.
16.1 | 32mm dia | Rm | 50 | 780 | 39000 | 100 | 5000 | 44000
16.2 | 40mm dia | Rm | 20 | 950 | 19000 | 125 | 2500 | 21500
16.3 | 50mm dia | Rm | 10 | 1200 | 12000 | 150 | 1500 | 13500
17 | Painting & Identification work on chilled, cooling water pipes &
exhaust duct, supports, hangers etc. complete in all respects with
| one coat of ICI make Red lead oxide primer & two coats of ICI make enamel paint as per instruction of Consultant. | Job. | 1 | 40000 | 40000 | 60000 | 60000 | 100000
18 | Testing, balancing and commissioning of water side of the system
(from independent agency) complete in all respects including flow
measurement & balancing, temp, pressure, electrical data of related
| equipment etc. as per specifications and as per instructions of Consultant. | Job. | 1 | 0 | 0 | 60000 | 60000 | 60000
19 | Testing, balancing and commissioning of air side of the system
complete (from independent agency) in all respects including air
measurement & balancing, temp, pressure & electrical data of
| related equipment etc. as per specifications and as per instructions of Consultant. | Job. | 1 | 0 | 0 | 80000 | 80000 | 80000
20 | Making of Shop drawings on Auto CAD 2018 or latest version with
section details, equipment foundation details and making of as built
| drawings, Documentation Technical / Operational Manual & LOG Book for each equipment as per instruction of Consultant. | Job. | 1 | 0 | 0 | 50000 | 50000 | 50000
| Total Cost of Works Rs. |  |  |  | 13159822.325 |  | 2145950 | 15305772.325

## additional work
Quotation for Civil work
S.# | Description | Qty | Unit | Rate | Amount
1 | Supply and installation of reinforsed angle iron with related material (before core cutting in RCC slab) | 24 | Job | 12000 | 288000
2 | Supply / installation of CC block masonry water proofing, wooden framing etc complete in all respect to protect openings in building. | 24 | Job | 40000 | 960000
3 | Supply and installation of cement board 12mm with 2" x 2" ractangular pipe and related material complete in all respect | 520 | Sqft | 1000 | 520000
4 | Providing and fixing of Scaffolding for carry out the job. | 700 | Sqft | 400 | 280000
Total Amount Rs: |  |  |  |  | 2048000