## Fire
PS/OMI/057/07/22 | [6 empty] | 26 July 2022
Attn: Mr. Imtiaz Zaidi
Yahyawasi@omihospital.com
Quotation for HVAC work at Corridor area - OMI Hospital Saddar Karachi | [8 empty] | for accounts deal
S. # | Description | Unit | Qty | Material Rate | Labor Rate | Material Amount | Labor Amount
1 | Supply and installation of (12 TR) AHU with related fittings including inlet outlet connection | No | 1 | 575125 | 26875 | 575125 | 26875
2 | Supply and installation of (2TR) FCU for fresh air complete in all respect including inlet out connection | No | 1 | 159638 | 8278 | 159638 | 8278
3 | Supply and installation of cabinet type exhaust fan (600 CFM) | No | 1 | 53212.5 | 8277.5 | 53212.5 | 8277.5
4 | Supply and installation of ducting complete in all respect for supply and return air. | Job | 1 | 904612.5 | 94600 | 904612.5 | 94600
5 | Supply and installation of M.S pipe and fittings such as elbow, tee, reducer, etc complete in all respect for AHU and FCU. | Job | 1 | 82775 | 11825 | 82775 | 11825
6 | Supply and installation of flexible duct connector for AHU and FCU. | Rft | 56 | 709.5 | 236.5 | 39732 | 13244
7 | Supply and installation of Thermopore insulation over chilled water supply and return pipes for AHU and FCU | Job | 1 | 53212.5 | 5912.5 | 53212.5 | 5912.5
8 | Supply and installation of chilled water valves and fittings |  |  | 0 | 0 | 0 | 0
| i) Gate Valve 1-1/4" | Nos | 2 | 10051.25 | 827.75 | 20102.5 | 1655.5
| ii) Gate Valve 1" | Nos | 2 | 9105.25 | 827.75 | 18210.5 | 1655.5
| iii) Balancing valves 1-1/4" | Nos | 1 | 10642.5 | 827.75 | 10642.5 | 827.75
| iv) Balancing valves 1" | Nos | 1 | 5912.5 | 827.75 | 5912.5 | 827.75
| v) Strainer 1-1/4" | Nos | 1 | 10642.5 | 827.75 | 10642.5 | 827.75
| vi) Strainer 1" | Nos | 1 | 4138.75 | 827.75 | 4138.75 | 827.75
| vii) Motorized valves 1-1/4" | Nos | 1 | 41387.5 | 5912.5 | 41387.5 | 5912.5
| viii) Motorized valves 1" | Nos | 1 | 29562.5 | 5912.5 | 29562.5 | 5912.5
| ix) Temperature Gauge | Nos | 2 | 7686.25 | 827.75 | 15372.5 | 1655.5
| x) Pressure Gauge | Nos | 2 | 6503.75 | 591.25 | 13007.5 | 1182.5
9 | Supply and installation of air devices such as diffuser, grills, register, VCD etc complete in all respect. | Job | 1 | 206937.5 | 8277.5 | 206937.5 | 8277.5
10 | Supply and installation of condensate drain | Job | 1 | 17737.5 | 3547.5 | 17737.5 | 3547.5
11 | Supply and installation of electrical wiring upto 10 to 15ft radius and thermostat. | Job | 1 | 17737.5 | 5912.5 | 17737.5 | 5912.5 | 7.5% Tax included in the prices added by bilal bhai
12 | Supply and installation of VFD 2.5 KW (optional) with control wiring. | Job | 1 | 100512.5 | 3547.5 | 100512.5 | 3547.5
13 | Supply and installation of hangers and supports (AHU, FCU chilled water pipes and G.I sheet metal duct) | Job | 1 | 41387.5 | 5912.5 | 41387.5 | 5912.5
14 | Painting on piping network. | Job | 1 | 11825 | 3547.5 | 11825 | 3547.5
15 | Providing and making of shop / as built drawings | Job | 1 | 11825 | 5912.5 | 11825 | 5912.5
16 | Testing and commissioning | Job | 1 | 29562.5 | 5912.5 | 29562.5 | 5912.5 |  |  |  | 618975
Sub Total Amount Rs | [5 empty] | 2474811.75 | 232867 |  |  |  | 27853.875
SST 13% on labour | [5 empty] | 0 | 30272.71 |  |  |  | 591121.125
Grand Total Amount Rs | [5 empty] | 2737951.46 |  | MOB ADV 50%
Material
[8 empty] | Gross amount | 2737951.46 | 2737951
[7 empty] | 6054.542 | release 50% | 1368975.73 | 123207.795
[8 empty] | WH Tax 4.5% | 61603.9078 | 2614743.205
[8 empty] | net | 1307371.8221 | 1307372
Note: Ceiling work is not included in our scope | [8 empty] | 716250 | 1307371.205
[9 empty] | 591121.8221 | 716250
Terms & Conditions | [9 empty] | 591121.205
1) 50% Mobilization Advance | [7 empty] | 1368975.73
2) 30% After delivery of material. | [7 empty] | 61603.9078
3) 20% After completion of work. | [7 empty] | 1307371.8221
For PIONEER SERVICES
PIONEER SERVICES

## summary
SUMMARY OF PAYMENT
S.No | Description | Amount
1 | HVAC Work at OMI HOSPITAL | 2737951.46
| LESS ADV PAYMENT | 1307372
| Payable Amount | 1430579.46
| LESS ADV PAYMENT 12 Oct 22 | 716250
| Payable Amount | 714329.46