## Sheet1
PS/BM/012/03/22 | [6 empty] | 24 Mar 2022
M/S Dawat-e-Hadiyah,
Burhani Mahal, McIver Rd, Civil Lines, Karachi.
Attn: Mr. Mustafa Ali Safri
Quotation for rehabilitation of Fire Fighting System at Syedna Tahir Saifuddin Memorial Foundation, Karachi
S. # | Description | Qty | Unit | Material Rate | Labour Rate | Material Amount | Labour Amount
1 | System to be drain for replacement of Leaking / Corrosive elbow, flung, nut bolt, gasket etc from Fire's pump header / discharge line. | 1 | Job | 15000 | 18000 | 15000 | 18000
2 | Removal and repairing of Leaking fire hose from difference floors. | 2 | Nos | 0 | 8000 | 0 | 16000
3 | Removal of fire pumps, service and re-installation with 30 HP motor complete in all respect. | 2 | Nos | 95000 | 35000 | 190000 | 70000
4 | Supply and installation of pressure release valve 03" dia with related fittings complete in all respect for smooth operation. | 1 | No | 295000 | 10000 | 295000 | 10000
5 | Existing electric panels to be replace with new including controls with new logic. (for 30HP 02 Pumps & 5HP 01 Pump) | 1 | Job | 315000 | 25000 | 315000 | 25000 | 52000
6 | Existing Skid vibration isolator to be replace with new and fix properly (for fire pumps) | 1 | Job | 60000 | 40000 | 60000 | 40000 | 3.4667
7 | Pressure switches to be service and re-fix. | 3 | Nos | 0 | 2000 | 0 | 6000
8 | Supply and installation of M.S Pipe 03" dia with related fittings complete in all respect. | 20 | Rft | 2500 | 600 | 50000 | 12000
9 | Supply and installation of 3" dia Gate Valve. | 3 | Nos | 32000 | 5000 | 96000 | 15000
10 | Air vent to be replace with new at roof top. | 2 | Nos | 5000 | 1000 | 10000 | 2000
11 | Making of Provision for fire engine pump in-let outlet connection (for future) | 1 | Job | 15000 | 10000 | 15000 | 10000
12 | Supply and installation of oil filled pressure guage with stop cock. | 7 | Nos | 9000 | 2000 | 63000 | 14000
13 | Testing and commissioning of fire system. | 1 | Job | 0 | 25000 | 0 | 25000
Sub - total Amount Rs. | [5 empty] | 1109000 | 263000
SST 13% | [5 empty] | 0 | 34190
Total after SST | [5 empty] | 1109000 | 297190
Total Amount Rs. | [5 empty] | 1406190
For PIONEER SERVICES.
PIONEER SERVICES