## HVAC
Bill of Quantities
ACMV Works
Bank Al Habib (12th Floor) | [7 empty] | Rev.00
Centrepoint, Karachi | [6 empty] | Date: 08-12-2023
|  |  |  | Material |  | Labour |  | Total
Sr. No. | Description | Unit | Qty | Rate | Amount | Rate | Amount | Amount
All works shall be completed, tested and commissioned as per drawings, specifications and as per instruction of Consultant
1 | Unloading, installation, testing and commissioning of (Owner Supplied) of air handling & fan coil units of different capacities complete in all respects, ready to operate including supply and installation of all accessories, supports, hanger steel base, vibration isolators, including interconnecting power & control wiring (terminal connection) with inlet & outlet chilled water connections, drain connection, flexible rubber duct connection / connector etc. complete in all respects ready to operate as per schedule, specification, drawings and as per instruction of consultant.
| 12F-AHU-01 | Nos. | 2 | 47500 | 95000 | 57000 | 114000 | 209000 | 50000 | 60000 | 3000 | 57000
1.2 | 12F-DFCU-01 | No. | 1 | 7600 | 7600 | 4750 | 4750 | 12350 | 8000 | 5000 | 250 | 4750
2 | Supply & installation of valves & accessories for DFCUs, FAHU & FAHUs with supports, hangers, flanges, gas kits, nut & bolts where it required, etc. complete in all respects as per specifications, drawings and as per instructions of consultant. |  |  | 0 |  | 0 |  |  |  |  | 0 | 0
2.1 | Gate Valve |  |  | 0 |  | 0 |  |  |  |  | 0 | 0
i. | 25mm dia | Nos. | 4 | 7837.5 | 31350 | 950 | 3800 | 35150 | 8250 | 1000 | 50 | 950
ii. | 50mm dia | Nos. | 8 | 16625 | 133000 | 1900 | 15200 | 148200 | 17500 | 2000 | 100 | 1900
2.2 | Strainers |  |  | 0 |  | 0 |  |  |  |  | 0 | 0
i. | 25mm dia | No. | 1 | 7125 | 7125 | 950 | 950 | 8075 | 7500 | 1000 | 50 | 950
ii. | 50mm dia | Nos. | 2 | 16625 | 33250 | 1900 | 3800 | 37050 | 17500 | 2000 | 100 | 1900
2.3 | Balancing Valve (with self sealing measuring nipples) |  |  | 0 |  | 0 |  |  |  |  | 0 | 0
i. | 25mm dia | No. | 1 | 12825 | 12825 | 950 | 950 | 13775 | 13500 | 1000 | 50 | 950
ii. | 50mm dia | Nos. | 2 | 26125 | 52250 | 1900 | 3800 | 56050 | 27500 | 2000 | 100 | 1900
2.4 | Thermometer 150mm Height Scale Type (with Thermo well) 0 ºC to 60 ºC | Nos. | 6 | 6840 | 41040 | 475 | 2850 | 43890 | 7200 | 500 | 25 | 475
2.5 | Pressure Gauge with Ball Valve & Siphon, Liquid filled Dial type range 0 psi to 100 psi. (100mm dial Size) | Nos. | 6 | 9310 | 55860 | 950 | 5700 | 61560 | 9800 | 1000 | 50 | 950
2.6 | 2-Way Motorized Valve with Actuator (0-100% modulating) |  |  | 0 |  | 0 |  |  |  |  | 0 | 0
i. | 25mm dia | No. | 1 | 159600 | 159600 | 1900 | 1900 | 161500 | 168000 | 2000 | 100 | 1900
ii. | 40mm dia | Nos. | 2 | 195700 | 391400 | 1900 | 3800 | 395200 | 206000 | 2000 | 100 | 1900
2.7 | Digital Decorative Thermostat Controller (BMS Interfacable) with Duct Mounted Sensor | Nos. | 3 | 80750 | 242250 | 4750 | 14250 | 256500 | 85000 | 5000 | 250 | 4750
2.8 | Fan Control Panel with incoming Ckt. Breaker, DOL starter upto 5.5 kW and auto S/D starter above 5.5 kW with protections and safeties for AHUs only | Nos. | 2 | 223250 | 446500 | 4750 | 9500 | 456000 | 235000 | 5000 | 250 | 4750
2.9 | Control wiring from controller to sensors, motorized valve and Power wiring up to 5 meter radius | Job. | 3 | 9500 | 28500 | 7600 | 22800 | 51300 | 10000 | 8000 | 400 | 7600
3 | Supply & installation of SCH-40 M.S.(As per ASME & API standard, Heavy Quality with standard SCH 40 wall thickness) pipes & fitting for chilled water circulation system complete with bends, tees, unions, sockets, specials, support, hangers & anchors, M.S. angle, U channel, roller support, bolts, rods, clamps, concrete fasteners etc as required to complete in all respects ready to operate as per specification, drawings and as per instruction of consultant. |  |  | 0 |  | 0 |  |  |  |  | 0 | 0
3.1 | 25mm dia | Rm | 5 | 2850 | 14250 | 570 | 2850 | 17100 | 3000 | 600 | 30 | 570
3.2 | 32mm dia | Rm | 1 | 3990 | 3990 | 665 | 665 | 4655 | 4200 | 700 | 35 | 665
3.3 | 40mm dia | Rm | 1 | 4465 | 4465 | 760 | 760 | 5225 | 4700 | 800 | 40 | 760
3.4 | 50mm dia | Rm | 70 | 5890 | 412300 | 950 | 66500 | 478800 | 6200 | 1000 | 50 | 950
3.5 | 65mm dia | Rm | 15 | 8502.5 | 127537.5 | 1140 | 17100 | 144637.5 | 8950 | 1200 | 60 | 1140
4 | Supply & installation of aluminum foil facing fiber glass (24 kg/m3 density) insulation (on chilled water pipes) with aluminum threaded tape, protected with aluminum cladding, complete in all respects ready to operate as per specification, drawings and as per instruction of consultant. |  |  | 0 |  | 0 |  |  |  |  | 0 | 0
4.1 | 25mm dia | Rm | 5 | 2422.5 | 12112.5 | 570 | 2850 | 14962.5 | 2550 | 600 | 30 | 570
4.2 | 32mm dia | Rm | 1 | 2612.5 | 2612.5 | 665 | 665 | 3277.5 | 2750 | 700 | 35 | 665
4.3 | 40mm dia | Rm | 1 | 2755 | 2755 | 760 | 760 | 3515 | 2900 | 800 | 40 | 760
4.4 | 50mm dia | Rm | 70 | 3467.5 | 242725 | 950 | 66500 | 309225 | 3650 | 1000 | 50 | 950
4.5 | 60mm dia | Rm | 15 | 4322.5 | 64837.5 | 1140 | 17100 | 81937.5 | 4550 | 1200 | 60 | 1140
5 | Supply & istallation of uPVC (Sch 40.) drain pipe insulated with 10mm thick rubber foam insulation including clamps, bends, tees, drain plugs, sockets, protection treatment, PVC tape wrapping, supports & hangers complete in all respects as per specifications, drawings & as per instructions of consultant. |  |  | 0 |  | 0 |  |  |  |  | 0 | 0
5.1 | 25mm dia | Rm | 10 | 1567.5 | 15675 | 285 | 2850 | 18525 | 1650 | 300 | 15 | 285
5.2 | 32mm dia | Rm | 20 | 2280 | 45600 | 380 | 7600 | 53200 | 2400 | 400 | 20 | 380
6 | Supply, installation, testing and commissioning of Variable Frequency Drive (VFD) with controls & wiring complete in all respects as per specifications, drawings and as per instructions of consultant. |  |  | 0 |  | 0 |  |  |  |  | 0 | 0
6.1 | VFD-01 (4.5 kw approx) | Nos. | 2 | 394250 | 788500 | 14250 | 28500 | 817000 | 415000 | 15000 | 750 | 14250
7 | Supply, installation, testing and commissioning of of VAV Boxes as per mentioned in schedule with digital thermostat controller, pressure sensor, control wiring, including supply & installation of flexible duct connection / connector, power wiring upto 5 meter with connection, support & hangers complete in all respects ready to operate as per drawings, specification, instruction and approval of Consultant. |  |  | 0 |  | 0 |  |  |  |  | 0 | 0
7.1 | VAV-01 | Nos. | 2 | 133000 | 266000 | 4750 | 9500 | 275500 | 140000 | 5000 | 250 | 4750
7.2 | VAV-02 | No. | 1 | 133000 | 133000 | 4750 | 4750 | 137750 | 140000 | 5000 | 250 | 4750
7.3 | VAV-03 | No. | 1 | 133000 | 133000 | 4750 | 4750 | 137750 | 140000 | 5000 | 250 | 4750
7.4 | VAV-04 | No. | 1 | 133000 | 133000 | 4750 | 4750 | 137750 | 140000 | 5000 | 250 | 4750
7.5 | VAV-05 | No. | 1 | 133000 | 133000 | 4750 | 4750 | 137750 | 140000 | 5000 | 250 | 4750
7.6 | VAV-06 | Nos. | 2 | 133000 | 266000 | 4750 | 9500 | 275500 | 140000 | 5000 | 250 | 4750
7.7 | VAV-07 | No. | 1 | 133000 | 133000 | 4750 | 4750 | 137750 | 140000 | 5000 | 250 | 4750
7.8 | VAV-08 | No. | 1 | 133000 | 133000 | 4750 | 4750 | 137750 | 140000 | 5000 | 250 | 4750
7.9 | VAV-09 | No. | 1 | 133000 | 133000 | 4750 | 4750 | 137750 | 140000 | 5000 | 250 | 4750
7.1 | VAV-10 | No. | 1 | 133000 | 133000 | 4750 | 4750 | 137750 | 140000 | 5000 | 250 | 4750
7.11 | VAV-11 | No. | 1 | 133000 | 133000 | 4750 | 4750 | 137750 | 140000 | 5000 | 250 | 4750
8 | Supply, installation of ventilation fans including power wiring upto 5 meter with connection, support & hangers complete in all respects ready to operate as per drawings, specification and as per instruction of consultant. |  |  | 0 |  | 0 |  |  |  |  | 0 | 0
8.1 | TAF-01 | Nos. | 2 | 47082 | 94164 | 1900 | 3800 | 97964 | 49560 | 2000 | 100 | 1900
8.2 | TAF-02 | Nos. | 6 | 53808 | 322848 | 1900 | 11400 | 334248 | 56640 | 2000 | 100 | 1900
8.3 | TAF-03 | Nos. | 6 | 53808 | 322848 | 1900 | 11400 | 334248 | 56640 | 2000 | 100 | 1900
8.4 | TAF-04 | Nos. | 8 | 127794 | 1022352 | 1900 | 15200 | 1037552 | 134520 | 2000 | 100 | 1900
8.5 | TAF-05 | Nos. | 2 | 127794 | 255588 | 1900 | 3800 | 259388 | 134520 | 2000 | 100 | 1900
9 | Supply, fabrication and installation of machine made G.I sheet metal duct different sections supply, return, fresh & exhaust air including plenums, splitter dampers, guide vanes, flexible duct connector / connection, access door, transformation, plenums chambers, wooden frame, hangers, supports & anchors etc, complete in all respects ready to operate as per drawings, specification, instruction of consultant. | Sqm | 750 | 4512.5 | 3384375 | 760 | 570000 | 3954375 | 4750 | 800 | 40 | 760
10 | Supply & installation of adhesive 20mm thick 25kg/m3 density rubber foam (XLPE) insulation with aluminum foil (except toilet exhaust duct), complete in all respects ready to operate as per specification, drawings and as per instruction of consultant. | Sqm | 725 | 5795 | 4201375 | 522.5 | 378812.5 | 4580187.5 | 6100 | 550 | 27.5 | 522.5
11 | Supply & installation of acoustical duct sound liner adhesive 25kg/m3 density, 12mm thick in supply air duct complete in all respects ready to operate as per specification, drawings and as per instruction of consultant. | Sqm | 50 | 5462.5 | 273125 | 475 | 23750 | 296875 | 5750 | 500 | 25 | 475
12 | Supply, Installation of Aluminum fabricated, powder coated Grills, Diffusers and Registers for supply air, return air, exhaust air & fresh air of different sizes (Grade A ) wooden frame, supports and other accessories etc. complete in all respects ready to operate as per specification, drawings and as per instruction of consultant. |  |  | 0 |  | 0 |  |  |  |  | 0 | 0
12.1 | Supply, Return & Exhaust Air Register / Diffuser with Damper |  |  | 0 |  | 0 |  |  |  |  | 0 | 0
i. | 150mm x 100mm | Nos. | 7 | 1425 | 9975 | 475 | 3325 | 13300 | 1500 | 500 | 25 | 475
ii. | 300mm x 300mm | Nos. | 15 | 4275 | 64125 | 0 | 0 | 64125 | 4500 |  | 0 | 0
12.2 | Supply & Return Air Grill |  |  | 0 |  | 0 |  |  |  |  | 0 | 0
i. | 300mm x 250mm | No. | 1 | 4275 | 4275 | 475 | 475 | 4750 | 4500 | 500 | 25 | 475
ii. | 350mm x 250mm | No. | 1 | 4750 | 4750 | 475 | 475 | 5225 | 5000 | 500 | 25 | 475
12.3 | S.S Mesh with G.I Frame | Sqm | 3 | 2850 | 8550 | 950 | 2850 | 11400 | 3000 | 1000 | 50 | 950
12.3 | Linear Slots 6,000 Series |  |  | 0 |  | 0 |  |  |  |  | 0 | 0
i. | 2 Slots of 25mm | Rm | 100 | 5462.5 | 546250 | 475 | 47500 | 593750 | 5750 | 500 | 25 | 475
ii. | 3 Slots of 25mm | Rm | 15 | 5937.5 | 89062.5 | 570 | 8550 | 97612.5 | 6250 | 600 | 30 | 570
13 | Supply & installation of flexible duct including hangers, jubilee clamp complete in all respects as per specification, drawings & as per instruction of consultant. |  |  | 0 |  | 0 |  |  |  |  | 0 | 0
13.1 | 150mm | Rm | 110 | 427.5 | 47025 | 95 | 10450 | 57475 | 450 | 100 | 5 | 95
14 | Supply & installation of butterfly damper for above flexible duct with gas kits, nut bolts, complete in all respects, ready to operate as per specification, drawings & as per instruction of consultant. |  |  | 0 |  | 0 |  |  |  |  | 0 | 0
14.1 | 150mm | Nos. | 98 | 2327.5 | 228095 | 332.5 | 32585 | 260680 | 2450 | 350 | 17.5 | 332.5
15 | Supply & installation of Volume Control Damper in 16 SWG G.I sheet metal with gas kits, nut bolts, complete in all respects, ready to operate as per specification, drawings & as per instruction of Consultant. | Sqm | 3 | 4750 | 14250 | 950 | 2850 | 17100 | 5000 | 1000 | 50 | 950
16 | Supply & installation of Fire Damper with linkage & fuse complete in all respects ready to operate as per specification, drawings & as per instruction of Consultant. | Sqm | 1 | 5225 | 5225 | 950 | 950 | 6175 | 5500 | 1000 | 50 | 950
17 | Supply, installation, testing & commissioning of automatic control mechanism / system (logic based) of AHUs, DFCU, VAVs & TAFs, including controls, interlooping, BMS interfacable thermostat temperature sensors, timers, contactors, relays, communication protocols, input & output modules, interconnecting wiring, power wiring, panel box etc, complete in all respects ready to operate as per instruction of | Job. | 1 | 2137500 | 2137500 | 142500 | 142500 | 2280000 | 2250000 | 150000 | 7500 | 142500
| Supply & installation of BMS interfacable digital display HMI, addressable, wirelessly connected with wifi, communicate through mobile app / software remotely, including fault alarm / notification etc, complete in all respects ready to operate as per instruction of consultant. | Job. | 1 | 617500 | 617500 | 47500 | 47500 | 665000 | 650000 | 50000 | 2500 | 47500
18 | Supply, fabrication & installation of M.S platform for placement of AHUs (3x3 meter) with M.S checker plate, i-beam, L- brackets, C-channel, anchors, supports, red oxide enamel paint, etc. complete in all respects ready to operate as per drawings, specification, instruction of consultant. | Job. | 2 | 118750 | 237500 | 38000 | 76000 | 313500 | 125000 | 40000 | 2000 | 38000
19 | Testing, balancing and commissioning of water & air side of the system (from independent agency) complete in all respects including flow measurement & balancing, temp, pressure, electrical data of related equipment etc. as per specifications and as per instructions of Consultant | Job. | 1 | 0 | 0 | 95000 | 95000 | 95000 | 0 | 100000 | 5000 | 95000
20 | Painting & Identification work on pipes & duct, supports, hangers etc. complete in all respects with one coat of ICI make Red lead oxide primer & two coats of ICI make enamel paint as per instruction of Consultant. | Job. | 1 | 23750 | 23750 | 23750 | 23750 | 47500 | 25000 | 25000 | 1250 | 23750
21 | Making of Shop drawings on Auto CAD (latest version) with section details, equipment foundation details and Making of As Built drawings, Documentation Technical / Operational Manual & LOG Book for each equipment complete in all respects ready to operate as per specification, drawings and as per instruction of Consultant. | Job. | 1 | 9500 | 9500 | 14250 | 14250 | 23750 | 10000 | 15000 | 750 | 14250
| Total Cost of Works (with I.Tax) Rs. |  |  |  | 19127917.5 |  | 2011672.5 | 21139590
Note:
1056979.5
20082610.5