## Sheet1
M/S Shan Controls | [5 empty] | 2024-11-19
PO # 189
Att: Mr. Imran
PURCHASE ORDER
AHUs Auto Controls system for the project (J outlet lucky one mall karachi)
S No. | D e s c r i p t i o n | Model | Qty | Unit | Rate | Amount
BIS THAILAND
Controls For AHU's (04 No's)
1 | Stainless Steel Well 6 " (Local) | SS-01 | 8 | Nos | 3000 | 24000
2 | Duct Temp. sensor, Ni1000, 8" Probe | TE-6311M-1 | 8 | Nos | 7745 | 61960
3 | Diff pressure switch, 1.4-10 mbar (Fan status) | P233A-10-AKC | 4 | Nos | 15000 | 60000
4 | Diff pressure switch, 0.5-4 mbar (Pre Filter status) | P233A-4-AKC | 4 | Nos | 15000 | 60000
5 | 2 way valve body Brass, 0.75" BSP w/ 4Nm analog actuator | VG1205BL+5A4GGA | 4 | Nos | 77743 | 310972
6 | Firestat w/ manual reset, 11", SPST, 100-250F | TC-100-1A-3C | 4 | Nos | 41558 | 166232
| DDC Controller |  |  |  |  | 0
1 | BACnet Controller, 10UI, 6BI, 4AO, 4BO, 4CO IP | MS-FAC4911-0 | 4 | Nos | 180000 | 720000
2 | Pre-wired Control Panel with Complete Accessories | CP-02 | 4 | Nos | 30000 | 120000
0
| Hand Held Display |  |  |  |  | 0
1 | Remote display for FAC Controllers | MS-DIS1710-0 | 1 | Nos | 94316 | 94316
| Programming, Testing & Commissioning |  | 1 | Job | 50000 | 50000
|  |  | TOTAL: |  |  | 1667480
Discount | [5 empty] | 17480
Total amount | [5 empty] | 1650000
Terms & Conditions
1) Price is valid only for 60 Days
2) 50% advacnce & balance before delivery or option-2 Balance material against balance material delivered against 30 to 40 days PDC.
3) 5 Lacs old outstanding amount settelled with advance.
4) GST Invoice issue after 3 months
5) Above price discount at @ 8% agreed.
Note: Above PO is subject to approval from the consultant.
for PIONEER ENGINEERING SERVICES