## Table 1
|  |  |  | Material |  | Labour |  | Total
S.No. | Description | Unit | Qty | Rate | Amount | Rate | Amount | Amount Rs.
All works shall be completed, tested and commissioned as per
drawings, specifications and as per instruction of consultant
1 | Installation, testing & commissioning of electric screw chiller,
complete in all respects, ready to operate with supply and fixing of all
accessories including interconnecting wiring, control wiring, power
wiring (terminal connection), pipe inlet outlet connections, etc.
complete in all respects ready to operate as per schedule,
specification, drawings and as per instruction of consultant.
1.1 | CH - 01 | Nos. | 2
2 | Installation, testing & commissioning of cooling tower complete in all
respects, ready to operate with supply and fixing of all accessories
including interconnecting wiring, control wiring, power wiring
(terminal connection), pipes inlet outlet connections etc. complete in
all respects ready to operate as per schedule, specification,
drawings and as per instruction of consultant.
2.1 | CT - 01 | Nos. | 2
3 | Unloading, rigging, lifting, installation, testing and commissioning of | [5 empty] | 0
air handling units of different capacities complete in all respects,
ready to operate with supply and fixing of all accessories, including
hanger steel base, vibration isolators, including interconnecting
power & control wiring (terminal connection) with inlet & outlet
chilled water connections, drain connection, flexible rubber duct
connection / connector etc. complete in all respects ready to operate
as per schedule, specification, drawings and as per instruction of
consultant.
3.1 | AHU-01 | Nos. | 7
3.2 | FAHU-01 | Nos. | 6 |  |  |  | 0
4 | Unloading, rigging, lifting, installation, testing and commissioning of
fan coil units (FCUs & DFCUs) of different capacities complete in all
respects, ready to operate with supply and fixing of all accessories,
including hanger steel base, vibration isolators, including
interconnecting power & control wiring ( (terminal connection) with
inlet & outlet chilled water connections, drain connection, flexible
rubber duct connection / connector etc. complete in all respects
ready to operate as per schedule, specification, drawings and as per
instruction of consultant.
4.1 | CSU-01 | Nos. | 5 |  |  |  | 0
4.2 | CSU-02 | Nos. | 4 |  |  |  | 0
4.3 | CSU-03 | Nos. | 4 |  |  |  | 0
4.4 | DFCU-01 | Nos. | 8 |  |  |  | 0
4.5 | DFCU-02 | Nos. | 57 |  |  |  | 0
4.6 | DFCU-03 | Nos. | 3 |  |  |  | 0
5 | Supply & installation of valves & accessories of chillers with |  |  |  |  | 4200 | 16800
supports, hangers, flanges, gas kits, nut & bolts etc. complete in all
respects as per specifications, drawings and as per instructions of
consultant.
5.1 | Butterfly Valve (Gear Operated)
i. | 6" dia | Nos. | 4
ii. | 8" dia | Nos. | 4 |  |  | 5600 | 22400
5.2 | Flexible Connectors |  |  |  |  | 3000 | 12000
i. | 6" dia | Nos. | 4
ii. | 8" dia | Nos. | 4 |  |  | 4000 | 16000
5.3 | Check Valve |  |  |  |  | 4200 | 8400
i. | 6" dia | Nos. | 2
ii. | 8" dia | Nos. | 2 |  |  | 5600 | 11200
5.4 | Balancing Valve (with self sealing measuring nipples) |  |  |  |  | 4200 | 8400
i. | 6" dia | Nos. | 2
ii. | 8" dia | Nos. | 2 |  |  | 5600 | 11200
5.5 | 2-Way Motorized Butterfly Valve with Actuator & controls |  |  |  |  | 4200 | 8400
i. | 6" dia | Nos. | 2
ii. | 8" dia | Nos. | 2 |  |  | 5600 | 11200
5.6 | Thermometer 12" Height Scale Type (with Thermo well) 0 ºC to 60 ºC | Nos. | 8 |  |  | 600 | 4800
5.7 | Pressure Gauge with Ball Valve & Siphon, Liquid filled Dial type range 0 psi to 100 psi. (4" dial Size) | Nos. | 8 |  |  | 600 | 4800
5.8 | Air Vent with Ball Valve | Nos. | 2 |  |  | 500 | 1000
5.9 | Flow Switch | Nos. | 4 |  |  | 1000 | 4000
6 | Supply & installation of valves & accessories of cooling towers with |  |  |  |  | 2800
supports, hangers, flanges, gas kits, nut & bolts etc. complete in all
respects as per specifications, drawings and as per instructions of
consultant.
6.1 | Butterfly Valve (Gear Operated)
i. | 4" dia | Nos. | Rate only
ii. | 5" dia | Nos. | Rate only |  |  | 3500
iii. | 6" dia | Nos. | 12 |  |  | 4200 | 50400
iv. | 8" dia | Nos. | 2 |  |  | 5600 | 11200
6.2 | 2-Way Motorized Butterfly Valve with Actuator & controls |  |  |  |  | 8000
i. | 8" dia | No. | 1
6.3 | Air Vent with Ball Valve | Nos. | 2 |  |  | 500 | 1000
6.4 | Ball Valve |  |  |  |  | 875 | 3500
i. | 1.25" dia (Make up) | Nos. | 4
ii. | 1.5" dia | Nos. | Rate only |  |  | 1050 | 0
iii. | 2" dia (Quick Fill & Overflow / Drain) | Nos. | 8 |  |  | 1400 | 11200
7 | Supply & installation of valves & accessories for AHUs, complete in all respects as per specifications, drawings and as per instructions of consultant. |  |  |  |  | 1050 | 54600
7.1 | Ball Valve
i. | 1.5" dia | Nos. | 52
ii. | 2" dia | Nos. | Rate only |  |  | 1400 | 0
7.2 | Strainers |  |  |  |  | 1050 | 13650
i. | 1.5" dia | Nos. | 13
ii. | 2" dia | Nos. | Rate only |  |  | 1400 | 0
7.3 | Balancing Valve (with self sealing measuring nipples) |  |  |  |  | 1050 | 13650
i. | 1.5" dia | Nos. | 13
ii. | 2" dia | Nos. | Rate only |  |  | 1400 | 0
7.4 | Thermometer 6" Height Scale Type (with Thermo well) 0 ºC to 60 ºC | Nos. | 26 |  |  | 600 | 15600
7.5 | Pressure Gauge with Ball Valve & Siphon, Liquid filled Dial type range 0 psi to 100 psi. (4" dial Size) | Nos. | 26 |  |  | 600 | 15600
7.6 | 2-Way Motorized Valve with Actuator (0-100% modulating) |  |  |  |  | 875 | 11375
i. | 1.25" dia | Nos. | 13
ii. | 1.5" dia | Nos. | Rate only |  |  | 1050 | 0
7.7 | Digital Decorative Thermostat Controller (BMS Interfacable) with Duct Mounted Sensor | Nos. | 13 |  |  | N/Q
6.9 | Fan Control Panel with incoming Ckt. Breaker, DOL starter for upto 5.5 kW and auto S/D Starter for above 5.5 kW with protections and safeties | Nos. | 13 |  |  | N/Q
6.91 | Control wiring from controller to sensors, motorized valve and Power wiring from FCP to fan, up to 15' radius | Jobs | 13 |  |  | N/Q
8 | Supply & installation of valves & accessories for DFCUs, complete |  |  |  |  | 700 | 226800
in all respects as per specifications, drawings and as per instructions
of consultant.
8.1 | Ball Valve
i. | 1" dia | Nos. | 324
ii. | 1.25" dia | Nos. | Rate only |  |  | 875 | 0
8.2 | Strainers |  |  |  |  | 700 | 56700
i. | 1" dia | Nos. | 81
ii. | 1.25" dia | Nos. | Rate only |  |  | 875 | 0
8.3 | Balancing Valve (with self sealing measuring nipples) |  |  |  |  | 700 | 56700
i. | 1" dia | Nos. | 81
ii. | 1.25" dia | Nos. | Rate only |  |  | 875
8.4 | Thermometer 6" Height Scale Type (with Thermo well) 0 ºC to 60 ºC | Nos. | Rate Only |  |  | 600
8.5 | Pressure Gauge with Ball Valve & Siphon, Liquid filled Dial type range 0 psi to 100 psi. (4" dial Size) | Nos. | Rate Only |  |  | 600
8.6 | 2-Way Motorized Valve with Actuator (0-100% modulating) |  |  |  |  | 1000 | 81000
i. | 1" dia | Nos. | 81
8.7 | Digital Decorative Thermostat Controller (BMS Interfacable) with Duct Mounted Sensor | Nos. | 81 |  |  | N/Q
8.8 | Control wiring from controller to sensors, motorized valve and Power wiring up to 15' radius | Jobs | 81 |  |  | N/Q
9 | Supply & installation of valves & accessories for chilled water riser |  |  |  |  | 1750 | 7000
circuit with supports, hangers, flanges, gas kits, nut & bolts where it
required, etc. complete in all respects as per specifications,
drawings and as per instructions of consultant.
9.1 | Butterfly Valve (Lever Type)
i. | 2.5" dia | Nos. | 4
9.2 | Butterfly Valve (Gear Operated) |  |  |  |  | 2800 | 44800
ii. | 4" dia | Nos. | 16
9.3 | Balancing Valve (with self sealing measuring nipples) |  |  |  |  | 1750 | 1750
i. | 2.5" dia | No. | 1
ii. | 4" dia | Nos. | 3 |  |  | 2800 | 8400
9.4 | Strainers |  |  |  |  | 1750 | 1750
i. | 2.5" dia | No. | 1
ii. | 4" dia | Nos. | 3 |  |  | 2800 | 8400
9.5 | Check Valve |  |  |  |  | 1750 | 1750
i. | 2.5" dia | No. | 1
ii. | 4" dia | Nos. | 3 |  |  | 2800 | 8400
9.6 | Ball Valve for Drainage |  |  |  |  | 875 | 1750
i. | 1.25" dia | Nos. | 2
ii. | 2" dia | Nos. | 6 |  |  | 1400 | 8400
9.7 | Air vent with Ball Valve | Nos. | 4 |  |  | 500 | 2000
9.8 | Thermometer 6" Height Scale Type (with Thermo well) 0 ºC to 60 ºC | Nos. | 8 |  |  | 600 | 4800
9.9 | Pressure Gauge with Ball Valve & Siphon, Liquid filled Dial type range 0 psi to 100 psi. (4" dial Size) | Nos. | 8 |  |  | 600 | 4800
10 | Unloading, rigging, lifting, installation, testing and commissioning of
water circulation pumps of different capacities including R.C.C. base
(provided by client), making of Inertia Block (by ACMV Contractor),
fixing of industrial grade spring vibration isolators (supplied with
pumps), interconnecting wiring, control wiring, power wiring (terminal
connection), inlet & outlet pipe connections, drain connection etc.
complete in all respects ready to operate as per schedule,
specification, drawings and as per instruction of Consultant.
10.1 | CHP- 01 | Nos. | 3 |  |  | 10000 | 30000
10.2 | CWP- 01 | Nos. | 3 |  |  | 10000 | 30000
11 | Supply & installation of valves & accessories for pumps with
supports, hangers, flanges, gas kits, nut & bolts where it required,
etc. complete in all respects as per specifications, drawings and as
per instructions of consultant.
11.1 | Flexible rubber connectors
a) | Single Bellow
i. | 6" dia | Nos. | 3 |  |  | 3600 | 10800
ii. | 8" dia | Nos. | 3 |  |  | 4800 | 14400
b) | Double Bellow
i. | 6" dia | Nos. | 3 |  |  | 3600 | 10800
ii. | 8" dia | Nos. | 3 |  |  | 4800 | 14400
11.2 | Butterfly Valve (Gear Operated)
i. | 6" dia | Nos. | 6 |  |  | 4200 | 25200
ii. | 8" dia | Nos. | 6 |  |  | 5600 | 33600
11.3 | Check Valve
i. | 6" dia | Nos. | 3 |  |  | 4200 | 12600
ii. | 8" dia | Nos. | 3 |  |  | 5600 | 16800
11.4 | Automatic Air Vent with Ball valve | Nos. | 2 |  |  | 500 | 1000
11.5 | Compound Pressure Gauge with Ball Valves, Liquid filled Dial type
i. | Range -ve 5 psi to 100 psi. | Nos. | 6 |  |  | 600 | 3600
ii. | Range 0 psi to 100 psi. | Nos. | 6 |  |  | 600 | 3600
12 | Supply, installation, testing and commissioning of Variable
Frequency Drive (VFD) for Pumps with controls & control wiring
complete in all respects as per specifications, drawings and as per
instructions of consultant.
12.1 | VFD-01 (for CHP-01) | Nos. | 3 |  |  | N/Q | N/Q
13 | Supply & installation of SCH-40 M.S.(As per ASME & API standard,
Heavy Quality with standard SCH 40 wall thickness) pipes & fitting
for water circulation system complete with bends, tees, unions,
sockets, specials, MS Pipe support, hangers & anchors, M.S. angle,
U channel, roller support, bolts, rods, clamps, concrete fasteners etc
as required to complete in all respects ready to operate as per
specification, drawings and as per instruction of consultant.
A | Cooling Water
13.1 | 4" dia | Rft | Rate only |  |  | 395 | 0
13.2 | 5" dia | Rft | Rate only |  |  | 435 | 0
13.3 | 6" dia | Rft | 90 |  |  | 570 | 51300
13.4 | 8" dia | Rft | 80 |  |  | 685 | 54800
13.5 | 10" Dia | Rft | 250 |  |  | 890 | 222500
13.6 | 12" Dia | Rft | Rate only |  |  | 1160 | 0
B | Chilled Water
13.5 | 1" dia | Rft | 1830 |  |  | 205 | 375150
13.6 | 1.25" dia | Rft | 340 |  |  | 215 | 73100
13.7 | 1.5" dia | Rft | 330 |  |  | 225 | 74250
13.8 | 2" dia | Rft | 360 |  |  | 300 | 108000
13.9 | 2.5" dia | Rft | 850 |  |  | 315 | 267750
13.1 | 3" dia | Rft | 410 |  |  | 340 | 139400
13.11 | 4" dia | Rft | 130 |  |  | 395 | 51350
13.12 | 5" dia | Rft | 70 |  |  | 435 | 30450
13.13 | 6" dia | Rft | 135 |  |  | 570 | 76950
13.14 | 8" Dia | Rft | 285 |  |  | 685 | 195225
13.15 | 10" Dia | Rft | Rate only |  |  | 890 | 0
13.16 | 12" Dia | Rft | Rate only |  |  | 1160 | 0
14 | Supply, Installation of Pre Formed Polystyrene (Thermopore)
insulation (32 kg/m3 density) for internal chilled water pipes, bends,
tees, unions, sockets, valves and on specials protected with Kraft
paper, wrapped with 8oz Canvas cloth than paint with Anti fungus
paint complete in all respects ready to operate as per schedule,
specification, drawings and as per instruction of Consultant.
Chilled Water internal area
14.1 | 1" dia | Rft | 1830 |  |  | 205 | 375150
14.2 | 1.25" dia | Rft | 340 |  |  | 215 | 73100
14.3 | 1.5" dia | Rft | 330 |  |  | 225 | 74250
14.4 | 2" dia | Rft | 360 |  |  | 300 | 108000
14.5 | 2.5" dia | Rft | 850 |  |  | 315 | 267750
14.6 | 3" dia | Rft | 410 |  |  | 340 | 139400
14.7 | 4" dia | Rft | 100 |  |  | 395 | 39500
14.8 | 5" dia | Rft | 70 |  |  | 435 | 30450
14.9 | 6" dia | Rft | Rate only |  |  | 570 | 0
14.1 | 8" Dia | Rft | Rate only |  |  | 685 | 0
14.11 | 10" Dia | Rft | Rate only |  |  | 890 | 0
14.12 | 12" Dia | Rft | Rate only |  |  | 1160 | 0
15 | Supply & installation of Pre Formed Polyurethane (Bituminous Kraft
Paper Facing) (50 kg/m3 density) for chilled water pipes exposed to
weather area with fittings, bends, tees, unions, sockets, valves &
accessories and on specials complete in all respects as per
schedule, specification, drawings and as per instruction of
Consultant.
Chilled Water exposed to weather area & plantroom
15.1 | 4" dia | Rft | 30 |  |  | 275 | 8250
15.2 | 5" dia | Rft | Rate only |  |  | 305 | 0
15.3 | 6" dia | Rft | 135 |  |  | 330 | 44550
15.4 | 8" Dia | Rft | 285 |  |  | 385 | 109725
15.5 | 10" Dia | Rft | Rate only |  |  | 440 | 0
15.6 | 12" Dia | Rft | Rate only |  |  | 490 | 0
16 | Supply, fabrication and installation of 26 (SWG) gauge G.I cladding
over chilled water pipes insulation complete in all respects ready to
operate as per specification, drawings and as per instruction of
consultant.
16.1 | 4" dia | Rft | 30 |  |  | 330 | 9900
16.2 | 5" dia | Rft | Rate only |  |  | 360 | 0
16.3 | 6" dia | Rft | 135 |  |  | 395 | 53325
16.4 | 8" Dia | Rft | 285 |  |  | 460 | 131100
16.5 | 10" Dia | Rft | Rate only |  |  | 526 | 0
16.6 | 12" Dia | Rft | Rate only |  |  | 590 | 0
17 | Supply & installation single split air conditioning units decorative type
(inverter) of different capacities, including supply & installation of
supports, brackets, rubber isolator, flashing, power wiring (upto 15 ft
+ connection), complete in all respects ready to operate as per
drawings, specification & as per instruction of consultant.
17.1 | GF-AC-01 | Nos. | 2
17.2 | 1F-AC-01 | Nos. | 1
17.3 | 2F-AC-02 | Nos. | 1
17.4 | 4F-AC-01 | Nos. | 2
17.5 | 4F-AC-02 | Nos. | 1
17.6 | 5F-AC-02 | Nos. | 1
18 | Supply & installation of refrigerant pipes (liquid + gas) with 1/2" thick
expended rubber foam insulation, PVC tape wrapping + control
wiring in G.I. for external / PVC for internal from outdoor unit to
indoor unit, including gas charging if required complete in all
respects ready to operate as per drawings, specification & as per
instruction of consultant.
18.1 | GF-AC-01 | Rft | 100
18.2 | 1F-AC-01 | Rft | 85
18.3 | 2F-AC-02 | Rft | 70
18.4 | 4F-AC-01 | Rft | 65
18.5 | 4F-AC-02 | Rft | 25
18.6 | 5F-AC-02 | Rft | 10
19 | Supply & installation of 18 SWG powder quoted G.I. sheet metal tray with cover for refrigerant pipes and control wiring exposed to weather area etc, complete in all respects including hangers, supports brackets complete in all respects ready to operate as per specification, drawings and as per instruction of consultant. | Sqft | 200
20 | Supply & installation of air curtains including, supports, electrical
connection etc, complete in all respects ready to operate as per
drawings, specification & as per instruction of consultant.
20.1 | 3 Feet Length | Nos. | 3
20.2 | 4 Feet Length | No. | 1
21 | Unloading, rigging, lifting, placement, installation, testing and
commissioning of Ventilation & Smoke Extraction Fans as per
mentioned in schedule, including supply & installation of vibration
isolator, power wiring from isolation box to unit (10' to 15' radius),
flexible duct connection / connector, support & hangers complete in
all respects ready to operate as per drawings, specification and as
per instruction of consultant.
21.1 | GF-K-EAF-01 | No. | 1
21.2 | GF-K-EAF-02 | No. | 1
21.3 | GF-EAF-01 | No. | 1
21.4 | GF-EAF-02 | No. | 1
21.5 | GF-FAF-01 | No. | 1
21.6 | GF-FAF-02 | No. | 1
21.7 | 4F-EAF-01 | No. | 1
21.8 | 4F-EAF-02 | No. | 1
21.9 | 4F-EAF-03 | No. | 1
21.1 | 4F-FAF-01 | No. | 1
21.11 | 5F-EAF-01 | Nos. | 2
21.12 | BF-SEF-01 | Nos. | 2
21.13 | BF-SEF-02 | No. | 1
21.14 | GF-SEF-01 | Nos. | 2
21.15 | 1F-SEF-01 | Nos. | 4
21.16 | 4F-SEF-01 | Nos. | 2
22 | Supply, fabrication and installation of M.S sheet metal welded duct of 2.0 mm (16 Gauge) thickness for kitchen exhasut duct, complete in all respects including 300x150 access doors at all changes in direction, transformation, plenums chambers, connection pecs of hood round to square, supports & hangers etc. complete in all respects ready to operate as per drawings, specification, instruction and approval of Consultant.. | Sqft | 1600
23 | Supply, fabrication and installation of 2" thick rockwool (double layar) insulation of 50kg/m3 density with wire mesh reinforcement over M.S sheet metal ducts of kitchen exhaust air, complete in all respects ready to operate as per drawings, specification, instruction and approval of Consultant. | Sqft | 1750
24 | Supply, Fabrication and installation of 26 SWG gauge G.I. cladding for over rockwool insulation etc. complete in all respects ready to operate as per drawings, specification, instruction of consultant. | Sqft | 1750
25 | Supply, fabrication and installation of pre-insulated ductwork of
polyurethane foam panel with 52 Kg/m3 density, 20 mm thickness,
coated on both sides with 80 micron thick aluminum foil complete
with a 2 g/m2 layer for internal duct work including manufacturer's
aluminum hardware glue, Hot Dipped galvanized hangers and
supports, flexible duct connection, wooden frame, etc. Complete in
| all respects ready to operate as per drawings, specification and as per instruction of consultant. | Sqft | 21500
26 | Supply, fabrication and installation of machine made G.I sheet metal duct for exposed to weather area ducts, complete in all respects including splitter dampers, guide vanes, flexible duct connection, access door, transformation, plenums chambers, anchors supports & hangers, wooden frame complete in all respects ready to operate as per drawings, specification, instruction of consultant. | Sqft | 6400
27 | Supply and Installation of aluminum foil facing fiber glass (24 kg/m3 density) insulation 1" thick for G.I. sheet metal ducts of different sections with Aluminum tape protected with 8oz canvas cloth than painted anti fungus paint compete in all respect as per specifications, drawings and as per instructions of Consultant. (where it required) | Sqft | Rate only
28 | Supply & installation of 2" thick Pre Formed Polyurethane insulation (Bituminous Kraft Paper Facing, 50 kg/m3 density for external / exposed to weather area ducts, supply, return, fresh air duct, complete in all respects ready to operate as per drawings, specification, instruction of consultant. | Sqft | Rate only
29 | Supply, Fabrication and installation of 26 SWG gauge G.I. cladding for external / exposed to weather area ducts (except exhaust air) etc. complete in all respects ready to operate as per drawings, specification, instruction of Consultant. | Sqft | Rate only
30 | Supply & installation of rubberfoam acoustical duct sound liner adhesive with1/2" thick in supply air duct complete in all respects ready to operate as per specification, drawings and as per instruction of Consultant. For AHUs & FAHUs only | Sqft | 4000
31 | Supply & installation of aluminum fabricated powder coated fresh & exhaust Air louvers including wooden frame, rain protection sheet bird mesh etc complete in all respects ready to operate as per specification, drawings and as per instruction of consultant. | Sqin | 26400
32 | Supply & installation of aluminum fabricated, powder coated grills,
diffusers and registers etc for supply, return, exhaust & fresh air of
different sizes (Grade A) wooden frame, supports and other
accessories etc. complete in all respects ready to operate as per
specification, drawings and as per instruction of Consultant.
32.1 | Supply & Return Air Registers / Diffuser with Damper | Sqin | 57700
32.2 | Supply & Fresh Air Grills | Sqin | 12500
32.3 | Return Air Grills with Access Panels 24"x24" | Nos. | 6
32.4 | S.S Wire Mesh with G.I Frame | Sqin | 1000
32.5 | Linear Slot 6,000 Series
i. | 2 Slots of 3/4" | Rft | 5
32.5 | Exhaust air Disc Valves
i. | 6" Dia | Nos. | 16
33 | Supply & installation of flexible duct including hangers, jubilee clamp
complete in all respects as per specification, drawings & as per
instruction of consultant.
33.1 | 6" dia | Rft | 5
34 | Supply & installation of butterfly damper for above flexible duct with
gas kits, nut bolts, complete in all respects, ready to operate as per
specification, drawings & as per instruction of consultant.
34.1 | 6" dia | Nos. | 1
35 | Supply, fabrication & installation of pre-insulated Volume Control Damper, blades to be constructed with extruded aluminum in airfoil shape with thermal isolation gape & shall have seals, pvc / aluminum profiles duct connection at both end etc. complete in all respects ready to operate as per drawings, specification, instruction and approval of Consultant. | Sqin | 5000
36 | Supply & installation of Fire Damper with linkage & fuse complete in all respects ready to operate as per specification, drawings & as per instruction of Consultant. | Sqin | 2000
37 | Supply & installation of uPVC (Sch 40.) drain pipe insulated with 3/8"
thick rubber foam insulation including clamps, bends, tees, drain
plugs, sockets, protection treatment, PVC tape wrapping complete in
all respects as per specifications, drawings & as per instructions of
Consultant.
37.1 | 1" dia | Rft | 750
37.2 | 1.25" dia | Rft | 675
37.3 | 1.5" dia | Rft | 100
37.2 | 2" dia | Rft | 70
38 | Supply & installation of uPVC (Sch 80.) class 'D' pipe for cooling tower makeup, quick filling and drain from overhead tank and boosting pumps to cooling tower compete with ball valves, clamps, bends, tees, drain plugs, sockets, protection treatment including PVC tape wrapping complete in all respects ready to operate, as per drawings and as per instructions of consultant. | Lot | 1
39 | Supply, installation, testing & commissioning of valve accessories for Decouple Connection to be installed as per site conditions complete in all respects ready to operate as per specification, drawings and as per instruction of Consultant.
39.1 | Butterfly Valve (Gear Operated)
i. | 4" dia | Nos. | 3
39.2 | 2-Way Motorized Valve with Actuator (0-100% Modulation)
i. | 4" dia | No. | 1
39.3 | Pressure Differential Switch | No. | 1
40 | Supply, rigging, lifting, installation and testing of centrifugal sediment separator for Cooling water open circuit @ 40 micron, inlet / outlet as per drawing, including valves & accessories complete with all respects ready to operate as per specification, drawings and as per instruction of Consultant. | Set | 1
41 | Supply, Installation, testing, commissioning of By pass chemical feeder with inlet/outlet connections including valves & accessories, funnel for chemical feeding, initial chemicals for chilled water circuit complete in all respects ready to operate as per schedule, specifications, drawings and as per instructions of Consultant. | Set | 1
42 | Supply, Installation, testing & commissioning of Chemical dozing plant including 2 Nos. automatic dozing pumps, Liquid Chemical tanks with level indicator, initial chemicals for cooling water circuit etc. complete in all respects ready to operate as per schedule, specifications, drawings and as per instructions of Consultant. | Set | 1
43 | Chemical required for one year operation of chilled & cooling water circuit including Initial Flashing Dozing, Initial Dozing & maintaining dozing for one year plant operation as per instructions of Consultant. | Lot. | 1
44 | Supply, installation, testing and commissioning of boosting pump set one standby of required size and capacity with pressurized vertical type diaphragm tank, auto / manual operation control panel pre wired, power on/off breaker, including gate valve, check valve, float valve, pressure gauge etc complete in all respects ready to operate as per schedule, specifications, drawings and as per instructions of Consultant. | Set | 2
45 | Supply, Installation, Testing and Commissioning of allied electrical works for ACMV Systems including Motor Control Centre, MCCs complete in all respects including weather proof sheet metal cabinet, bus bars, internal wiring, earth strip, connector strip, MCB, MCCB, Control fuses, magnetic connector, Overload relay, indication lights, voltmeter, ammeter, under voltage, phase reversible, phase failure device, selector switch, related civil works etc. complete in all respects as per schedule, specifications, drawings & as per instructions of Consultant.
45.1 | MCC for Plant Room Equipment | Lot | 1
45.2 | MCC for Roof Equipment | Lot | 1
46 | Supply, installation, testing and commissioning of interconnecting wiring, control wiring, power wiring from MCC, DB, panel to equipment (equipment as shown in SLD) with isolation switches near the equipment, including civil works related to complete wiring works etc. complete in all respects as per schedule, specifications, drawings & as per instructions of Consultant | Lot | 1
47 | Supply, installation, testing and commissioning of perforated cable trays made with 1.63mm SWG (16 Guage) painted G.I Sheet, including hanger, bracket, proper bends, cover of trays shall be made with 1.22mm SWG (18 guage) painted G.I sheet, complete in all respects, ready to operate as per schedule, specification, drawings and as per instruction of Consultant. | Job | 1
48 | Supply & Intallation of CO CONTROL PANEL, Multizone control panel capable of receiving input signal from the CO sensors and transmitting output signal to smoke extract fans etc, complete in all respects, ready to operate as per schedule, specification, drawings and as per instruction of Consultant. | Job | 1
49 | Supply & Intallation of wall mounted CO Sensors, complete in all respects, ready to operate as per schedule, specification, drawings and as per instruction of Consultant. | Nos. | 6
4259050

## Table 2
|  |  |  | Material |  | Labour |  | Total
S.No. | Description | Unit | Qty | Rate | Amount | Rate | Amount | Amount Rs.
50 51 52 53 54 55 56 | Integration of smoke control system using I/O modules with the fire alarm control panel of building with fire resistant wiring & fixing accessories, complete in all respects, ready to operate as per drawings, specification and instruction of consultant. | Job. | 1
| Supply & installation of additional MS Pipe support, hangers & anchors for plant room & riser pipes including M.S. angle, U channel, Roller Support, bolts, rods, clamps, Concrete fasteners etc. complete in complete in all respects as per specification, drawings & as per instruction of Consultant. | Job. | 1 |  |  | 150000 | 150000
| Painting & Identification work on chilled water pipes & exhaust duct, supports, hangers etc. complete in all respects with one coat of ICI make Red lead oxide primer & two coats of ICI make enamel paint as per instruction of Consultant. | Job. | 1 |  |  | 15000 | 15000
| Testing, balancing and commissioning of water side of the system (from independent agency) complete in all respects including flow measurement & balancing, temp, pressure, electrical data of related equipment etc. as per specifications and as per instructions of Consultant. | Job. | 1 |  |  | 85000 | 85000
| Testing, balancing and commissioning of air side of the system complete (from independent agency) in all respects including air measurement & balancing, temp, pressure & electrical data of related equipment etc. as per specifications and as per instructions of Consultant. | Job. | 1
| Making of Shop drawings on Auto CAD latest version with section details and equipment foundation details, as per instruction of Consultant. | Job. | 1
| Making of As Built drawings, Documentation Technical / Operational Manual & LOG Book for each equipment as per instruction of Consultant. | Job. | 1
| Total Cost with income tax Rs. | [5 empty] | 250000
Note: > The owner reserves the right to supply any or all materials for any item themselves. Therefore, please quote the labour rates accordingly. > M.S platform & RCC foundation for placement for equipment will be owner scope. > Kitchen Hoods supply & installation will be owner scope. > Above quantities based on tender drawing, material should be procured as per approved shop drawing & as per site requirement. > Contractor is instructed to visit the site, understand the nature of work and then fill the rates accordingly and submit the quotation. No argument and discussion will be entertained after awarding of work. > Miscellaneous work which was not included in BOQ but necessary to complete the project in all respects and ready to operate as per instructions of Consultant. (Bidder should mentioned the type of works).