## Summary
S.# | ITEM DESCRIPTION | SUPPLY (Rs.) | INSTALLATION (Rs.) | TOTAL (Rs.)
1 | SECTION - A GENERAL REQUIREMENTS FOR FIRE SUPPRESSION SYSTEM
2 | SECTION - B OPERATION AND MAINTENANCE FOR FIRE SUPPRESSION SYSTEM
3 | SECTION - C COMMON WORK RESULTS FOR FIRE SUPPRESSION SYSTEM
4 | SECTION - D TESTING, BALANCING & COMMISSIONING FOR FIRE SUPPRESSION SYSTEM
5 | SECTION - E INSTRUMENTS AND CONTROLS FOR FIRE SUPPRESSION SYSTEM
6 | SECTION - F FIRE SUPPRESSION WATER-SERVICE PIPING
7 | SECTION - G FIRE SUPPRESSION SPRINKLER SYSTEM
8 | SECTION - H FIRE EXTINGUISHING SYSTEM
Total Amount (Rs.)
Note: ● Contractor is advised to inform missing items (if any) in BOQ at time of submitting this tender. No escalation will be considered at time of execution of work. ● Owner can supply any material of Contractor scope at any stage and its cost will be completely deleted from Contractor scope without any kind of adjustment. ● Contractor should mark the selected brands and vendors in approved manufacturer list with submission of Tender Documents. ● Owner / Consultant have all the rights to select any brand / vendor from provided approved manufacturer list, Contractor shall not finalize any brand / vendor without written approval from consultant / owner.

## BOQ
S.# | ITEM DESCRIPTION | QTY | UNIT | SUPPLY |  | INSTALLATION |  | TOTAL (Rs.)
|  |  |  | RATE (Rs.) | AMOUNT (Rs.) | RATE (Rs.) | AMOUNT (Rs.)
SECTION - A GENERAL REQUIREMENTS FOR FIRE SUPPRESSION SYSTEM
1 | Making of Shop Drawings with sectional details complete in all respect for complete Fire suppression Systems as per Specifications | 1 | Job
2 | Making of As Built Drawings with sectional details complete in all respect for complete Fire suppression Systems as per Specifications | 1 | Job
Contractor to list and price below with quantities any additional item(s) and/or quantities which are not included but required to complete the lumpsum tender price for this section of works. Should the tenderer fail to insert any item(s) and/or quantities here, it will be deemed that this lumpsum price for the tender includes all items and no subsequent cliams for any additional item will be entertained.
Total Amount (Rs.) Sec - A (CARRIED FORWARD TO SUMMARY)
SECTION - B OPERATION AND MAINTENANCE FOR FIRE SUPPRESSION SYSTEM
1 | Operation and maintenance of fire suppression system for one year. | 1 | Job
Total Amount (Rs.) Sec - B (CARRIED FORWARD TO SUMMARY)
SECTION - C COMMON WORK RESULTS FOR FIRE SUPPRESSION SYSTEM
Wire, cables, conduites and cable tray
1 | Supply and installation of of wire, cables, conduits and cable tray for power supply, earthing and controls of fire suppression system complete in all respect as per drawings and specifications. | 1 | Job
Pressure gauges
2 | Supply and installation of pressure gauges for fire suppression system complete in all respect as per specifications and drawings. | 2 | Nos
Valves
3 | Supply and installation of valves for water based fire suppression system complete in all respect as per drawings and specifications.
Valves For Sprinkler Riser (Main)
4 | 3 inch (75 mm ) diameter OS&Y Gate Valve | 1 | No
Pressure regulating valves
5 | 3 inch (75 mm ) dia, Class 150, Inlet Pressure 250 PSI | 1 | No
ZCV Test Drain valves
6 | 1 inch (25 mm) dia | 1 | No
Hangers and supports
7 | Supply and installation of hangers and supports for fire suppression piping and equipment complete in all respect as per drawings and specifications. | 1 | Job
Painting and identification works
8 | Painting and identification works of all components, supports, hangers & brackets etc. complete in all respect as per drawings and specifications. | 1 | Job
Fire stopping
9 | Supply and installation of fire stopping system complete in all respect as per drawings and specifications. | 1 | Job
Total Amount (Rs.) Sec - C (CARRIED FORWARD TO SUMMARY)
SECTION - D TESTING, BALANCING & COMMISSIONING FOR FIRE SUPPRESSION SYSTEM
Testing, balancing and commissioning
1 | Testing, balancing and commissioning of fire suppression system complete in all respect including one month test run, measurement and recording of pressure and electrical data and submission of technical/operation manual, LOG book for each related equipment as per specifications and drawings. | 1 | Job
2 | Pressure testing of existing fire suppression system network at 7 Bar. | 1 | Job
3 | Inspection for operation of existing Fire hose cabinet. | 1 | Job
Total Amount (Rs.) Sec - D (CARRIED FORWARD TO SUMMARY)
SECTION - E INSTRUMENTS AND CONTROLS FOR FIRE SUPPRESSION SYSTEM
Instruments and Controls for fire suppression system
1 | Zone control valves assembly complete with butterfly valve, water flow switch with supervisory switch (temper switch), pressure gauge, 40 mm sectional drain valve with union and corrosion resistant orifice, butterfuly control valve with supervisory switch as per specifications and drawings.
a | 3 inch (75 mm ) dia | 1 | No
Total Amount (Rs.) Sec - E (CARRIED FORWARD TO SUMMARY)
SECTION - F FIRE SUPPRESSION WATER-SERVICE PIPING
Fire Suppression Water-Service Piping
MS piping
1 | Supply and installation of ASTM A53 and A120 Schedule 40 MS piping with fittings and specials for fire protection system, including all cutting, fixing, laying through walls and roofs and making good complete in all respect as per drawings and specifications.
a | 25 mm (1 inch) Diameter | 700 | Rft
b | 32 mm (1-1/4 inch) Diameter | 60 | Rft
c | 38 mm (1-1/2 inch) Diameter | 100 | Rft
d | 50 mm (2 inch) Diameter | 120 | Rft
e | 62 mm (2-1/2 inch) Diameter | 260 | Rft
f | 75 mm (3 inch) Diameter | 80 | Rft
Total Amount (Rs.) Sec - F (CARRIED FORWARD TO SUMMARY)
SECTION - G FIRE SUPPRESSION SPRINKLER SYSTEM
Wet-pipe sprinkler system
1 | Supply and installation of wet-pipe sprinkler system complete in all respect as per drawings and specifications
a | Concealed Sprinkler Head 1/2" 68 Deg, Standard Response, Brass Finish, complete with Escuteon plate 1/2" Crome Finish (k=5.6, orifice 1/2") | 90 | Nos
Total Amount (Rs.) Sec - G (CARRIED FORWARD TO SUMMARY)
SECTION - H FIRE EXTINGUISHING SYSTEM
Portable Fire Extinguishers
Carbondi Oxide Fire Extinguishers
1 | Supply and installation of 5KG Carbondi Oxide Fire Extinguishers complete in all respect as per drawings and specifications. | 10 | Nos
Dry Powder Fire Extinguishers
2 | Supply and installation of 4.5 KG Dry Powder Fire Exitinguishers complete in all respect as per drawings and specifications. | 10 | Nos
K-Type Fire Extinguishers
3 | Supply and installation of 6 Liter K Type Fire Extinguishers complete in all respect as per drawings and specifications. | 1 | No
Ceiling Mounted Dry Powder Fire Extinguishers for Server & Ups Room
4 | Supply and installation of Ceiling Mounted Dry Powder Fire Extinguishers system complete in all respect as per drawings and specifications. | 3 | Nos
Total Amount (Rs.) Sec - H (CARRIED FORWARD TO SUMMARY)