## Summary
S.# | ITEM DESCRIPTION | SUPPLY (Rs.) | INSTALLATION (Rs.) | TOTAL (Rs.)
1 | SECTION - A GENERAL REQUIREMENTS FOR PLUMBING SYSTEM
2 | SECTION - B TESTING & BALANCING OF PLUMBING FIXTURES
3 | SECTION - C FACILITY SANITARY SEWAGE
4 | SECTION - D PLUMBING FIXTURES
Total Amount (Rs.)
Note: ● Contractor is advised to inform missing items (if any) in BOQ at time of submitting this tender. No escalation will be considered at time of execution of work. ● Owner can supply any material of Contractor scope at any stage and its cost will be completely deleted from Contractor scope without any kind of adjustment. ● Contractor should mark the selected brands and vendors in approved manufacturer list with submission of Tender Documents. ● Owner / Consultant have all the rights to select any brand / vendor from provided approved manufacturer list, Contractor shall not finalize any brand / vendor without written approval from consultant / owner.

## BoQ
S.# | ITEM DESCRIPTION | QTY | UNIT | SUPPLY |  | INSTALLATION |  | TOTAL (Rs.)
|  |  |  | RATE (Rs.) | AMOUNT (Rs.) | RATE (Rs.) | AMOUNT (Rs.)
SECTION - A GENERAL REQUIREMENTS FOR PLUMBING SYSTEM
1 | Dismantling of Existing Fixtures (e.g taps, floor drain, floor cleanout & Kitchen Sink complete in all respect). Preparation of Inventory list of dismantled items for client submission and handing over dismantled items to location as per client instruction. | 1 | Job
Total Amount (Rs.) Sec - A (CARRIED FORWARD TO SUMMARY)
SECTION - B TESTING & BALANCING OF PLUMBING FIXTURES
2 | Testing, balancing and commissioning of plumbing fixtures complete in all respect including one month test run. | 1 | Lot
Total Amount (Rs.) Sec - B (CARRIED FORWARD TO SUMMARY)
SECTION - C FACILITY SANITARY SEWAGE
Floor Cleanouts
1 | Supply and installation of cleanouts complete in all respect as per drawings and specificaitons.
a | 4 inch dia (100 mm) | 7 | Nos
2 | Supply and installation of floor drains complete in all respect as per drawings and specifications.
a | 3 inch dia (75 mm) | 13 | Nos
Total Amount (Rs.) Sec - C (CARRIED FORWARD TO SUMMARY)
SECTION - D PLUMBING FIXTURES
Stainless Steel Kitchen Sink
1 | Supply and Installation of Stainless Steel Kitchen Sinks of specified size best quality with bottle trap, painted MS bracket set with nuts bolts, waste water jointing assembly, making requisite number of holes in walls, floors and plinth for pipe connections and making it funchtional with approved material complete in all respect as per specifications. | 1 | No
Muslim Shower
2 | Supply and installation of muslim shower with flexible hose, mounting hook, connectors, nuts, bolts, fittings and accessories complete in all respect as per specifications. | 7 | Nos
Single Tap
3 | Supply and installation of Single tap with connectors, fittings and accessories complete in all respect as per specifications. | 8 | Nos
Double Tap
4 | Supply and installation of double tap with connectors, fittings and accessories complete in all respect as per specifications. | 8 | Nos
Angle Stop Valve
5 | Supply and installation of Angle Stop Valve with connectors, nuts, bolts, fittings and accessories complete in all respect as per specifications. | 7 | Nos
Total Amount (Rs.) Sec - D (CARRIED FORWARD TO SUMMARY)