## Sheet1
S. # | Queries | Response
1 | All necessary dismantling of M&PF domains is in the scope of GC at Civil ID BOQs. So, there is no requirement of adding their rates in M&PF BOQ. | Civil Scope
2 | Supply Rate of C.P Sprinklers at ISL are 2.5 times higher than that of KHI, despite the quoted brand being the same at both projects. | Current pirce quoted for Islamabad
3 | There is no requirement of supplying upright sprinklers at ISL. Exsiting sprinklers to be re-installed. | Acknowledged
4 | Quoted rates for NOVEC at ISL are nearly 1.75 times higher than those quoted at KHI. | NOVEC system was not in KHI Scope
5 | Supply rates of NOVEC Fluoroketone gas at Islamabad (14kg - ZETA UK) is PKR 1.7 million, while at Karachi (32kg - SEVO USA) it is PKR 1 million. Kindly revisit the costing. | NOVEC system was not in KHI Scope
6 | Supply rates of NOVEC Panel at ISL is double the rate of panel at Karachi. Kindly revisit the costing. | NOVEC system was not in KHI Scope
7 | The cost of wet chemical and auto-type fire extinguishers should be rechecked. Also, verify the quantities of all fire extinguishers as per tender drawings. | Extinguishers Qtys are according BOQ, further prices is market cpmpetice.
8 | Equipment schedule for exhaust fans has been provided as part for RFP. Refer "Equipment Schedule" in Technical Specifications. | Accordingly
9 | Kindly re-check that Pakistan Cables provide the control wiring or not? If yes, then furnish its technical details and list of projects. | Pakistan Cables or according to list will be provided for controls.