## Table 1
SECTION II: BILL OF QUANTITIES FOR HVAC WORKS
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
BOQ No. | Specification Reference | Description | Qty. | Unit | Material Unit Rate | Material Cost | Installation Unit Rate | Installation Cost | Total Cost
1 | 2 | 3 | 4 | 5 | 6 | 6 x 4 | 8 | 8 x 4 | 7 + 9
AIR CONDITIONING AND VENTILATION SYSTEM
| 23 82 19 | Supply, Installation and Commissioning of Fan Coil Units, complete in all respects with necessary fittings and as per schedule, drawings and specifications.
A |  | FCU-01 | 1 | No. |  | 0 | 7000 | 7000 | 7000
B |  | FCU-02 | 1 | No. |  | 0 | 7000 | 7000 | 7000
C |  | FCU-03 | 1 | No. |  | 0 | 7000 | 7000 | 7000
D |  | FCU-04 | 1 | No. |  | 0 | 7000 | 7000 | 7000
E |  | FCU-05 | 1 | No. |  | 0 | 7000 | 7000 | 7000
F |  | FCU-06 | 1 | No. |  | 0 | 7000 | 7000 | 7000
G |  | FCU-07 | 1 | No. |  | 0 | 7000 | 7000 | 7000
H |  | FCU-08 | 1 | No. |  | 0 | 7000 | 7000 | 7000
I |  | FCU-09 | 1 | No. |  | 0 | 7000 | 7000 | 7000
J |  | FCU-10 | 1 | No. |  | 0 | 7000 | 7000 | 7000
K |  | FCU-11 | 1 | No. |  | 0 | 7000 | 7000 | 7000
| 23 31 00 | Supply, Installation and Commissioning of G.I Sheet metal air ducts as per ASHRAE Standards for air ducting, plenums and other sheet fabrications including splitter dampers, take off, vanes elbows and other necessary fittings.
L |  | 24 Gauge | 3127 | Sq.ft. | 300 | 938100 | 70 | 218890 | 1156990
M |  | 22 Gauge | 3442 | Sq.ft. | 310 | 1067020 | 70 | 240940 | 1307960
Sub Total (Page 1)
A | 2001-07-23 | Supply, Installation & Commissioning of NBR insulation for ducts complete in all respect as mentioned in the schedule & specifications. | 6678 | Sq.ft. | 350 | 2337300 | 50 | 333900 | 2671200
| 2023-05-23 | Supply, Installation & commissioning of valves complete in all respect as per drawings and specification. |  |  |  | 0 |  | 0 | 0
|  | Gate Valves |  |  |  | 0 |  | 0 | 0
B |  | Ø1/2" | 2 | Nos. | 8000 | 16000 | 500 | 1000 | 17000
C |  | Ø1 1/4" | 20 | Nos. | 7500 | 150000 | 500 | 10000 | 160000
|  | 2 Way Motorized Control Valves |  |  |  | 0 |  | 0 | 0
D |  | Ø1/2" | 1 | No. | 28000 | 28000 | 2000 | 2000 | 30000
E |  | Ø1 1/4" | 10 | Nos. | 130000 | 1300000 | 2000 | 20000 | 1320000
|  | Strainers |  |  |  | 0 |  | 0 | 0
F |  | Ø1/2" | 1 | No. | 7500 | 7500 | 1000 | 1000 | 8500
G |  | Ø1 1/4" | 10 | Nos. | 6500 | 65000 | 1000 | 10000 | 75000
|  | Double Regulating Valves |  |  |  | 0 |  | 0 | 0
H |  | Ø1/2" | 1 | No. | 15000 | 15000 | 1000 | 1000 | 16000
I |  | Ø1 1/4" | 10 | Nos. | 13500 | 135000 | 1000 | 10000 | 145000
J | 23 21 13 | Supply, Installation & Commissioning of Automatic air vents as per drawings and specifications. | 11 | Nos. | 3000 | 33000 | 1000 | 11000 | 44000
K | 2023-05-23 | Supply, Installation and Commissioning of Test points including all accessories complete in all respect as per drawing and specifications | 11 | Lot | 5000 | 55000 | 1000 | 11000 | 66000
L | 2023-05-23 | Supply, Installation and Commissioning of Flow Switch as per drawings and specifications. | 11 | Nos. | 20000 | 220000 | 1500 | 16500 | 236500
Sub Total (Page 2)
M | 2000-09-23 | Supply, Installation and Commissioning of pressure gauges with Siphon and stop cocks as per specifications. | 22 | Nos. | 7500 | 165000 | 1000 | 22000 | 187000
N | 2000-09-23 | Supply, Installation and Commissioning of thermometer gauge with wells as per drawings and specifications. | 22 | Nos. | 9500 | 209000 | 1000 | 22000 | 231000
| 23 21 13 | Supply, Installation & Commissioning of ASTM Schedule 40 seamless piping for Chilled water complete with fittings, flanges unions, gaskets, specialties, flexible connections, etc., including all cutting, fixing fitting, laying, cleaning and making good complete in all respects as per drawings and specifications. |  |  |  | 0 |  | 0 | 0
O |  | Ø1/2" | 29 | Rft. | 490 | 14210 | 210 | 6090 | 20300
P |  | Ø1 1/4" | 191 | Rft. | 460 | 87860 | 250 | 47750 | 135610
Q |  | Ø1 1/2" | 274 | Rft. | 650 | 178100 | 290 | 79460 | 257560
|  | Supply, Installation and Commissioning of U-PVC piping with insulation for condensate drain piping including all cutting fixing, layout, cleaning and making good complete in all respect as per drawings and specifications. |  |  |  | 0 |  | 0 | 0
R |  | Ø1" | 202 | Rft. | 250 | 50500 | 120 | 24240 | 74740
| 2019-07-23 | Supply, Installation & Commissioning of Closed Cell NBR Insulation for chilled water piping with complete in all respect as mentioned in the drawings & specifications. |  |  |  | 0 |  | 0 | 0
|  | 40mm thickness |  |  |  | 0 |  | 0 | 0
S |  | Ø1/2" | 29 | Rft. | 550 | 15950 | 100 | 2900 | 18850
T |  | Ø1 1/4" | 191 | Rft. | 990 | 189090 | 120 | 22920 | 212010 | FORTE | 15%
U |  | Ø1 1/2" | 274 | Rft. | 1180 | 323320 | 160 | 43840 | 367160
Sub Total (Page 3)
| 23 37 13 | Supply, Installation and Commissioning of Air Devices including connections with air ducts and supports arrangements complete in all respect as per drawings and specifications
|  | VCD |  |  |  | 0 |  | 0 | 0
A |  | 16"x6" | 72 | Nos. | 2800 | 201600 | 2200 | 158400 | 360000
B |  | 12"x6" | 4 | Nos. | 2800 | 11200 | 2200 | 8800 | 20000
C |  | 10x4" | 6 | Nos. | 2800 | 16800 | 2200 | 13200 | 30000
D |  | 6"x6" | 7 | Nos. | 2800 | 19600 | 2200 | 15400 | 35000
E |  | 12x8" | 1 | No. | 2800 | 2800 | 2200 | 2200 | 5000
F |  | 24x8" | 1 | No. | 4400 | 4400 | 2200 | 2200 | 6600
|  | SAG |  |  |  | 0 |  | 0 | 0
G |  | 12"x10" | 1 | Nos. | 3600 | 3600 | 2200 | 2200 | 5800
|  | RAG |  |  |  | 0 |  | 0 | 0
H |  | 30"x18" | 9 | Nos. | 11880 | 106920 | 3000 | 27000 | 133920
|  | FAG |  |  |  | 0 |  | 0 | 0
I |  | 26"x10" | 1 | No. | 5800 | 5800 | 2200 | 2200 | 8000
J |  | 16"x8" | 1 | No. | 3000 | 3000 | 2200 | 2200 | 5200
K |  | 12"x6" | 2 | Nos. | 3000 | 6000 | 2200 | 4400 | 10400
L |  | 10"x6" | 5 | Nos. | 3000 | 15000 | 2200 | 11000 | 26000
|  | Round Supply Air Diffuser |  |  |  | 0 |  | 0 | 0
M |  | 14" Diameter | 72 | No. | 8000 | 576000 | 2200 | 158400 | 734400
N |  | 10" Diameter | 4 | No. | 5000 | 20000 | 2200 | 8800 | 28800
O |  | 8" Diameter | 6 | Nos. | 4000 | 24000 | 2200 | 13200 | 37200
Sub Total (Page 4)
Supply Air Linear Slot Diffuser S.A.L.S.D.
A |  | 2/1"/120" | 2 | Nos. | 11000 | 22000 | 1000 | 2000 | 24000
| 23 33 43 | Supply, installation and Commissioning of flexible ducts complete in all respects as per schedule, drawings and specifications. |  |  |  | 0 |  | 0 | 0
B |  | 8" Diameter | 8 | Nos. | 590 | 4720 | 120 | 960 | 5680
|  | MISCELLANEOUS |  |  |  | 0 |  | 0 | 0
C | 1953-05-23 | Supply, Installation & commissioning of brass tags for Equipment and system including all accessories complete in all respect as per drawings and specifications. | 1 | Job | 25000 | 25000 | 10000 | 10000 | 35000
D | 1948-05-23 | Supply, Installation & commissioning of foundation for pipes and equipment including all noise and Vibration controller as per drawings and specifications. | 1 | Job | 50000 | 50000 | 15000 | 15000 | 65000
E | 2029-05-23 | Supply, Installation & commissioning of hangers and supports for pipes and equipment including all noise and Vibration controller roller type and others as per drawings and specifications. | 1 | Job | 95000 | 95000 | 25000 | 25000 | 120000
F | 23 33 43 | Supply, Installation & Commissioning of Seismic restraints and flexible connections where ducts and pipes cross the expansion joints of the buildings complete in all respect as per drawing and specification. | 1 | Job | 175000 | 175000 | 35000 | 35000 | 210000
G | 09 90 00 | Painting on equipment / Hangers, Supports, Pipe etc. as per specifications. | 1 | Job | 25000 | 25000 | 15000 | 15000 | 40000
H | 07 84 00 | Supply, Installation & commissioning of Fire Stopping Aids for pipes and ducts crossing firewalls and at all locations required as per drawings and specifications. | 1 | Job | 50000 | 50000 | 25000 | 25000 | 75000
Sub Total (Page 5)
| 01 00 00 | Drawings
A |  | Shop Drawings as per specifications | 1 | Job | 20000 | 20000 | 15000 | 15000 | 35000
B |  | As Built Drawings as per specifications | 1 | Job | 10000 | 10000 | 15000 | 15000 | 25000
| 1993-05-23 | Testing, Balancing & Commissioning |  |  |  | 0 |  | 0 | 0
C |  | HVAC System. | 1 | Job | 25000 | 25000 | 15000 | 15000 | 40000
|  | Sundries |  |  |  | 0 |  | 0 | 0
D |  | Supply, installing and commissioning of items not listed in BOQ but required.(Contractors responsibility to verify the quantities before bidding) | 1 | Lot |  | 0 |  | 0 | 0
Sub Total (Page 6)
|  | Grand Total Amount | [6 empty] | 10956380