## Sheet1
M/S MIA CORPORATION (PVT) LTD. |  |  |  |  | 2024-06-05
Att: Mr.Ehsun Ali
PO # 121
Purchase Order against your quote # QO-009433-1 Dated 05 June 24
Supply of Daikin WCPU - Citi Bank Dolmen Mall Clifton Karachi.
S No. | D e s c r i p t i o n | Qty | Unit | Rate | Amount
1 | CRH020DRP03R-AABE SUPPLY OF DAIKIN, HORIZONTAL WATER SOURCE HEAT PUMP. NOMINAL COOLING CAPACITY: 1.50-TR, AIR FLOW RATE: 671-CFM, WATER FLOW RATE: 4.9-GPM, REFRIGERANT: R-410A, POWER SOURCE: 220~240-V/1-PH/50-HZ, | 2 | Nos | 742500 | 1485000 | 2577 | 3015.09
2 | CRH060DRP08R-FBBE DAIKIN, HORIZONTAL WATER SOURCE HEAT PUMP. NOMINAL COOLING CAPACITY: 4.56-TR, AIR FLOW RATE: 1646-CFM, WATER FLOW RATE: 14.5-GPM, REFRIGERANT: R-410A, POWER SOURCE: 380~415-V/3-PH/50-HZ, | 1 | No | 1378300 | 1378300 |  | 0
Total |  |  |  |  | 2863300 |  | 0
Discount |  |  |  |  | 563300 |  | 0
Total Amount (INCLUSIVE OF GST) |  |  |  |  | 2300000 |  | 0
for Pioneer Engineering Services
0
0
0
0
M. BILAL HABIB | [6 empty] | 0
0
0
0
0
0
0
0
0
0