## Table 1
VISA FIT OUT PROJECT
10th FLOOR UNIT # 4, DOLMEN SKY TOWER - A, CLIFTON KARACHI.
MODIFICAITON IN ACMV WORKS - BILL OF QUANTITIES
Date: 15-04-2024
Rev-00
Sr. No. | Description | Unit | Qty | Rate | Amount Rs. | Remarks
|  |  | A | B | A x B = C
ACMV WORKS
1 | Dismantling & Repair Works
1 | Removing & re-installation of Dampa ceiling (where ACMV modification required), complete in all respect including cleaning the site and shifting the dismantled parts / material to a suitable place given by client complete in all respects ready to operate as per the instruction of the client & consultant. (Note: contractor should check / verify dismantling works as per site requirements). | Job | 1 |  | 0
1.2 | Removing & re-installation of acoustic panels (where VAV/CAV modification required), contractor to make sure re alignment of acoustic panels after reinstallation, complete in all respect including cleaning the site and shifting the dismantled parts / material to suitable place given by client complete in all respects ready to operate as per instruction of client & consultant. (Note; contractor should check / verify dismantling works as per site requirement). | Job | 1
1.3 | Minor repair and touchups on gypsum ceiling where required, complete in all respect including cleaning the site, ready to operate as per instruction of client & consultant. (Note: Contractor should check / verify dismantling works as per site requirement & buildup cost in this item, no further varations will be entertained in this regard). | Job | 1
1.4 | Carpet and Furniture Protection: Providing and laying of carpet and tile flooring protection with thick Paper sheet (Gatta)/thick polythene sheet with proper covering and removing after work done as per site conditions. Note: The contractor must take all necessary precautions to protect and secure existing installations in the area where the work is being carried out. Any damage to current installations is unacceptable, and the contractor is responsible for any repairs or replacements required due to their work. | Job | 1
Total - 01
2 | VAV / CAV BOXES:
2 | Removing of existing CAVs and then supply & installation of VAV Boxes as per mentioned in schedule with digital thermostat controller, pressure sensor, control wiring, interlooping with all VAVs, including flexible duct connection / connector, electrical connection, lindaptor support & hangers complete in all respects ready to operate as per drawings, specification, instruction and approval of Consultant.
2.1 | VAV-03A | No. | 2 | 275000 | 550000
2.2 | VAV-04A | No. | 1 | 275000 | 275000
2.3 | VAV-05A | No. | 1 | 275000 | 275000
2.4 | VAV-06A | No. | 1 | 275000 | 275000
Total - 02
3 | G.I DUCT:
3 | Removing of existing duct/plenum with insulation then supply, fabrication & installation of machine made G.I sheet metal duct different sections supply, return, fresh & exhaust air including plenums, splitter dampers, guide vanes, flexible duct connector / connection, access door, transformation, plenums chambers, wooden frame, lindaptor type anchors supports & hangers etc, complete in all respects ready to operate as per specification, drawings and as per instruction of consultant. | Sqm | 15 | 6500 | 97500
Total - 03
4 | DUCT INSULATION:
4 | Supply & installation of adhesive 20mm thick rubber foam (XLPE) insulation 25kgm/3 density with aluminum foil over supply & return duct, complete in all respects ready to operate as per specification, drawings and as per instruction of consultant. | Sqm | 15 | 7200 | 108000
Total - 04
5 | SOUND LINER:
5 | Supply & installation of acoustical duct sound liner (adhesive 12mm thick) in crosstalk silencer duct, complete in all respects ready to operate as per drawings, specification and as per instruction of consultant. | Sqm | 5 | 6100 | 30500
Total - 05
6 | FLEXIBLE DUCT:
6 | Supply & installation of flexible duct including hangers, jubilee clamp complete in all respects as per specification, drawings & as per instruction of consultant.
6.1 | 150mm dia | Rm | 3 | 500 | 1500
6.2 | 200mm dia | Rm | 6 | 700 | 4200
Total - 06
7 | BUTTERFLY DAMPER:
7 | Supply & installation of butterfly damper for above flexible duct with gas kits, nut bolts, complete in all respects, ready to operate as per specification, drawings & as per instruction of consultant.
7.1 | 150mm dia | Nos. | 2 |  | 0
7.2 | 200mm dia | Nos. | 4 | 4500 | 18000
Total - 07
8 | TESTING & BALANCING:
8 | Testing, balancing and commissioning of air side of the system (from independent agency) complete in all respects including flow measurement & balancing, temp, pressure, electrical data of related equipment etc, complete in all respects as per instruction of consultant. | Job. | 1 | 75000 | 75000
Total - 08
| Grand Total Amount Rs. |  |  |  | 1709700