## Sheet1
MEEZAN BANK GUJRANWALA COMPARISON FOR PUBLIC HEALTH WORKS
SR. | DESCRIPTION
Pioneer Engineering Services
|  | Offered Brands | Compliance
1 | Water Supply (PPRC Pipes) | Dadex (Local) | Complied
2 | Valves (GV, BV, FV) | Kitz/ Gala | Gala (China) is not Approved
3 | Sewerage & Drainage (UPVC Pipes) | Dadex (Local) | Complied
4 | P-Traps | Dadex (Local) | Complied
5 | Floor/ Roof Drains | Local | No Brand/ Company Specified
6 | Fire-Fighting (MS Pipe) | NA | -
7 | Fire Hose Cabinet | NAFFCO | Complied
8 | Landing Valves, Breaching Inlet | NAFFCO | Complied
9 | Fire Hydrants | NAFFCO | Complied
10 | Fire Fighting Pump | NAFFCO | Complied
11 | Water Transfer Pump | WILO | -
12 | Sump Pump | WILO | -
13 | Water Booster | WILO | -
14 | Storage Geysers | Canon | Complied
15 | GI pipe | NA | -
16 | Pipe Hangers | Index | Complied
| Compliance % | 69%
| Remarks | - Almost complies with the approved list of manufacturers - Gala (china) to be replaced with Kitz - NAFFCO is top of the line brand in FF systems however missing items are required.