## Fire
[5 empty] | Date |  | 26 June 2024
[5 empty] | Quotation # |  | 136
Attn: Mr. Moin
Mr. Hussain Bharmal
Quotation
S. # | Description | Unit | Qty | Material Rate | Labour Rate | Material Amount | Labour Amount
1 | Pool cleaning, filter cleaning and maintiang of chaloring and pool maintained and motitoring of water level. | Job | 1 | 0 | 40000 | 0 | 40000
2 | Leak check of swimming pool and founf inlet line is leaking cutted and sealed skimmer used as inlet by pass line arranged and fixed. | Job | 1 | 10000 | 10000 | 10000 | 10000
3 | Pool maintaining with related chemicals and duty performed. | Job | 1 | 10000 | 40000 | 10000 | 40000
4 | Cleaning and maintaining of jacuzi, with chalorine etc | Job | 1 | 10000 | 15000 | 10000 | 15000
5 | Dismantle inlet outlet connection of out of service fiber tank and removed. | Job | 1 |  | 10000 | 0 | 10000
6 | Installation of new fiber glass tank with inlet outlet connection includig supply and installation of a) UPVC ball valve b) UPVC Pipe and other related fittings. | Job | 1 | 15000 | 15000 | 15000 | 15000
7 | Installation of wash basin with hot and cold basin maxir with bottle trap for sahidna sahab bathroom. | Nos | 2 | 0 | 10000 | 0 | 20000
8 | Installation of thermostatic maxir. | Nos | 1 | 0 | 6000 | 0 | 6000
9 | Installation of hand shower with gasket etc | Nos | 1 |  | 2000 | 0 | 2000
10 | Supply and installation of of CP rod 4 ft with bush and other fittings for Sahidna sahib hose. | Nos | 1 | 7000 | 3000 | 7000 | 3000
11 | Removal of old head shower and installed new head Shower with fittings. | Nos | 1 | 500 | 1500 | 500 | 1500
12 | Removal of concealed stop cock | Nos | 1 | 500 | 1000 | 500 | 1000
13 | Supply of installation hot water circulating pump with fittings such as union barrel nipple adaptor gasket etc | Nos | 1 | 35000 | 10000 | 35000 | 10000
14 | Supply of installation thermostat for hot water circulating pump. | Nos | 1 | 20000 | 8000 | 20000 | 8000
15 | Supply of installation PPRC Pipe 25mm dia for hot water circulating pump. | Rft | 13 | 500 | 300 | 6500 | 3900
16 | Supply of installation PPRC Pipe 20mm dia for hot water circulating pump. | RFT | 26 | 400 | 200 | 10400 | 5200
17 | Supply of installation 3/4 non return valve with male female adaptor for hot water circulating pump. | NO | 1 | 7000 | 2000 | 7000 | 2000
18 | Supply of installation gate valve 1/2'' | Nos | 1 | 6000 | 2000 | 6000 | 2000
19 | Removal of pressure pump, serviced cleaned, washed and refixed. | Nos | 2 |  | 10000 | 0 | 20000
20 | Removed and descaled check valve for plumbing system. | Nos | 7 |  | 1000 | 0 | 7000
21 | Supply Installation bath shower and shower rod and related fittings. | Nos | 1 | 5000 | 2000 | 5000 | 2000
22 | Supply & installation Concealed cock. | Nos | 3 | 4000 | 1500 | 12000 | 4500
23 | Supply & installation bib cock. | Nos | 3 | 4500 | 1500 | 13500 | 4500
24 | Supply of installation CPVC pipe 1/2'' dia and other relative fitting such as tee bend elbow adaptor etc. | RFT | 300 | 480 | 200 | 144000 | 60000
25 | Supply of installation check valve 1'' with other relative fitting for hot water geyser. | Nos | 1 | 7000 | 1500 | 7000 | 1500
26 | Installation of electric water geyser with supply and installaton of PPRC pipe and related fittings. | Nos | 1 | 6000 | 4000 | 6000 | 4000
27 | Supply installation 4'' dia UPVC pipe with fittings and clamp for vent system | RFT | 90 | 900 | 200 | 81000 | 18000
28 | Supply & installation Gas regulator. | No | 1 | 5000 | 1000 | 5000 | 1000
19 | Stand by duty performed and following work carried out. | No | 1 | 150000 | 1000 | 150000 | 1000
Total Amount Rs | [5 empty] | 561400 | 318100
SST 13%
Grand Total Amount | [6 empty] | 879500
Note: Bill is exlusive of taxes i.e; cash based.
For PIONEER SERVICES
PIONEER SERVICES