## Sheet1
M/S Secure Vision |  |  |  |  | 2024-07-13
PO # 247
Att: Waqas Rasheed
PURCHASE ORDER
Supply of Fire Fighting System (Engro 3rd, 7th & 8th Floor + GSK DMC)
S No. | D e s c r i p t i o n | Qty | Unit | Rate | Amount
1 | Sprinkler Upright 1/2"68Deg, K-Factor 5.6 (80) Quick Response ,Chrome | 153 | Nos | 1800 | 275400 | 1800 | 48746
2 | Sprinkler Concealed Pendent 1/2"68Deg, K-Factor 5.6 (80) Quick Response,Chrome cover plate, UL Listed, Lifeco, Model LF821 (Make: LIFECO) | 242 | Nos | 6470 | 1565740
3 | Sprinkler Pendent type quick response K = 5.6 (Opening Temperature 57ºC) Model LF321 (Make: LIFECO) | 45 | Nos | 1800 | 81000
4 | Sprinkler Horizontal Sidewall 1/2"68Deg, K-Factor 5.6 (80) Quick Response,Chrome Plated, UL/FM, Lifeco,Model LF341(Make: LIFECO) | 31 | Nos | 1785 | 55335
5 | Fire Blanket, White Colour, with Black Strip, Hard Flat PVC Case in RedColour, Size 1.2mx1.2m, Model LFB(Make: LIFECO) | 5 | Nos | 9000 | 45000
6 | Flexible SprinklerHose Fittings- Unbraided Type, UL-Listed 1000mm Model LPN-A1000 (Make: LIFECO) | 201 | Nos | 5200 | 1045200
7 | 01" Gate Valve(Make: LIFECO) | 1 | Nos | 6500 | 6500
8 | Wet chemical, 6Ltr Fire Extinguishers(Make: FIREX or Equivalent) | 3 | Nos | 30000 | 90000
9 | CO2, 5KG Fire Extinguishers (Make: FIREX or Equivalent) | 5 | Nos | 22000 | 110000
10 | DCP, 6KG Fire Extinguishers(Make: FIREX or Equivalent) | 3 | Nos | 10000 | 30000
11 | Foam 6Ltr Fire Extinguisher(Make: FIREX or Equivalent) | 2 | Nos | 12500 | 25000
12 | UL Listed LIFECO-227 Fire Suppression System with UL Listed Cylinder & UL/FMUL Listed LIFECO-227 Fire Suppression System with UL Listed Cylinder & UL/FM HFC227ea Clean Agent for I.T. Room - 20.38785 cu.m. - 12 Kg Cylinder with Head Valve • Low Pressure Switch • Solenoid Valve • Discharge Nozzle (Make: LIFECO) | 1 | Set | 1500000 | 1500000
13 | Discharge Hose | 1 | Nos | 25000 | 25000
14 | Combined Fire & Extinguishing Control Panel with Battery Backup(Make: ZETA-UK) | 1 | Nos | 145000 | 145000
15 | Conventional Smoke Detector with Base.(Make: ZETA-UK)(Make: ZETA-UK) | 2 | Nos | 6800 | 13600
16 | Conventional Fire Alarm Sounder(Make: ZETA-UK) | 1 | Nos | 10500 | 10500
17 | Conventional Fire Alarm Sounder with Flasher(Make: ZETA-UK) | 1 | Nos | 15500 | 15500
18 | Abort Switch | 1 | Nos | 4500 | 4500
|  | TOTAL: |  |  | 5043275 |  | 48746
Discount |  |  |  |  | 1518025
Total amount |  |  |  |  | 3525250
Terms & Conditions
1) Price is valid only for 60 Days
2) 50% advacnce & balance before delivery or option-2 Balance material against balance material delivered against 30 to 40 days PDC.
3) 5 Lacs old outstanding amount settelled with advance.
4) GST Invoice issue after 3 months
5) Above price discount at @ 8% agreed.
Note: Above PO is subject to approval from the consultant.
for Pioneer Services
PIONEER SERVICES