## SUMMARY
SUMMARY OF PRICES FOR PLUMBING WORKS
Item # | Description | Total Cost Pak Rupees
220010 | General Requirements for Plumbing System
220100 | Operation and maintenance of Plumbing System
220500 | Common Work Results for Plumbing
220700 | Plumbing Insulation
220800 | Testing, balancing and commissioning of plumbing system
220900 | Instruments
221100 | Facility Water Distribution
221300 | Facility Sanitary Sewage
223400 | Fuel Fired Domestic Water Heaters
224200 | Plumbing Fixtures
STP Plan
212000 | Fire Extinguishing System
TOTAL COST OF PLUMBING & Fire Fighting WORKS

## BOQ PLUMBING
Item # | Description | Qty. | Unit | Rate |  | Amount |  | Total Cost
|  |  |  | Material | Installation | Material | Installation
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9
220010 | General Requirements for Plumbing System
a. | Making of Shop Drawings with sectional details complete in all respect for complete Plumbing Systems as per Specifications | 1 | Job | 17250 | 17250 | 17250 | 17250 | 34500
b. | Making of As Built Drawings with sectional details complete in all respect for complete Plumbing Systems as per Specifications | 1 | Job | 11500 | 11500 | 11500 | 11500 | 23000
c. | Equipment foundations and shifting of equipment from Ground Floor to respective locations including Owner Supplied Equipment. | 1 | Job | 34500 | 11500 | 34500 | 11500 | 46000
d. | Excavation and backfilling the earth for pipe works as required to complete the Plumbing Works as per Drawings and Specifications. | 1 | Job | 0 | 575000 | 0 | 575000 | 575000
e. | Contractor to list and price below with quantities any additional item(s) and/or quantities which are not included but required to complete the lumpsum tender price for this section of works. Should the tenderer fail to insert any item(s) and/or quantities here, it will be deemed that this lumpsum price for the tender includes all items and no subsequent cliams for any additional item will be entertained.
220100 | Operation and maintenance of Plumbing System
| Operation and maintenance of Plumbing system for one year. | 1 | Job | 0 | 230000 | 0 | 230000 | 230000
220500 | Common Work Results for Plumbing
220513.13 | Motor Control Centre (MCC)
| Supply, Installation of Motor Control Centre (MCC) complete in all respect including weather proof sheet metal cabinet, bus bars, internal wiring earth strip, connector strip, MCB, MCCB, Control fueses, magentic contactor, overload relay, indication lights, voltmeter, ammeter, under voltage phase reversible, phase failure device, selector switch, related civil works etc. complete in all respects for Plumbing equipment including Owner supplied Plumbing equipment as per scheudle, speicifications and drawings. | 2 | No | 115000 | 28750 | 230000 | 57500 | 287500
220513.16 | Wire, cables, conduites and cable tray
| Supply and installation of of wire, cables, conduites and cable tray for power supply, earthing and controls of Plumbing system complete in all respect as per drawings and specifications. | 1 | Job | 189750 | 17250 | 189750 | 17250 | 207000
220519 | Meters and gauges
Supply and installation of meters and gauges with accessories for plumbing piping complete in all respect as per drawings and specfications
a. | Pressure gauge | 6 | Nos | 9200 | 862.5 | 55200 | 5175 | 60375
b. | Thermometer with well | 6 | Nos | 13800 | 1150 | 82800 | 6900 | 89700
c. | gauge cock | 6 | Nos | 2300 | 575 | 13800 | 3450 | 17250
220523 | Valves
Supply and installation of valves complete with gasket, flanges, nuts, bolts and all other accessories for Plumbing system complete in all respect as per drawings and specifications.
a. | Gate Valves
| 3 inch dia (75 mm) | 8 | Nos | 55616.875 | 4025 | 444935 | 32200 | 477135
| 2-1/2 inch dia (65 mm) | 2 | Nos | 41241.875 | 3450 | 82483.75 | 6900 | 89383.75
| 2 inch dia (50 mm) | 2 | Nos | 24078.125 | 2300 | 48156.25 | 4600 | 52756.25
| 1-1/2 inch dia ( 38mm) | 4 | Nos | 23000 | 1725 | 92000 | 6900 | 98900
| 1-1/4 inch dia (32 mm) | 2 | Nos | 16531.25 | 1380 | 33062.5 | 2760 | 35822.5
| 1 inch dia (25 mm) | 6 | Nos | 11787.5 | 1150 | 70725 | 6900 | 77625
| 3/4 inch dia (19 mm) | 15 | Nos | 8625 | 1150 | 129375 | 17250 | 146625
| 1/2 inch dia (13 mm) | 12 | Nos | 6109.375 | 1150 | 73312.5 | 13800 | 87112.5
b. | Ball Valves |  |  | 0 | 0
| 3/4 inch dia (20 mm) | 60 | Nos | 8050 | 1150 | 483000 | 69000 | 552000
f | Strainer |  |  | 0 | 0
| 3 inch dia (75 mm) | 3 | Nos | 63250 | 4600 | 189750 | 13800 | 203550
g | Check Valves |  |  | 0 | 0
| 3 inch dia (75 mm) | 3 | Nos | 56097 | 4600 | 168291 | 13800 | 182091
220529 | Hangers and supports |  |  | 0 | 0
| Supply and installation of hangers and supports for piping and equipment complete in all respect as per drawings and specifications. | 1 | Lot | 402500 | 51750 | 402500 | 51750 | 454250
220553 | Painting and identification works |  |  | 0 | 0
| Painting and identification works of all components, supports, hangers & brackets etc. complete in all respect as per drawings and specifications. | 1 | Lot | 46000 | 23000 | 46000 | 23000 | 69000
220573.13 | Facility sewage drain manholes |  |  | 0 | 0
| Supply and installation of facility sewage drain manholes complete in all respect as per drawings and specifications. |  |  | 0 | 0
a. | manholes upto 3 feet depth | 39 | Nos | 43700 | 11500 | 1704300 | 448500 | 2152800 | 25 | 14
220579 | Fire stopping |  |  | 0 | 0
| Supply and installation of fire stopping for plumbing systems complete in all respect as per drawings and specifications. | 1 | Lot | 34500 | 9200 | 34500 | 9200 | 43700
220700 | Plumbing Insulation
220719 | Plumbing piping insulation
Supply and installation of plumbing piping insulation complete in all respect as per drawings and specifications.
| 1/2 inch dia (15 mm) | 210 | Rft | 184 | 46 | 38640 | 9660 | 48300
| 3/4 inch dia (20 mm) | 50 | Rft | 218.5 | 57.5 | 10925 | 2875 | 13800
| 1 inch dia (25 mm) | 80 | Rft | 287.5 | 57.5 | 23000 | 4600 | 27600
220800 | Testing, balancing and commissioning of plumbing system |  |  | 0 | 0
| Testing, balancing and commissioning of plumbing system complete in all respect including one month test run, measurement and recording of pressure and electrical data and submission of technical/operation manual, LOG book for each related equipment as per specifications and drawings. | 1 | Lot | 0 | 57500 | 0 | 57500 | 57500
220900 | Instruments for Plumbing System |  |  | 0 | 0
220913 | Level Sensors |  |  | 0 | 0
| Supply and installation of level sensors complete in all respect as per drawings and specifications. | 1 | Lot | 184000 | 34500 | 184000 | 34500 | 218500
220921 | Automatic Air Vents |  |  | 0 | 0
| Supply and installation of automatic air vents complete in all respect as per drawings and specifications. | 1 | Lot | 23000 | 5750 | 23000 | 5750 | 28750
221100 | Facility Water Distribution |  |  | Please advise for the following work
221113.13 | Facility water distribution piping (UPVC Class D For Irrigation Network)
Supply and installation of facility water distribution piping (UPVC Class D) complete in all respect as per drawings and specifications.
| 3 inch dia (75 mm) | 550 | Rft |  |  | 0 | 0 | 0 | 0
| 2-1/2 inch dia (65 mm) | 300 | Rft |  |  | 0 | 0 | 0 | 0
| 2 inch dia (50 mm) | 4150 | Rft |  |  | 0 | 0 | 0 | 0
| 1-1/2 inch dia (38 mm) | 1200 | Rft |  |  | 0 | 0 | 0 | 0
| 1-1/4 inch dia (32 mm) | 650 | Rft |  |  | 0 | 0 | 0 | 0
| 1 inch dia (25 mm) | 1550 | Rft |  |  | 0 | 0 | 0 | 0
| 3/4 inch dia (20 mm) | 3050 | Rft |  |  | 0 | 0 | 0 | 0
221116 | Domestic water piping for cold water and hot water supply and return piping (PPR) |  |  | 0 | 0
| Supply and installation of domestic water piping for cold water and hot water supply and return as per DIN 8077/8078 PN20 for pipe and DIN 16962 PN25 for fittings or equivalent BS specifications complete in all respect including specials, such as tee, cross, reducer, bend, union, elbow, plug, socket etc. supported on walls or suspended from slab or run in chases (chased in walls shall be made by using electric cutter) including cutting and making good the same as necessary to the strucure as per drawings and specifications. |  |  | 0 | 0
| 13 mm | 400 | Rft | 287.5 | 69 | 115000 | 27600 | 142600
| 20 mm | 150 | Rft | 437 | 86.25 | 65550 | 12937.5 | 78487.5
| 25 mm | 140 | Rft | 552 | 115 | 77280 | 16100 | 93380
| 32 mm | 100 | Rft | 287.5 | 143.75 | 28750 | 14375 | 43125
| 50 mm | 2350 | Rft | 1495 | 172.5 | 3513250 | 405375 | 3918625
| 75 mm | 150 | Rft | 2012.5 | 201.25 | 301875 | 30187.5 | 332062.5
221123.39 | Domestic water transfer end suction centrifgual pump-motor |  |  | 0 | 0
| Supply and installation of domestic water transfer end suction centrifgual pump-motor set complete with controls and accessories as per drawings and specifications. | 2 | set | 575000 | 23000 | 1150000 | 46000 | 1196000
221300 | Facility Sanitary Sewage |  |  | 0 | 0
221313 | Facility sanitary sewage piping uPVC Class D |  |  | 0 | 0
| Supply and installation of facility sanitary sewage piping uPVC Class D as per BSS specifications including uPVC fittings with solvent cement jointing with clamps, hangers, rawl bolts, bends, tees, etc. complete in all respect as per drawings and specifications. |  |  | 0 | 0
| 8 inch (200 mm) | 3200 | Rft | 2530 | 276 | 8096000 | 883200 | 8979200 | 1600 | 1600
221316 | Soil, waste and vent UPVC class B piping |  |  | 0 | 0
| Supply and installation of soil, waste and vent UPVC class B piping as per BSS 4514 & 5255 or equivalent BS specifications including uPVC fittings with rubber ring joints clamps, bends, tees, Y-tees, reducers, clean out etc. embedded in floors and walls, clamped to walls, suspended from slab, making no. of holes and making good the same and all other accessories as per drawings and specifications. |  |  | 0 | 0
| 4 inch dia (110 mm) | 230 | Rft | 1092.5 | 172.5 | 251275 | 39675 | 290950
| 3 inch dia (75 mm) | 85 | Rft | 920 | 143.75 | 78200 | 12218.75 | 90418.75
| 2 inch dia (50 mm) | 130 | Rft | 575 | 115 | 74750 | 14950 | 89700
| 1-1/2 inch dia (40 mm) | 80 | Rft | 414 | 92 | 33120 | 7360 | 40480
221319.13 | Cleanouts |  |  | 0 | 0
| Supply and installation of cleanouts complete in all respect as per drawings and specificaitons. |  |  | 0 | 0
| 3 inch dia (75 mm) | 4 | rm | 5750 | 1150 | 23000 | 4600 | 27600
| 2 inch dia (50 mm) | 15 | rm | 5750 | 1150 | 86250 | 17250 | 103500
221319.16 | Floor drains |  |  | 0 | 0
| Supply and installation of floor drains complete in all respect as per drawings and specifications. |  |  | 0 | 0
| 3 inch dia (75 mm) | 15 | Nos | 6900 | 1150 | 103500 | 17250 | 120750
221319.19 | Grease trap |  |  | 0 | 0
| Supply and installation of grease trap complete in all respect as per drawings and specifications. | 3 | Nos | 166750 | 14950 | 500250 | 44850 | 545100 | 1 | 2
221319.39 | Gully Traps |  |  | 0 | 0
| Supply and installation of gully trap complete in all respect as per drawings and specifications. | 4 | Nos | 21850 | 2300 | 87400 | 9200 | 96600
223400 | Fuel Fired Domestic Water Heaters |  |  | 0 | 0
223430 | Hot Water Heater |  |  | 0 | 0
| Supply and Installation of Domestic Hot Water Geysers complete in all respect as per drawings and Specifications. |  |  | 0 | 0
| 30 gallon capacity | 3 | Nos | 80500 | 4600 | 241500 | 13800 | 255300
| 50 gallon capacity Geyser | 1 | No | 103500 | 5750 | 103500 | 5750 | 109250
224200 | Plumbing Fixtures |  |  | 0 | 0
a. | European Water Closets with Flush Valve |  |  | 0 | 0
| Supply and Installation of europeon type water closets of approved color with "P" or "S" trap, seat and cover best approved quality including imported flush valve with all accessories and fittings complete all connection and relative material making requisite hole in walls, floors and plinth for pipe connections and making good with approved materials complete in all respect as per drawings and Specifications. | 6 | Nos | 163300 | 11500 | 979800 | 69000 | 1048800
c. | Eastern Water Closets with Flush Tank |  |  | 0 | 0
| Supply and Installation of europeon type water closets of approved color with "S" trap best approved quality including imported flush valve with all accessories and fittings complete all connection and relative material making requisite hole in walls, floors and plinth for pipe connections and making good with approved materials complete in all respect as per drawings and Specifications. | 2 | Nos | 209300 | 11500 | 418600 | 23000 | 441600
g. | Counter Mounted/Padestal Wash Basin/ Vanity |  |  | 0 | 0
| Supply and Installation of Counter Mounted Wash Basin/ Vanity including bottle trap, imported brass waste chain plug complete with concealed safety brackets, waste water joining assembly, making requisite number of holes in walls, floors and plinth for pipe connections and making good with approved material complete in all respects as per drawings and Specifications. ( TOTO LW821CJ or approved equal) | 8 | Nos | 77050 | 6900 | 616400 | 55200 | 671600
h. | Stainless Steel Kitchen Sink |  |  | 0 | 0
| Supply and Installation of Stainless Steel Kitchen Sinks of specified size best quality with bottle trap, painted MS bracket set with nuts bolts, waste water jointing assembly, making requisite number of holes in walls, floors and plinth for pipe connections and making good with approved material complete in all respect as per drawings and Specifications. | 3 | Nos | 74750 | 17250 | 224250 | 51750 | 276000
j. | Showers Tray |  |  | 0 | 0
| Supply and Installation of Shower Tray with imported brass waste chain plug complete with supports, waste water joining assembly, making requisite number of holes in walls, floors and plinth for pipe connections and making good with approved material complete in all respect as per drawings and Specifications. | 1 | Nos | 92000 | 11500 | 92000 | 11500 | 103500
k. | Soap Dispensers |  |  | 0 | 0
| Supply and Installation of soap dispensers complete in all respect as per drawings and Specifications. | 12 | Nos | 33350 | 1150 | 400200 | 13800 | 414000
l. | Shampoo Bowls |  |  | 0 | 0
| Supply and Installation of shampoo bowls complete in all respect as per drawings and Specifications. | 1 | Nos | 100050 | 6900 | 100050 | 6900 | 106950
m. | C.P Tee Valves for Cistern Water Inlet |  |  | 0 | 0
| Supply and installation of C.P. Tee Valves for Cistern Water Inlet with connectors, nuts, bolts, fittings and accessories complete in all respect as per drawings and specifications. | 8 | Nos | 3450 | 862.5 | 27600 | 6900 | 34500
n. | C.P Tee Valves for Washbasin |  |  | 0 | 0
| Supply and installation of C.P. Tee Valves for Washbasin inlet with connectors, nuts, bolts, fittings and accessories complete in all respect as per drawings and specifications. | 16 | Nos | 3450 | 862.5 | 55200 | 13800 | 69000
o. | Bath Mixer with Hand Shower |  |  | 0 | 0
| Supply and installation of Bath Mixer with Hand Shower with flexible pipe, mounting hook, connectors, nuts, bolts, fittings and accessories complete in all respect as per drawings and specifications. | 1 | Nos | 57500 | 2300 | 57500 | 2300 | 59800
q. | Single hole mixer for Washbasin |  |  | 0 | 0
| Supply and installation of Single hole mixers for washbasin with connectors, nuts, bolts, fittings and accessories complete in all respect as per drawings and specifications. | 8 | Nos | 34500 | 1725 | 276000 | 13800 | 289800
r. | Single hole high neck mixer for Kitchen Sink |  |  | 0 | 0
| Supply and installation of Single hole high neck mixers for kitchen sink with connectors, nuts, bolts, fittings and accessories complete in all respect as per drawings and specifications. | 3 | Nos | 66125 | 2300 | 198375 | 6900 | 205275
s. | Muslim Shower |  |  | 0 | 0
| Supply and installation of muslim shower with flexible hose, mounting hook, connectors, nuts, bolts, fittings and accessories complete in all respect as per drawings and specifications. | 8 | Nos | 15525 | 1150 | 124200 | 9200 | 133400
t. | Double bibcock |  |  | 0 | 0
| Supply and installation of double bibcock with connectors, nuts, bolts, fittings and accessories complete in all respect as per drawings and specifications. | 2 | Nos | 31625 | 1150 | 63250 | 2300 | 65550
u. | Hose bib (20 mm dia) with gate valve |  |  | 0 | 0
| Supply and installation of hosebib (20 mm dia) with gate valve, connectors, nuts, bolts, fittings and accessories complete in all respect as per drawings and specifications. | 2 | Nos | 5175 | 575 | 10350 | 1150 | 11500
| Supply and installation of STP Plant with all its accessories complete in all respect as per drawings and specifications. | 1 | No |  |  | 0 | 0 | 0
Fire Suppression System
212000 | Fire Extinguishing System
212116 | Carbondi Oxide Fire Extinguishers
Supply and installation of Carbondi Oxide Fire Extinguishers complete in all respect as per drawings and specifications.
b. | 5 kg | 22 | Nos | 33350 | 575 | 733700 | 12650 | 746350
212416 | Dry Powder Fire Exitinguishers
Supply and installation of Dry Powder Fire Exitinguishers complete in all respect as per drawings and specifications.
a. | 4.5 kg | 22 | Nos | 19550 | 575 | 430100 | 12650 | 442750
| TOTAL COST | [6 empty] | 28361029.75